| SCR Number | 754 | SCR Title | Replace Email Delivery of WGRPP Forecasts (formerly “WGRPP Forecasts Posted on Zonal TML”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | April 22, 2009 |  |  |
| Supporting Protocol Section |  | 4.4.15, QSE Resource Plans |  |  |
| Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority 2-High and a rank of 39.2. |  |  |
| System Change Description |  | In accordance with Protocol Section 4.4.15, QSE Resource Plans, ERCOT shall produce renewable production potential forecasts for Wind-powered Generation Resources (WGRs) to be used as the planned operating level in the Resource Plan during Replacement Reserve Service (RPRS) procurements. Upon approval of PRR763, Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs, ERCOT implemented the WGR Production Potential (WGRPP) forecast without delay by having the WGRPP forecasting service email forecasts directly to each WGR Qualified Scheduling Entity (QSE). The email process proved to cause unacceptable delivery delays and errors for QSEs. This System Change Request (SCR) proposes to provide a secure and programmatic means to supply the WGR QSEs with their forecasts by: - Provide WGR QSEs their forecasts through the zonal Extensible Markup Language (XML) Market User Interface (MUI). - A WGR QSE can obtain its current forecasts by submitting a query through the zonal XML MUI. - This will be through a query as specified in the "ERCOT Participant Interface: XML" document. - Past forecasts will not be available after each hour. - ERCOT may restrict the frequency of these queries to protect system availability. |  |  |
| Overall Market Benefit |  | More reliable delivery of forecasts to WGR QSEs. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 12/23/08, SCR754 was posted. - On 1/28/09 WMS considered SCR754. - On 2/4/09, ERCOT comments were posted. - On 2/16/09, a second set of ERCOT comments were posted. - On 3/6/09, a third set of ERCOT comments were posted. - On 3/18/09, an Impact Analysis and Cost Benefit Analysis (CBA) were posted. - On 3/18/09, WMS again considered SCR754. - On 3/19/09, PRS assigned the priority and rank for SCR754. - On 4/9/09, TAC considered SCR754. - On 4/22/09, the ERCOT Board considered SCR754. |  |  |
| WMS Decision |  | On 1/28/09, WMS unanimously voted to recommend approval of SCR754 as submitted. All Market Segments were present for the vote. On 3/18/09, WMS unanimously voted to grant SCR754 Urgent status, recommend approval of SCR754 as amended by the 2/16/09 ERCOT comments, and endorse and forward the Impact Analysis and CBA with a recommended project priority of 2-High and rank of 39.2. All Market Segments were present for the vote. |  |  |
| Summary of WMS Discussion |  | On 1/28/09, ERCOT Staff explained that implementation is being delayed; once the system change has been implemented, ERCOT will issue a market Notice and will continue to send the information out via email during a transition period. On 3/18/09, it was noted that ERCOT will use funding from the “Additional Zonal Projects Requested After Determination of New Nodal Go-Live Date” project on the Project Priority List (PPL). |  |  |
| PRS Decision |  | On 3/19/09, PRS unanimously voted to assign a priority of 2-High and rank of 39.2 for SCR754. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/19/09, ERCOT Staff explained that SCR754 would be funded by the “Additional Zonal Projects Requested After Determination of New Nodal Go-Live Date” project on the PPL. |  |  |
| TAC Decision |  | On 4/9/09, TAC unanimously voted to recommend approval of SCR754 with a priority of 2-High and rank of 39.2 as recommended by WMS and PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/9/09, there was no discussion. |  |  |
| Board Decision |  | On 4/22/09, the ERCOT Board approved SCR754 as recommended by TAC. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | The solution proposed by ERCOT can be supported by QSEs. |  |
| --- | --- | --- | --- |
|  | 2 | Resources are available to complete the work at the QSE and ERCOT. |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | A QSE would add a query to its existing system that queries the ERCOT zonal XML MUI. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | More reliable delivery of forecasts to WGR QSEs. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 020409 | Explains that solution proposed in original submission is not acceptable and that ERCOT will develop a new proposal. |
| ERCOT 021609 | Proposes a new solution that will allow QSEs to reliably receive the wind forecasts. |
| ERCOT 030609 | Presents analysis of impacts based on solution proposed in 2/16/09 ERCOT comments. |

| Original Sponsor |  |
| --- | --- |
| Name | John Dumas |
| Company | ERCOT |
| Market Segment | Not applicable. |

Business Case for Proposed System Change

Issue:

Emailing of forecasts directly to WGR QSEs by WGRPP forecasting service has caused unacceptable delivery delays and errors for QSEs.  Email servers have proven to be unreliable.

Resolution:

Leverage zonal Energy and Market Management System (EMMS) design to provide WGR QSEs with their forecasts via the Zonal XML MUI, which is a more secure and reliable means of supplying this information.  The zonal XML MUI is being used today by QSEs to retrieve data.

See “System Change Description” above for additional detail.