| PRR Number | 787 | PRR Title | Add Violation Language to QSE Performance Standards |
| --- | --- | --- | --- |
| Date |  | February 17, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Dumas |  |
| E-mail Address |  | jdumas@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248 3195 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

As described in Protocol Section 6.10.5.3, SCE Monitoring Criteria, Qualified Scheduling Entity (QSE) performance scores provide a very good indication of a QSE’s ability to match actual Resource output to its base power schedule plus instructed ERCOT Ancillary Service deployments.   A poor Schedule Control Error (SCE) score can indicate a need to improve scheduling practices and/or to improve control of Resource output.  Poor SCE scores by QSEs may result in ERCOT needing to deploy more regulation than would be necessary with good SCE performance.  Low performance SCE scores could also lead to poor CPS1 scores and the need to purchase more Regulation Service.

The proposed change in this Protocol Revision Request (PRR) defines a violation as a failure to pass for three (3) out of six (6) months.  This PRR change would loosen the metric to the point of being ineffective and leave only the market incentive defined in Protocol Section 6.10.12.1, SCE Performance Charge, as a means to improve performance.

ERCOT believes that the current metric has proven to be effective in improving control performance and should not be loosened.  A poor SCE score could be the result of equipment failure or circumstances that are unexpected.  Therefore, ERCOT does not believe that failure of one month should result in being disqualified from providing Ancillary Services or from being qualified to provide QSE services.  ERCOT believes that the Texas Regional Entity (TRE), QSE project managers and ERCOT should work together to better define actions that should be taken when SCE scores are low for more than one (1) month.

Revised Proposed Protocol Language

- None at this time.