| NPRR Number | 173 | NPRR Title | Reduce the Minimum Quantity for Ancillary Service Offers |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | April 23, 2009 |  |  |
| Nodal Protocol Section Requiring Revision |  | 4.4.7.2.1, Ancillary Service Offer Criteria |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) reduces the minimum requirement for Ancillary Service Offers. |  |  |
| Overall Market Benefit |  | Increased participation in the Ancillary Service markets. |  |  |
| Overall Market Impact |  | Lowers overall prices for Ancillary Services. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 4/8/09, NPRR173 and the CEO Determination were posted. - On 4/13/09, Luminant Energy comments were posted. - On 4/17/09, Calpine comments were posted. - On 4/17/09, a second set of Luminant comments were posted. - On 4/22/09, ERCOT comments were posted. - On 4/23/09, a revised CEO Determination was posted. - On 4/23/09, PRS considered NPRR173. |  |  |
| PRS Decision |  | On 4/23/09, PRS voted to recommend approval of NPRR173 as submitted. There was one abstention from the Independent Generator Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 4/23/09, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | None. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Lowers overall prices for Ancillary Services. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Without the modification to the minimum amount per Resource, there are approximately 20 LaaR facilities that currently participate in the Responsive Reserve Service (RRS) market that would be unable to provide the service in the Nodal Market. |  |
|  | 2 | Increases (or helps maintain) the amount of Demand response participation in the ERCOT Region. |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy 041309 | Luminant Energy does not support approval of NPRR173 as submitted. |
| Calpine 041709 | Calpine does not support approval of NPRR173 as submitted. |
| Luminant Energy 041709 | Withdrew the comments submitted by Luminant on April 13, 2009. |
| ERCOT 042209 | Comments were submitted to address comments submitted by Calpine on April 17, 2009. |

| Original Sponsor |  |
| --- | --- |
| Name | Mary Anne Brelinsky, on behalf of the Wholesale Market Subcommittee (WMS) and the Demand Side Working Group (DSWG) |
| Company | Eagle Energy Partners |
| Market Segment | Independent Power Marketer (IPM) |

Proposed Protocol Language Revision

4.4.7.2.1	Ancillary Service Offer Criteria

(1)	Each Ancillary Service Offer must be submitted by a QSE and must include the following information:

(a)	The selling QSE;

(b)	The Resource represented by the QSE from which the offer would be supplied;

(c)	The quantity in MW and Ancillary Service type from that Resource for this specific offer and the specific quantity in MW and Ancillary Service type of any other Ancillary Service offered from this same capacity;

(d)	An Ancillary Service Offer linked to a Three-Part Supply Offer from a Resource designated to be Off-Line for the offer period in its COP may only be struck if the Three-Part Supply Offer is struck.  The total capacity struck must be within limits as defined in item (4)(c)(iii) of Section 4.5.1, DAM Clearing Process;

(e)	An Ancillary Service Offer linked to other Ancillary Service offers or an Energy Offer Curve from a Resource designated to be On-Line for the offer period in its COP may only be struck if the total capacity struck is within limits as defined in item (4)(c)(iii) of Section 4.5.1;

(f)	The first and last hour of the offer;

(g)	A fixed quantity block, or variable quantity block indicator for the offer;

(i)	If a fixed quantity block, not to exceed 150 MW, which may only be offered by a Load Resource, the single price (in $/MW) and single quantity (in MW) for all hours offered in that block; or

(ii)	If a variable quantity block, which may be offered by a Generation Resource or a Load Resource, the single price (in $/MW) and single “up to” quantity (in MW) contingent on the purchase of all hours offered in that block; and

(h)	The expiration time and date of the offer.

(2)	A valid Ancillary Service Offer in the DAM must be received before 1000 for the effective DAM.  A valid Ancillary Service Offer in an SASM must be received before the applicable deadline for that SASM.

(3)	No Ancillary Service Offer price may exceed the System-Wide Offer Cap (SWCAP) (in $/MW).  No Ancillary Service Offer price may be less than $0 per MW.

(4)	The minimum amount per Resource for each Ancillary Service product that may be offered is one-tenth (0.1) MW.

(5)	A Resource may offer more than one Ancillary Service.

(6)	A Load Resource that is qualified to perform as a Controllable Load Resource may not offer to provide Ancillary Services as a Controllable Load Resource and a Load Resource controlled by high-set under-frequency relay simultaneously behind a common breaker.