WOTF report for ROS

May 2009

At the April 28 Wind Operations Task Force meeting, we discussed a white paper on frequency control response capabilities similar to governors.  A draft PRR is circulating and is expected to be ready for further consideration by July.

The WOTF also discussed the constant power factor reactive limit models available in both PTI PSS/E & PowerWorld Simulator.  This model limits the resource reactive output range as a function of the real output and a set power factor, and may better approximate wind turbine capabilities than the constant MVar limit model designed for standard resources.

The WOTF e-mail exploder has been working for over a month now and the old mass-mail list will be phased out.

The upcoming WOTF meetings will be Wed, May 27 & Tues, June 30.