| OGRR Number | 218 | OGRR Title | Revise System Operator Training Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | March 27, 2009 |  |  |
| Guide Section Requiring Revision |  | 1.8.2, System Operator Training Requirements |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Operating Guide Revision Request (OGRR) changes the five (5) day (forty (40) hours) emergency training requirements to one (1) day (eight (8) hours) for Qualified Scheduling Entities (QSEs) that do not operate the Generation Resource(s) they are scheduling. This OGRR also allows the actual time operating in real emergencies, such as working from a backup office during a hurricane, to satisfy the emergency training requirements. |  |  |
| Overall Market Benefit |  | Prevents QSEs from wasting numerous hours each year attending emergency training classes that are not related to performing their job effectively. The current Operating Guides require two-percent (2%) of each employee’s expected annual working time. This may be appropriate for the employees of QSEs that actually operate assets, but not for employees of QSEs that only schedule generation facilities. |  |  |
| Overall Market Impact |  | More efficient use of Resources. |  |  |
| Consumer Impact |  | None identified. |  |  |
| Procedural History |  | - On 1/30/09, OGRR218 was posted. - On 2/17/09, ERCOT comments were posted. - On 3/25/09, the Operating Guide Revisions Task Force (OGRTF) comments were posted. - On 3/26/09, CenterPoint comments were posted. - On 03/26/09, Calpine comments were posted. - On 3/27/09, Shell comments were posted. - On 3/27/09, the Operations Working Group (OWG) considered OGRR218. |  |  |
| OWG Decision |  | On 3/27/09, the OWG was in consensus to recommend approval of OGRR218 as amended by CenterPoint comments and as revised by OWG. |  |  |
| Summary of OWG Discussion |  | On 3/27/09, there was discussion regarding the need to maintain operator training at no less than thirty-two (32) hours for QSEs who represent Generation Resources and Load acting as a Resources (LaaRs) and eight (8) hours for QSEs who do not represent Generation Resources and LaaRs. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional costs. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Will reduce training costs for QSEs. | Will reduce training costs from five (5) days per year per operator to one (1) day per year per operator. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Should not impact ERCOT’s systems or reliability. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 021709 | Proposed language changes which change the training requirement from forty (40) hours to thirty-two (32) hours. |
| OGRTF 032509 | Proposed language changes to clarify the number of hours of training required for QSE operators and operators who represent Generation or Load Resources that provide base power schedules or Ancillary Services. |
| CenterPoint 032609 | Proposed language changes that would allow actual operating experience to be applied toward training hours with proper documentation. |
| Calpine 032609 | Supported 032609 CenterPoint comments. |
| Shell 032709 | Proposed language changes to revise the thirty-two (32) hours of emergency training only apply to reliability coordinators, Transmission Operators (TOs), and balancing authorities. |

| Original Sponsor |  |
| --- | --- |
| Name | Jeff Brown |
| Company | Shell Energy North America (US), L. P. |
| Market Segment | Independent Power Marketer (IPM) |

Proposed Guide Language Revision

1.8.2	System Operator Training Requirements

The System Operator Training Program applies to all Control Area Authority and Transmission Operators (TOs) who are responsible for the Real-Time operation or reliability monitoring of the bulk electric system and those Qualified Scheduling Entity (QSE) Operators who represent Generation Resources or LaaRs.  At least thirty-two (32) hours per year of training and drills, appropriate to each class of operator, in system emergencies must be included in the training program.  QSE Operators who do not represent Generation Resources or LaaRs must participate in at least eight (8) hours per year of training and drills in system emergencies.

For those operators required to obtain thirty-two (32) hours annually, at least eight (8) hours must be from simulations or realistic drills.

Participation in emergency simulations, Severe Weather Drills, ERCOT Black Start Training,  and portions of the ERCOT Operations Training Seminar that relate to North American Electric Reliability Corporation (NERC) recommended topics can be used to satisfy this requirement.    Task specific training carried out internally within an Entity will be considered in full compliance with this requirement.  Training documentation, including curriculum, training methods, and individual training records, shall be available for verification during audits.