| OGRR Number | 218 | OGRR Title | Revise System Operator Training Requirements |
| --- | --- | --- | --- |

| Date | March 25, 2009 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Kevin Morley |
| E-mail Address | Kevin.morley@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713.207.2396 |
| Cell Number |  |
| Market Segment | Independent Operator Utilities (IOU) |

Comments

On March 25, 2009, the Operating Guide Revision Task Force (OGRTF) reviewed Operating Guide Revision Request (OGRR) 218 and proposes the following language changes to clarify the number of hours of training required for QSE operators and operators who represent Generation or Load Resources that provide base power schedules or Ancillary Services.

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Guide Language

1.8.2	System Operator Training Requirements

The System Operator Training Program applies to all Control Area Authority (CAA) and Transmission Operators (TOs) who are responsible for the Real-Time operation or reliability monitoring of the bulk electric system and those Qualified Scheduling Entity (QSE) Operators who represent Generation or Load Resources by providing base power schedules or Ancillary Services.  At least thirty-two (32) hours per year of training and drills in system emergencies using realistic simulations must be included in the training program.  QSE Operators who are not involved in providing base power schedules or Ancillary Services, must participate in at least eight (8) hours per year of training and drills in system emergencies using realistic simulations.

Participation in Severe Weather Drills, ERCOT Black Start Training, and portions of the ERCOT Operations Training Seminar that relate to North American Electric Reliability Corporation (NERC) recommended topics can be used to satisfy this requirement.  Recommended topics can be found in the System Operator Certification Program or the list of suggested training topics available as part of the ERCOT compliance template for System Operator Training Programs located on the ERCOT MIS.  Task specific training carried out internally within an Entity will be considered in full compliance with this requirement.  Training documentation, including curriculum, training methods, and individual training records, shall be available for verification during audits.