## Slide 1: Nodal Operations Model Posting Confirmation
http://nodal.ercot.com <number>
TAC
May 7, 2009
Matt Mereness, ERCOT

## Slide 2: Posting of Network Operations Model
http://nodal.ercot.com <number>
Definition of Network Operations Model
Content of NMMS Network Operations Model
Protocol requirements for model-related postings
Report/NDSML postings inventory
ERCOT assumption and next steps
Appendix

## Slide 3: Definition of Network Operations Model
http://nodal.ercot.com <number>
Definition - Section 2.1 of the Nodal Protocols
Network Operations Model
A representation of the ERCOT System providing the complete physical network definition, characteristics, ratings, and operational limits of all elements of the ERCOT Transmission Grid and other information from TSPs, Resource Entities, and QSEs

## Slide 4: Content of NMMS Network Operations Model
http://nodal.ercot.com <number>
The Network Operations Model contains the system network topology plus Resource data
Resource data is submitted to ERCOT via the Resource Asset Registration Form (RARF)
All Resource Entities submitted nodal RARFs (replacement of zonal GARF)
RARF captures detailed operational characteristics of Resources
Almost all RARF data is consumed by the Network Model Management System (NMMS)
RARF template posted on Nodal Readiness center: http://nodal.ercot.com/readiness/rq/documents/index.html

## Slide 5: Content of NMMS Network Operations Model
http://nodal.ercot.com <number>
The Network Operations Model is posted to MIS Secure from NMMS per nodal protocols
MIS Secure- represents the file being posted behind a digital certificate, and available to all registered ERCOT Market Participants (TSP, QSE, RE, etc)
Model posting contains Resource data such as:
  Resource Operational Minimum and Maximum output limits
  Seasonal and Emergency Min/Max Output limits
  Reactive Curves, Ramp Rate Curves
  Minimum On-line and Off-line time, Max number of starts/week
  Private Use Network Load Profile
  Transmission equipment for resource
  Appendix includes more detail
Model posting does not include any financial data
  Heat Rate curves
  Verifiable costs
  Start-up costs
  Offers/bids from any market

## Slide 6: Protocol requirements for model-related postings
http://nodal.ercot.com <number>
Nodal Protocol references:
Section 3.10.1 (3), Time Line for Network Operations Model Change Requests [footnotes to table]
2. Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in paragraph (3) of Section 3.10.4, ERCOT Responsibilities. The test version of the Network Operations Model will be available for market review and further testing by Market Participants.
Section 3.10, Network Operations Modeling and Telemetry
(8) ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change. ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 3.10.1, Time Line for Network Operations Model Change Requests, and ERCOT shall also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays. ERCOT shall post all NOMCRs on the MIS Secure Area within five Business Days following receipt of the NOMCR, consistent with Critical Energy Infrastructure Information (CEII) standards.
Section 4.2.3, Posting Forecasted ERCOT System Conditions
No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:
(a) The Network Operations Model topology that includes known transmission line and other Transmission Facilities outages in the Common Information Model (CIM) format for the minimum Load hour and the peak Load hour;

## Slide 7: Posting of Network Operations Model
http://nodal.ercot.com <number>
Nodal Protocol references (cont’d)
Section 3.10.4, ERCOT Responsibilities
(4) …. ERCOT shall acquire model comparison software that will show all differences between the next production model and production environment model and shall post this information on the MIS Secure Area within one week following test completion. This comparison shall indicate differences in device parameters, missing or new devices, and status changes.
(8) ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of CEII, the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date. ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web-based XML communications.
Section 3.10.7.1 Modeling of Transmission Elements and Parameters
(2) … ERCOT shall provide all names and parameters of all Transmission Elements to Market Participants posted on MIS Secure Area by 0600 each day.
Section 3.10.7.1.4, Transmission and Generation Resource Step-Up Transformers
(5) ERCOT shall post to the MIS Secure Area information regarding all transformers
represented in the Network Operations Model.
Protocol reference related to confidentiality
Section 1.3.1.1, Items Considered Protected Information
“Protected Information” is information containing or revealing any of the following:
[…]
(k) Resource-specific costs, design and engineering data

## Slide 8: ERCOT assumption and next steps
ERCOT brings the following plans below to TAC to confirm no protocols are being violated as described
  ERCOT plans to move forward in the coming weeks with posting the entire Network Operations Model as part of the SEM Go-Live Procedure and nodal protocol requirements.
    The posting will occur on or before August 31, 2009 / Single Entry Model Go-Live, with an understanding that network topology and resource data will be available to all registered MPs (TSP, QSE, RE included)
  ERCOT plans to meet the requirements for posting Settlement Points and Electrical Bus to Hub List as being met by the overall Network Operations Model posting requirement (not separate postings)
  Questions or concerns from the TAC membership?

## Slide 9: Appendix- Registration data in model (pg 1/3)

## Slide 10: Appendix- Registration data in model (pg 2/3)

## Slide 11: Appendix- Registration data in model (pg 3/3)