## Slide 1: Regional Planning Group Charter Revisions
May 2008
Notes: Apologize for me not being in attendance!

## Slide 2: In Brief
RPG Charter, as endorsed by TAC, was considered by Board at January 20th meeting
STEC voiced concerns about exemption from RPG review of high-cost lines to connect generation, citing example of Kelson CCN
Board approved RPG Charter with revised language that removed exemption from RPG Review for generation interconnection projects
  Remanded this issue back to TAC for further discussion and recommendation
  TAC remanded to ROS and WMS
  ROS/WMS Joint Discussion Group held meeting to discuss and structure this issue

## Slide 3: Board Approved RPS Charter
The current, approved language of the Charter requires generation interconnection projects costing more than $15 million or requiring CCNs to be reviewed by RPG (including ERCOT Independent Review and Board approval as appropriate)
Notes: CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 4: Other Considerations Discussed by RPG
Reliability impacts and requirements for these projects are already studied through generation interconnection studies
Additional evaluation in RPG/ERCOT Independent Review would consist of stakeholder comment and economic evaluation
  Economic evaluation for these projects will essentially be estimating the value of the generation to the market, net of the cost of transmission
Commission Staff testimony in Kelson CCN docket expressed need for ERCOT review on these types of CCNs
Need to preserve non-discriminatory transmission access in whatever process is adopted
Potential for RPG review to delay interconnection implementation
Appropriateness of ERCOT role
Notes: CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 5: Options Developed by Joint ROS/WMS Group
Option A
  Revert to RPG/TAC language. Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT)
Option B
  Revert to RPG/TAC language. No other changes to the Planning Charter (no economic analysis unless requested by PUCT)
Additional procedural changes common to both options:
  Require in Generation Interconnection (GI) Procedure that the Lead TSP for the FIS communicates to other TSPs when the FIS indicates that the direct interconnection facilities will cost >$50 million so that the other TSPs will know to look (pursuant to existing GI Procedure requirements) particularly at this FIS
  The Lead TSP for GI FIS will communicate direct generation interconnection projects >$50 million out to full RPG (no review by RPG) once generation Interconnection Agreement is signed
Notes: CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 6: ROS
Voted for Option B:
  Revert to RPG/TAC language. No other changes to the Planning Charter (no economic analysis unless requested by PUCT)
  Additional procedural changes common to both options:
    Require in Generation Interconnection (GI) Procedure that the Lead TSP for the FIS communicates to other TSPs when the FIS indicates that the direct interconnection facilities will cost >$50 million so that the other TSPs will know to look (pursuant to existing GI Procedure requirements) particularly at this FIS
    The Lead TSP for GI FIS will communicate direct generation interconnection projects >$50 million out to full RPG (no review by RPG) once generation Interconnection Agreement is signed
Notes: CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 7: WMS
STRAW POLL:
SELECT ONE OF Option A-D and One of Option 1 or 2 below
  Option A Revert to RPG/TAC language. Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT) (Straw Poll Votes 12)
  Option B Revert to RPG/TAC language. No other changes to the Planning Charter (no economic analysis unless requested by PUCT) (Straw Poll Votes 12)
  Option C Revert to RPG/TAC language. Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million and in the CREZ (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT) (Straw Poll Votes 0)
  Option D Revert to RPG/TAC language. Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million, outside of ERCOT and in the CREZ (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT) (Straw Poll Votes 0)
  Additional procedural changes common to both options:
    Require in Generation Interconnection (GI) Procedure that the Lead TSP for the FIS communicates to other TSPs when the FIS indicates that the direct interconnection facilities will cost >$XX million so that the other TSPs will know to look (pursuant to existing GI Procedure requirements) particularly at this FIS
    The Lead TSP for GI FIS will communicate direct generation interconnection projects >$XX million out to full RPG (no review by RPG) once generation Interconnection Agreement is signed
    Option 1 XX=50 (Straw Poll Votes 11)
    Option 2 XX=25 (Straw Poll Votes 13)
Notes: CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 8: RPG Charter Recommendation ROS Consensus
  Revert to RPG/TAC language. No other changes to the Planning Charter (no economic analysis unless requested by PUCT) (OPTION B)
  Additional procedural changes common to both options:
    Require in Generation Interconnection (GI) Procedure that the Lead TSP for the FIS communicates to other TSPs when the FIS indicates that the direct interconnection facilities will cost >$50 million so that the other TSPs will know to look (pursuant to existing GI Procedure requirements) particularly at this FIS
    The Lead TSP for GI FIS will communicate direct generation interconnection projects >$50 million out to full RPG (no review by RPG) once generation Interconnection Agreement is signed