## Slide 1
Commercial Operations Subcommittee
May 12, 2009
Settlement of Distributed Renewable Generation
ESI ID represented by a Retail Electric Provider
DRG located behind NOIE metering points

## Slide 2: Settlement of Distributed Renewable Generation
COPS
May 12, 2009
Settlement of DRG for ESI IDs represented by a Retail Electric Provider
  Market discussions have provided direction
    DRG with a design capacity < 50kW
      ERCOT Protocols Section 11.4.4.2
      Retail Market Guide section 7.14
    DRG with a design capacity > 50kW
      Continue using existing generation settlement processes
      For DRG “output” to be included in settlements it must be registered

## Slide 3: Settlement of Distributed Renewable Generation
COPS
May 12, 2009
Settlement of DRG located behind NOIE metering points
  DRG with a design capacity < 50kW
    ERCOT Protocols Section 10.2.2 provides TDSP exemption from reporting if not Registered as a Generation Resource
  DRG with a design capacity > 50kW - Market discussions needed to provide direction
    ERCOT Protocols Section 10.2.2 require TDSP to report this generation to ERCOT
    ERCOT Protocols Section 16.5 does not require registration if less than 1 MW

## Slide 4: Why are we taking up your time?
COPS
May 12, 2009
Market discussions needed to provide direction on the Settlement of DRG located behind NOIE metering points with a design capacity > 50kW
  Treat as generation?
    Requires registration
  Treat as NOIE “load inflow”?
    Impacts UFE
  Provide TDSP exemption from reporting?
    Reduces NOIE “Total Load”
  Other?

## Slide 5: Questions and Feedback
COPS
May 12, 2009
Reference material in support of the presentation follows this slide

## Slide 6: ERCOT Protocols Section 11.4.4.2
COPS
May 12, 2009
11.4.4.2 Load Reduction for Excess PhotoVoltaic Renewable Generation
Adjusted Metered Load (AML) for ESI IDs with PhotoVoltaic (PV) generation shall be adjusted as follows:
(1) AML shall be reduced for excess generation from ESI IDs with PV generation of less than fifty (50) kW behind the meter where there is a meter that measures excess energy flow into the ERCOT System in a separate register. Only ESI IDs that have been assigned a PV profile segment as specified in Load Profiling Guide Appendix D, Profile Decision Tree, shall be eligible for this reduction.

## Slide 7: ERCOT Retail Market Guides section 7.14
COPS
May 12, 2009
7.14 Out-flow Power from Distributed Renewable Generation Facilities
  Beginning on January 1, 2009, Customers with on-site Distributed Renewable Generation (DRG) facilities as defined in Public Utility Regulatory Act, TEX. UTIL. CODE ANN. § 39.904 (Vernon 1998 & Supp. 2007) (PURA) with a capacity of less than fifty (50) kW, may sell out-flow power that is delivered onto the distribution network. Retail Electric Providers (REPs), via their Qualified Scheduling Entities (QSEs), can receive a wholesale settlement adjustment for this out-flow power energy, according to the process and requirements outlined below.

## Slide 8: ERCOT Retail Market Guides section 7.14.1
COPS
May 12, 2009
7.14.1 Primary Requirements for Receiving a Settlement Adjustment for Out-Flow Power
In order for ERCOT to provide the wholesale settlement adjustment for out-flow power, the
following requirements must be met:
(1) A current and valid Interconnection Agreement must be in place with the Transmission and/or Distribution Service Provider (TDSP), as described in P.U.C. Subst. R. 25.211, Interconnection of On-Site Distributed Generation (DG), and P.U.C. Subst. R. 25.212, Technical Requirements for Interconnection and Parallel Operation Of On-Site Distributed Generation.
(2) Customer requested metering that measures and reports separately, consumption from the distribution network and out-flow power from the Customer’s side of the meter to the distribution network must be installed.
(3) For non-Interval Data Recorder (IDR) metering, both the Load and out-flow power measured at the point of common coupling must be settled with non-IDR data and the Electric Service Identifier (ESI ID) must be assigned to a DRG Load Profile (see the Load Profiling Guide for further information on Load Profile requirements).
(4) For IDR metering, both the Load and out-flow power measured at the point of common coupling must be settled with IDR data and the facility must be registered with ERCOT as a Generation Resource and be assigned a Resource ID (RID). Out-flow power associated with the RID will be settled to the QSE associated with the RID.
For more detailed information about the resource registration process, Market Participants
(MPs) should contact their designated ERCOT account representative.

## Slide 9: ERCOT Protocols Section 10.2.2
COPS
May 12, 2009
10.2.2 TDSP Metered Entities
TDSPs are responsible for supplying ERCOT with meter data associated with:
All Loads using the ERCOT System;
(2) Any Generation Resource that delivers less than ten (10) MW to the ERCOT System and that is connected directly to the distribution system; a TDSP may make some or all such meters ERCOT-Polled Settlement (EPS) compliant and may request that ERCOT poll the meters. Notwithstanding the foregoing sentence, meter data is not required from:
  (a) generation owned by a NOIE and used for NOIE’s self-use (not serving Customer Load); and
  (b) renewable generation with a design capacity less than fifty (50) kW interconnected to a TDSP and not registered as a Generation Resource; and

## Slide 10: ERCOT Protocols Section 16.5
COPS
May 12, 2009
16.5 Registration of Generation Resources, Loads Acting as a Resource and Emergency Interruptible Load Service Resources
  Every Generation Resource connected to the ERCOT Transmission System, distributed generator over one (1) megawatt (MW), Load acting as a Resource and Emergency Interruptible Load Service (EILS) Resource must register with ERCOT.
  Distributed generation is an electrical generating facility located at a Customer’s point of delivery (point of common coupling) of ten (10) megawatts (MW) or less and connected at a voltage less than or equal to sixty (60) kilovolts (kV) which may be connected in parallel operation to the utility system.

## Slide 11: ERCOT Protocols Section 2 (definitions)
COPS
May 12, 2009
Generation Resources
  Facilities that produce energy and that are owned or operated by a Generation Entity.
Generation Entity
  Owner or controller of a Generation Resource used for generating electricity and electrically connected to the ERCOT System.

## Slide 12: DG treated as NOIE Load UFE Impact
COPS
May 12, 2009
UFE
  Defined as Total ERCOT Generation minus Total ERCOT Load which is adjusted for transmission and distribution losses
  Generation is for resources that are registered at ERCOT
  If NOIE Distributed Generation is not registered at ERCOT, this will affect UFE seeing that this generation will not be included in the Total ERCOT Generation values