## Summary
Enter PTDF value for conditional formatting (row 17) -------------------------------------------------------------------> |  |  | 0.05
Enter Dec max cumltv zone impact - cumltv zone share value for conditional formatting (row 12) ---> |  |  | 0.3
Enter Inc max cumltv zone impact - cumltv zone share value for conditional formatting (row 21) -----> |  |  | 0.3
Enter Total Boundary gen as % of line rating value for conditional formatting (row 31) -------------> |  |  | 0.15
CSC --> | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H | N-H
File: | Cont_ Tomball to Singleton OL_ Singleton to Wharton | Cont_ Singleton to Wharton and Singleton to Obrien OL_ Roans to Kuykendal | Cont_ Singleton to Wharton and Singleton to Obrien OL_ Tomball to Singleton | Cont_ Roans to Kuykendal and Tomball to Singleton OL_ Singleton to Obrien_ckt_99 | Cont_ Roans to Kuykendal and Tomball to Singleton OL_ Singleton to Wharton | Cont_ Gibbons to Singleton OL_ Gibbons to Singleton_ckt_75 | Cont_ Kuykendal to King and Kuykendal to King OL_ Singleton to Wharton | Cont_ Singleton to Obrien OL_ Singleton to Wharton | Cont_ Singleton to Obrien OL_ Jewett to Singleton | Cont_ Gibbons_1 to Singleton and Gibbons to Singleton OL_ Jewett to Singleton | Cont_ Gibbons to Singleton and Gibbons to Singleton OL_ Jewett to Singleton | Cont_ Jewett to Singleton and Jewett to Singleton OL_ Gibbons to Singleton_ckt_99 | Cont_ Jewett to Singleton and Jewett to Singleton OL_ Gibbons to Singleton_ckt_75
Number of units | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
Dec PTDF cutoff point | 258 | 258 | 258 | 258 | 258 | 254 | 258 | 258 | 253 | 254 | 254 | 254 | 254
Dec PTDF cutoff unit | FRNDDRCS | FRNDDRCS | FRNDDRCS | FRNDDRCS | FRNDDRCS | FRNDDRCS | FRNDDRCS | FRNDDRCS | BRYN_TAMUGEN | FRNDDRCS | THOUSE_2G | FRNDDRCS | FRNDDRCS
Dec 10% unit | BBRN_2G | BBRN_2G | BBRN_2G | BBRN_2G | BBRN_2G | MARTLAKE_1G | BBRN_2G | BBRN_2G | MARTLAKE_2G | TGATEWAY_1G | CALFREST_2G | CALFREST_2G | CALFREST_2G
Dec max cumltv zone impact - cumltv zone share | 2.144% | 2.342% | 2.214% | 2.501% | 2.161% | 4.019% | 2.116% | 2.308% | 1.61% | 1.495% | 2.314% | 2.249% | 2.249%
Dec max cumltv zone impact - cumltv zone share pt | 91 | 91 | 91 | 91 | 91 | 18 | 91 | 91 | 119 | 94 | 89 | 87 | 87
Dec max cumltv zone impact - cumltv zone share unit | ENNSTRAC_2G | ENNSTRAC_2G | ENNSTRAC_2G | ENNSTRAC_2G | ENNSTRAC_2G | ASPN_G | ENNSTRAC_2G | ENNSTRAC_2G | RWMILLER05 | BRYN_TAMUGEN | SPENCER_G5 | NTHLK3_G | NTHLK3_G
Source Zonal weighted AWGSF | 0.10498 | 0.12669 | 0.15194 | 0.14175 | 0.14489 | 0.12529 | 0.11219 | 0.1067 | 0.075674 | 0.13367 | 0.13786 | 0.13101 | 0.13101
Sink Zonal weighted AWGSF | -0.12366 | -0.15363 | -0.17072 | -0.15035 | -0.17565 | -0.15317 | -0.1423 | -0.11946 | -0.10225 | -0.17161 | -0.17008 | -0.16396 | -0.16396
Source - Sink PTDF | 0.22863 | 0.28032 | 0.32265 | 0.2921 | 0.32054 | 0.27846 | 0.25449 | 0.22616 | 0.17792 | 0.30528 | 0.30794 | 0.29496 | 0.29496
Inc PTDF cutoff point | 387 | 387 | 387 | 387 | 387 | 391 | 387 | 387 | 392 | 391 | 391 | 391 | 391
Inc PTDF cutoff unit | SANDOW_5G | SANDOW_5G | SANDOW_5G | SANDOW_5G | SANDOW_5G | FTR_CN4_5095 | SANDOW_5G | SANDOW_5G | GIBN_CREK_G1 | FTR_CN4_5095 | FTR_CN4_5095 | FTR_CN4_5095 | FTR_CN4_5095
Inc 10% unit | CBY_GN1_1 | CBY_GN1_1 | BTE_GT3_8045 | SRB_GN2_2 | CBY_GT4_2 | CBY_GN1_1 | CBY_GT4_2 | WAP_GN2_2 | CBY_GN1_1 | CBY_GN1_1 | CBY_GN1_1 | CBY_GN1_1 | CBY_GN1_1
Inc max cumltv zone impact - cumltv zone share | 13.19% | 13.74% | 12.48% | 10.42% | 13.99% | 13.82% | 14.38% | 11.46% | 15.54% | 14.49% | 13.23% | 13.84% | 13.84%
Inc max cumltv zone impact - cumltv zone share pt | 167 | 169 | 167 | 169 | 167 | 167 | 169 | 164 | 167 | 167 | 167 | 167 | 167
Inc max cumltv zone impact - cumltv zone share unit | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34 | CBE_ST34
Source Zonal weighted AWGSF | 0.10498 | 0.12669 | 0.15194 | 0.14175 | 0.14489 | 0.12529 | 0.11219 | 0.1067 | 0.075674 | 0.13367 | 0.13786 | 0.13101 | 0.13101
Sink Zonal weighted AWGSF | -0.12366 | -0.15363 | -0.17072 | -0.15035 | -0.17565 | -0.15317 | -0.1423 | -0.11946 | -0.10225 | -0.17161 | -0.17008 | -0.16396 | -0.16396
Min of zone correlation | 0.073491 | 0.088733 | 0.10737 | 0.1053 | 0.10018 | -0.057744 | 0.077673 | 0.077656 | -0.053932 | -0.065694 | -0.061504 | -0.06115 | -0.06115
Boundary gen in Source Zone | 0 | 0 | 0 | 0 | 0 | 49.1518 | 0 | 0 | 57.7067 | 55.9188 | 52.3519 | 52.0513 | 52.0513
Boundary gen in source zone as % of line | 0% | 0% | 0% | 0% | 0% | 3.572% | 0% | 0% | 3.98% | 3.856% | 3.61% | 3.203% | 3.783%
Boundary gen in Sink Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in sink zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Boundary gen as % of line rating | 0% | 0% | 0% | 0% | 0% | 3.572% | 0% | 0% | 3.98% | 3.856% | 3.61% | 3.203% | 3.783%
OL element line rating | 1450 | 1710 | 1793 | 1450 | 1450 | 1376 | 1450 | 1450 | 1450 | 1450 | 1450 | 1625 | 1376
Source Zonal weighted AWGSF | 0.10498 | 0.12669 | 0.15194 | 0.14175 | 0.14489 | 0.12529 | 0.11219 | 0.1067 | 0.075674 | 0.13367 | 0.13786 | 0.13101 | 0.13101
Sink Zonal weighted AWGSF | -0.12366 | -0.15363 | -0.17072 | -0.15035 | -0.17565 | -0.15317 | -0.1423 | -0.11946 | -0.10225 | -0.17161 | -0.17008 | -0.16396 | -0.16396
North final Bi value | 0.0054697 | 0.0071444 | 0.0031638 | 0.0003206 | 0.0072747 | 0.0244 | 0.010677 | 0.0026833 | 0.020359 | 0.020718 | 0.019982 | 0.021002 | 0.021002
South final Bi value | -0.018112 | -0.020271 | -0.016758 | -0.0042662 | -0.022192 | -0.013769 | -0.021246 | -0.0079502 | -0.021879 | -0.017569 | -0.010119 | -0.013767 | -0.013767
West final Bi value | 0.0031821 | 0.0080044 | 0.0011811 | 0.001026 | 0.0056823 | 0.0040389 | 0.0088217 | 0.0016621 | -0.0059836 | -0.0024682 | -0.0019207 | -0.0011579 | -0.0011579
Houston final Bi value | 0.011543 | 0.016166 | 0.0081058 | 0.0025782 | 0.01503 | 0.023271 | 0.019175 | 0.0061694 | 0.015454 | 0.017664 | 0.016279 | 0.018116 | 0.018116
pass or fail CRE test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test
CSC --> | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W | N-W
File: | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ Murry to Graham | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ Comchess to Comchpk | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ Murry to Paint | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ Murry to Graham | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ Comchess to Comchpk | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ Murry to Paint | Cont_ TonkawawI_5 to GrahamSES OL_ Murry to Paint | Cont_ LonCrek2_5 to CokField_5 OL_ Murry to Paint | Cont_ Comchess to Comchpk OL_ Murry to Graham | Cont_ Comchess to Comchpk OL_ Murry to Paint | Cont_ Sarc to Comchess OL_ Murry to Paint | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ Murry to Graham | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ Comchess to Comchpk | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ Murry to Paint
Number of units | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
Dec PTDF cutoff point | 543 | 540 | 543 | 543 | 541 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543
Dec PTDF cutoff unit | MESQUITW_1G | SLSTR1PP_1G | MESQUITW_1G | MESQUITW_1G | SLSTR1PP_1G | MESQUITW_1G | MESQUITW_1G | MESQUITW_2G | MESQUITW_1G | MESQUITW_1G | MESQUITW_1G | HAMILTON | SLSTR1PP_1G | HAMILTON
Dec 10% unit | KMICHIST3_G | NTHLK3_G | KMICHIST3_G | KMICHIST3_G | NTHLK3_G | KMICHIST3_G | HANDLEY_3G | HANDLEY_3G | KMICHICT5_G | KMICHICT5_G | KMICHICT5_G | VALLEY_3G | NTHLK3_G | VALLEY_3G
Dec max cumltv zone impact - cumltv zone share | 2.27% | 3.511% | 2.269% | 2.159% | 3.519% | 2.159% | 2.21% | 2.397% | 2.555% | 2.555% | 2.198% | 2.069% | 3.559% | 2.069%
Dec max cumltv zone impact - cumltv zone share pt | 144 | 121 | 144 | 133 | 121 | 133 | 125 | 128 | 130 | 130 | 136 | 126 | 121 | 126
Dec max cumltv zone impact - cumltv zone share unit | BRYN_DNSBY14 | LAKE_CRK2_G | BRYN_DNSBY14 | THOUSE_2G | LAKE_CRK2_G | THOUSE_2G | LEG_2___2 | TNTNPONE_28 | TNTNPONE_28 | TNTNPONE_28 | THOUSE_2G | LEG_2___2 | LAKE_CRK2_G | LEG_2___2
Source Zonal weighted AWGSF | 0.0040935 | 0.020301 | 0.0040583 | 0.0044124 | 0.021368 | 0.0043772 | 0.0037431 | 0.0036354 | 0.0038062 | 0.003771 | 0.0035868 | 0.0056325 | 0.025464 | 0.0055972
Sink Zonal weighted AWGSF | -0.048946 | -0.21118 | -0.048981 | -0.048946 | -0.21118 | -0.048981 | -0.034392 | -0.032493 | -0.031017 | -0.031053 | -0.032605 | -0.04859 | -0.21047 | -0.048626
Source - Sink PTDF | 0.053039 | 0.23148 | 0.053039 | 0.053358 | 0.23255 | 0.053358 | 0.038135 | 0.036128 | 0.034823 | 0.034824 | 0.036192 | 0.054223 | 0.23594 | 0.054223
Inc PTDF cutoff point | 102 | 105 | 102 | 102 | 104 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Inc PTDF cutoff unit | OKLA0A | COKFIELD_5 | OKLA0A | OKLA0A | MESQUITW_2G | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A
Inc 10% unit | MRGNCG_3G | PBCTBGE_2G | MRGNCG_3G | MRGNCG_3G | PBCTBGE_2G | MRGNCG_3G | MRGNCG_3G | MRGNCG_3G | MRGNCG_3G | MRGNCG_3G | MRGNCG_3G | MRGNCG_3G | PBCTEGE_5G | MRGNCG_3G
Inc max cumltv zone impact - cumltv zone share | 2.132% | 0.06992% | 2.131% | 2.119% | 0.09964% | 2.119% | 3.201% | 3.325% | 3.495% | 3.494% | 3.341% | 2.106% | 0.2211% | 2.107%
Inc max cumltv zone impact - cumltv zone share pt | 28 | 105 | 28 | 28 | 104 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 57 | 28
Inc max cumltv zone impact - cumltv zone share unit | MRGNFG_6G | COKFIELD_5 | MRGNFG_6G | MRGNFG_6G | MESQUITW_2G | MRGNFG_6G | MRGNFG_6G | MRGNFG_6G | MRGNFG_6G | MRGNFG_6G | MRGNFG_6G | MRGNFG_6G | NAV6ST | MRGNFG_6G
Source Zonal weighted AWGSF | 0.0040935 | 0.020301 | 0.0040583 | 0.0044124 | 0.021368 | 0.0043772 | 0.0037431 | 0.0036354 | 0.0038062 | 0.003771 | 0.0035868 | 0.0056325 | 0.025464 | 0.0055972
Sink Zonal weighted AWGSF | -0.048946 | -0.21118 | -0.048981 | -0.048946 | -0.21118 | -0.048981 | -0.034392 | -0.032493 | -0.031017 | -0.031053 | -0.032605 | -0.04859 | -0.21047 | -0.048626
Min of zone correlation | 0.00082156 | -0.0031896 | 0.00082172 | 0.00082156 | -0.0031896 | 0.00082172 | 0.019993 | 0.012101 | 0.01634 | 0.016341 | 0.016683 | 0.029973 | 0.079433 | 0.029972
Boundary gen in Source Zone | 0 | 2.5517 | 0 | 0 | 2.0267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in source zone as % of line | 0% | 0.238% | 0% | 0% | 0.1891% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Boundary gen in Sink Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in sink zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Boundary gen as % of line rating | 0% | 0.238% | 0% | 0% | 0.1891% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
OL element line rating | 186 | 1072 | 155 | 186 | 1072 | 155 | 155 | 155 | 186 | 155 | 155 | 186 | 1072 | 155
Source Zonal weighted AWGSF | 0.0040935 | 0.020301 | 0.0040583 | 0.0044124 | 0.021368 | 0.0043772 | 0.0037431 | 0.0036354 | 0.0038062 | 0.003771 | 0.0035868 | 0.0056325 | 0.025464 | 0.0055972
Sink Zonal weighted AWGSF | -0.048946 | -0.21118 | -0.048981 | -0.048946 | -0.21118 | -0.048981 | -0.034392 | -0.032493 | -0.031017 | -0.031053 | -0.032605 | -0.04859 | -0.21047 | -0.048626
North final Bi value | -0.0089482 | -0.01229 | -0.0086777 | -0.0092963 | -0.012561 | -0.0090257 | -0.013513 | -0.014984 | -0.01843 | -0.01801 | -0.014092 | -0.010799 | -0.013687 | -0.010526
South final Bi value | -0.0044529 | 0.012259 | -0.004202 | -0.0044522 | 0.012258 | -0.0042013 | -0.0063139 | -0.006224 | -0.0049925 | -0.0046059 | -0.0071184 | -0.0044367 | 0.012302 | -0.0041833
West final Bi value | -0.0012586 | -0.0020885 | -0.0011998 | -0.0013068 | -0.0021312 | -0.0012474 | -0.0020828 | -0.0023524 | -0.0030301 | -0.0029082 | -0.0022947 | -0.0015251 | -0.0023179 | -0.0014628
Houston final Bi value | -0.0040147 | -0.003914 | -0.0037572 | -0.0040124 | -0.0039119 | -0.0037549 | -0.0051832 | -0.0055436 | -0.0067508 | -0.0063536 | -0.0063743 | -0.0040437 | -0.0039222 | -0.0037845
pass or fail CRE test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test
CSC --> | N-S | N-S | N-S | N-S | N-S | N-S | N-S | N-S | N-S
File: | Cont_ Tradinghouse to TemplePEC OL_ TempleSS to LakeCreek | Cont_ TempleSS to TemplePEC and TempleSS to LakeCreek OL_ TempleSS to TemplePEC | Cont_ TempleSS to TemplePEC and TempleSS to LakeCreek OL_ Evant to Goldthwaite | Cont_ Lake to Tradinghouse and TemplePEC to Tradinghouse OL_ TempleSS to LakeCreek | Cont_ Lake to Tradinghouse and TemplePEC to Tradinghouse OL_ Lake to Tradinghouse | Cont_ Lake to Tradinghouse and TemplePEC to Tradinghouse OL_ Evant to Goldthwaite | Cont_ TempleSS to LakeCreek and TemplePEC to Tradinghouse OL_ WacoAtco to Cottonwood | Cont_ TempleSS to LakeCreek and TemplePEC to Tradinghouse OL_ WacoWoodway to WacoAtco | Cont_ TempleSS to LakeCreek and TemplePEC to Tradinghouse OL_ Evant to Goldthwaite
Number of units | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
Dec PTDF cutoff point | 258 | 258 | 258 | 258 | 256 | 258 | 258 | 258 | 258
Dec PTDF cutoff unit | BRYN_DNSBY14 | BRYN_DNSBY14 | FTR_CN4_5095 | BRYN_DNSBY14 | BRYN_DNSBY14 | FTR_CN4_5095 | BRYN_DNSBY14 | BRYN_DNSBY14 | FTR_CN4_5095
Dec 10% unit | HANDLEY_5G | HANDLEY_5G | COYOTE_1G | HANDLEY_5G | WLFHOLW_2G | COYOTE_1G | HANDLEY_3G | HANDLEY_3G | COYOTE_1G
Dec max cumltv zone impact - cumltv zone share | 2.719% | 2.848% | 8.51% | 2.669% | 7.803% | 10.29% | 2.931% | 2.931% | 7.617%
Dec max cumltv zone impact - cumltv zone share pt | 126 | 122 | 140 | 125 | 178 | 140 | 125 | 125 | 140
Dec max cumltv zone impact - cumltv zone share unit | STRYKER_2G | TGATEWAY_4G | WOLFRIDGE801 | STRYKER_2G | LAMARPWR_6G | WOLFRIDGE801 | STRYKER_2G | STRYKER_2G | WOLFRIDGE801
Source Zonal weighted AWGSF | 0.13903 | 0.060423 | 0.014155 | 0.13606 | 0.13635 | 0.011606 | 0.03008 | 0.030627 | 0.016016
Sink Zonal weighted AWGSF | -0.17994 | -0.079268 | -0.021105 | -0.177 | -0.13481 | -0.017532 | -0.039725 | -0.039179 | -0.02331
Source - Sink PTDF | 0.31896 | 0.13969 | 0.03526 | 0.31306 | 0.27117 | 0.029139 | 0.069805 | 0.069806 | 0.039326
Inc PTDF cutoff point | 387 | 387 | 387 | 387 | 389 | 387 | 387 | 387 | 387
Inc PTDF cutoff unit | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | LAKE_CRK2_G | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8
Inc 10% unit | SANDH_G4 | L_SIMGID1_2Y | L_SIMGID1_3Y | SANDH_G4 | SANDH_G4 | L_SIMGID1_3Y | L_LOSTPI1_2Y | L_LOSTPI1_2Y | L_SIMGID1_3Y
Inc max cumltv zone impact - cumltv zone share | 13.73% | 13.57% | 12.89% | 13.9% | 5.92% | 12.57% | 13.71% | 13.71% | 12.96%
Inc max cumltv zone impact - cumltv zone share pt | 182 | 182 | 194 | 182 | 204 | 173 | 182 | 182 | 193
Inc max cumltv zone impact - cumltv zone share unit | RAYBURNGEN2 | RAYBURNGEN2 | LARECU50A | RAYBURNGEN2 | LARECU50A | RAYBURNGEN2 | RAYBURNGEN2 | RAYBURNGEN2 | LARECU50A
Source Zonal weighted AWGSF | 0.13903 | 0.060423 | 0.014155 | 0.13606 | 0.13635 | 0.011606 | 0.03008 | 0.030627 | 0.016016
Sink Zonal weighted AWGSF | -0.17994 | -0.079268 | -0.021105 | -0.177 | -0.13481 | -0.017532 | -0.039725 | -0.039179 | -0.02331
Min of zone correlation | 0.13903 | 0.060423 | 0.014155 | 0.13606 | -0.090066 | 0.011606 | 0.03008 | 0.030627 | 0.016016
Boundary gen in Source Zone | 0 | 0 | 0 | 0 | 26.7497 | 0 | 0 | 0 | 0
Boundary gen in source zone as % of line | 0% | 0% | 0% | 0% | 2.798% | 0% | 0% | 0% | 0%
Boundary gen in Sink Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in sink zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Boundary gen as % of line rating | 0% | 0% | 0% | 0% | 2.798% | 0% | 0% | 0% | 0%
OL element line rating | 1072 | 493 | 128 | 1072 | 956 | 128 | 214 | 214 | 128
Source Zonal weighted AWGSF | 0.13903 | 0.060423 | 0.014155 | 0.13606 | 0.13635 | 0.011606 | 0.03008 | 0.030627 | 0.016016
Sink Zonal weighted AWGSF | -0.17994 | -0.079268 | -0.021105 | -0.177 | -0.13481 | -0.017532 | -0.039725 | -0.039179 | -0.02331
North final Bi value | 0.0006218 | 0.0013045 | 0.062413 | 0.00112 | -0.0086474 | 0.072394 | 0.0012356 | -0.0015201 | 0.056031
South final Bi value | 0.0012883 | 0.0019981 | -0.053197 | 0.0024135 | -0.060953 | -0.065865 | 0.0038996 | 0.00047298 | -0.048387
West final Bi value | 0.00086699 | 0.0019906 | -0.071874 | 0.0016493 | -0.022492 | -0.077528 | 0.0048852 | 0.0020708 | -0.068718
Houston final Bi value | -0.0010067 | 0.0018932 | 0.0024517 | -0.0021566 | 0.045175 | 0.0018565 | 0.0012934 | -0.0018364 | 0.0020586
pass or fail CRE test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test
CSC --> | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N | W-N
File: | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ TonkawawI_5 to GrahamSES | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ FisherRd to Oklaunion | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ Murry to Paint | Cont_ Cokfield to GrahamSES and LongCreek to GrahamSES1_5 OL_ SanAngelo to Menard(Shrew) | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ TonkawawI_5 to GrahamSES | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ FisherRd to Oklaunion | Cont_ LongCreek to GrahamSES1_5 and LonCrek2_5 to CokField_5 OL_ SanAngelo to Menard(Shrew) | Cont_ TonkawawI_5 to GrahamSES OL_ SanAngelo to Menard(Shrew) | Cont_ FisherRd to Oklaunion OL_ AbileneMulberry to LongCreek | Cont_ FisherRd to Oklaunion OL_ SanAngelo to Menard(Shrew) | Cont_ LongCreek to GrahamSES1_5 OL_ LonCrek2_5 to CokField_5 | Cont_ LongCreek to GrahamSES1_5 OL_ Cokfield to GrahamSES | Cont_ LonCrek2_5 to CokField_5 OL_ LongCreek to GrahamSES1_5 | Cont_ Cokfield to GrahamSES OL_ LongCreek to GrahamSES1_5 | Cont_ Cokfield to GrahamSES OL_ SanAngelo to Menard(Shrew) | Cont_ Sarc to Comchess OL_ SanAngelo to Menard(Shrew) | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ TonkawawI_5 to GrahamSES | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ FisherRd to Oklaunion | Cont_ LongCreek to Sweetwater and LongCreek to AbileneMulberry OL_ SanAngelo to Menard(Shrew) | Cont_ Ballinger to Coleman OL_ Ballinger to Humble(BalexTP) | Cont_ LongCreek to Sweetwater OL_ AbileneMulberry to LongCreek
Number of units | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
Dec PTDF cutoff point | 102 | 105 | 102 | 102 | 102 | 104 | 102 | 102 | 102 | 102 | 104 | 105 | 104 | 105 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Dec PTDF cutoff unit | OKLA0A | COKFIELD_5 | OKLA0A | OKLA0A | OKLA0A | MESQUITW_2G | OKLA0A | OKLA0A | SWETWATR_4G | WHRLWIND1A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | OKLA0A | INADALE_1G | OKLA0A | OKLA0A | OKLA0A
Dec 10% unit | LONGSHORE_5 | BUFF_GAP1B | SCURRYCW_1G | L_CAPRSI1_1N | LONGSHORE_5 | BUFF_GAP1B | L_CAPRSI1_1N | L_CAPRSI1_1N | BUFF_GAP1B | L_CAPRSI1_1N | CIRELLO | CIRELLO | CIRELLO | CIRELLO | L_CAPRSI1_1N | TNWDWRDU2_8 | LONGSHORE_5 | BUFF_GAP1B | L_CAPRSI1_1N | L_DIVIDE1_1N | HHOLLOW31A
Dec max cumltv zone impact - cumltv zone share | 5.137% | 12.08% | 8.831% | 2.812% | 5.137% | 11.62% | 2.812% | 3.006% | 14.7% | 3.533% | 6.694% | 6.376% | 6.694% | 7.792% | 3.358% | 3.662% | 5.853% | 12.18% | 2.784% | 4.008% | 4.988%
Dec max cumltv zone impact - cumltv zone share pt | 52 | 20 | 32 | 39 | 52 | 20 | 39 | 45 | 20 | 40 | 78 | 87 | 78 | 86 | 39 | 39 | 52 | 16 | 39 | 34 | 13
Dec max cumltv zone impact - cumltv zone share unit | BULLCREK_1G | SWETWATR_4G | OCOTILLO_1G | NOTREES_1G | BULLCREK_1G | SWETWATR_4G | NOTREES_1G | NAV6ST | AEPWIND_8 | STANTONW_8 | KING_NW1A | RDCNYNG1 | KING_NW1A | RDCNYNG1 | NOTREES_1G | NOTREES_1G | BULLCREK_1G | L_SWEETW1_5N | NOTREES_1G | PB6GEN_7G | L_SWEETW1_5N
Source Zonal weighted AWGSF | 0.25633 | 0.21441 | 0.051082 | 0.049178 | 0.25633 | 0.21441 | 0.049178 | 0.042794 | 0.25404 | 0.041688 | 0.26379 | 0.26379 | 0.26328 | 0.26328 | 0.041914 | 0.047883 | 0.26205 | 0.2094 | 0.049218 | 0.009614 | 0.28417
Sink Zonal weighted AWGSF | -0.021071 | -0.016282 | -0.0057175 | 0.0097307 | -0.021071 | -0.016282 | 0.0097307 | 0.010317 | -0.022635 | 0.010425 | -0.023105 | -0.023105 | -0.023064 | -0.023064 | 0.010367 | 0.010013 | -0.021395 | -0.015998 | 0.0097284 | -0.00012867 | -0.025516
Source - Sink PTDF | 0.2774 | 0.23069 | 0.056799 | 0.039447 | 0.2774 | 0.23069 | 0.039447 | 0.032477 | 0.27667 | 0.031263 | 0.28689 | 0.28689 | 0.28635 | 0.28635 | 0.031546 | 0.03787 | 0.28344 | 0.2254 | 0.03949 | 0.0097426 | 0.30968
Inc PTDF cutoff point | 543 | 540 | 543 | 543 | 543 | 541 | 543 | 543 | 543 | 543 | 541 | 540 | 541 | 540 | 543 | 543 | 543 | 543 | 543 | 543 | 543
Inc PTDF cutoff unit | COKFIELD_5 | HAMILTON | MESQUITW_1G | COKFIELD_5 | MESQUITW_2G | HAMILTON | MESQUITW_2G | MESQUITW_1G | HAMILTON | MESQUITW_1G | HAMILTON | HAMILTON | HAMILTON | HAMILTON | COKFIELD_5 | MESQUITW_1G | HAMILTON | HAMILTON | GRHAMSES_1G | MESQUITW_1G | HAMILTON
Inc 10% unit | KMICHIST3_G | KMICHIST6_G | HANDLEY_3G | L_HAYSEN1_2Y | KMICHIST3_G | KMICHIST6_G | L_HAYSEN1_2Y | L_HAYSEN1_2Y | KMICHICT5_G | DECKR_G1 | KMICHIST3_G | KMICHIST3_G | KMICHIST3_G | KMICHIST3_G | DECKR_G1 | SANDHG5A | VALLEY_3G | KMICHIST6_G | L_HAYSEN1_2Y | L_BASTEN1_2Y | HANDLEY_4G
Inc max cumltv zone impact - cumltv zone share | 1.507% | 1.538% | 2.056% | 10.9% | 1.507% | 1.538% | 10.9% | 12.87% | 1.925% | 13.26% | 1.705% | 1.705% | 1.705% | 1.705% | 13.16% | 11.42% | 1.482% | 1.566% | 10.79% | 1.979% | 1.801%
Inc max cumltv zone impact - cumltv zone share pt | 143 | 129 | 118 | 368 | 144 | 130 | 368 | 368 | 137 | 368 | 137 | 136 | 137 | 136 | 368 | 368 | 146 | 132 | 368 | 383 | 137
Inc max cumltv zone impact - cumltv zone share unit | BOSQUESW501 | BRYN_DNSBY14 | DECRDOVA_1G | THW_5556 | BOSQUESW501 | BRYN_DNSBY14 | THW_5556 | THW_5556 | FTR_CN4_5095 | THW_5556 | LAKE_CRK2_G | LAKE_CRK2_G | LAKE_CRK2_G | LAKE_CRK2_G | THW_5556 | THW_5556 | BOSQUESW501 | THOUSE_2G | THW_5556 | DECRDOVA_1G | FTR_CN4_5095
Source Zonal weighted AWGSF | 0.25633 | 0.21441 | 0.051082 | 0.049178 | 0.25633 | 0.21441 | 0.049178 | 0.042794 | 0.25404 | 0.041688 | 0.26379 | 0.26379 | 0.26328 | 0.26328 | 0.041914 | 0.047883 | 0.26205 | 0.2094 | 0.049218 | 0.009614 | 0.28417
Sink Zonal weighted AWGSF | -0.021071 | -0.016282 | -0.0057175 | 0.0097307 | -0.021071 | -0.016282 | 0.0097307 | 0.010317 | -0.022635 | 0.010425 | -0.023105 | -0.023105 | -0.023064 | -0.023064 | 0.010367 | 0.010013 | -0.021395 | -0.015998 | 0.0097284 | -0.00012867 | -0.025516
Min of zone correlation | 0.023604 | -0.026723 | 0.0029226 | 0.00064795 | 0.023604 | -0.026723 | 0.00064795 | 0.0099629 | 0.045634 | 0.0086649 | -0.20701 | -0.31225 | -0.20609 | -0.20609 | 0.0063225 | 0.010297 | 0.081202 | 0.15538 | 0.022873 | 0.003107 | 0.17712
Boundary gen in Source Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in source zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Boundary gen in Sink Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in sink zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Boundary gen as % of line rating | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
OL element line rating | 1072 | 1072 | 155 | 100 | 1072 | 1072 | 100 | 100 | 1072 | 100 | 1072 | 1072 | 1072 | 1072 | 100 | 100 | 1072 | 1072 | 100 | 27 | 1072
Source Zonal weighted AWGSF | 0.25633 | 0.21441 | 0.051082 | 0.049178 | 0.25633 | 0.21441 | 0.049178 | 0.042794 | 0.25404 | 0.041688 | 0.26379 | 0.26379 | 0.26328 | 0.26328 | 0.041914 | 0.047883 | 0.26205 | 0.2094 | 0.049218 | 0.009614 | 0.28417
Sink Zonal weighted AWGSF | -0.021071 | -0.016282 | -0.0057175 | 0.0097307 | -0.021071 | -0.016282 | 0.0097307 | 0.010317 | -0.022635 | 0.010425 | -0.023105 | -0.023105 | -0.023064 | -0.023064 | 0.010367 | 0.010013 | -0.021395 | -0.015998 | 0.0097284 | -0.00012867 | -0.025516
North final Bi value | -0.0053338 | -0.0016229 | 0.0086777 | -0.090158 | -0.0050028 | -0.0011774 | -0.09003 | -0.099056 | 0.0082873 | -0.10162 | -0.003062 | -0.0041393 | -0.0034125 | -0.0040166 | -0.10055 | -0.092658 | -0.0042087 | 0.0014049 | -0.089465 | -0.02662 | 0.0021354
South final Bi value | 0.0013357 | -0.00093104 | 0.004202 | 0.099263 | 0.0013356 | -0.00093101 | 0.099283 | 0.10865 | -0.0033788 | 0.11141 | 2.4456e-06 | 2.572e-06 | -1.2167e-06 | -1.147e-06 | 0.1102 | 0.10215 | 0.001516 | -0.0012883 | 0.099273 | 0.023674 | -0.00079712
West final Bi value | -0.00038412 | -0.00014715 | 0.0011998 | 0.052997 | -0.00036524 | -0.00011225 | 0.052937 | 0.067787 | 0.0009898 | 0.07281 | -0.00023769 | -0.00030868 | -0.00026146 | -0.00030087 | 0.070616 | 0.057204 | -0.00031899 | 0.00011839 | 0.052591 | 0.0017286 | 0.000212
Houston final Bi value | -0.00032171 | -0.00043476 | 0.0037572 | 0.020334 | -0.00032238 | -0.00043598 | 0.020341 | 0.021843 | 0.0012738 | 0.022329 | 7.5827e-06 | 1.0152e-05 | 1.0205e-05 | 1.1631e-05 | 0.022152 | 0.021475 | -0.0004219 | -0.00031223 | 0.020345 | 0.0070415 | 0.00037811
pass or fail CRE test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test
CSC --> | S-N | S-N | S-N | S-N | S-N | S-N | S-N | S-N | S-N
File: | Cont_ TempleSS to Sandow OL_ TempleSS to Sandow | Cont_ TempleSS to TemplePEC OL_ TempleSS to Sandow | Cont_ Rogers_1 to Temple OL_ TempleSS to Sandow | Cont_ Rogers to Temple OL_ TempleSS to Sandow | Cont_ Austrop to Sandow OL_ Austrop to SandowTXU | Cont_ Austrop to SandowTXU OL_ Austrop to Sandow | Cont_ Adamsville to Evant OL_ TempleSS to Sandow | Cont_TempleSS to Sandow and TempleSS to Sandow OL_ Rogers to Temple | Cont_TempleSS to LakeCreek and TemplePEC to Tradinghouse OL_ WacoAtco to Cottonwood
Number of units | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
Dec PTDF cutoff point | 387 | 387 | 387 | 387 | 385 | 385 | 387 | 387 | 387
Dec PTDF cutoff unit | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8 | TNSLCGN1__8
Dec 10% unit | L_FPPYD11_2Y | L_FPPYD11_2Y | L_SIMGID1_3Y | L_SIMGID1_3Y | L_HAYSEN1_1Y | L_HAYSEN1_1Y | L_FPPYD11_2Y | DECKR_G6 | L_BASTEN1_3Y
Dec max cumltv zone impact - cumltv zone share | 12.18% | 12.25% | 12.31% | 12.31% | 12.81% | 12.81% | 12.15% | 12.96% | 12.65%
Dec max cumltv zone impact - cumltv zone share pt | 175 | 173 | 175 | 175 | 171 | 171 | 189 | 175 | 182
Dec max cumltv zone impact - cumltv zone share unit | RAYBURNGEN2 | RAYBURNGEN2 | RAYBURNGEN2 | RAYBURNGEN2 | RAYBURNGEN2 | RAYBURNGEN2 | L_FERGUS1_1Y | RAYBURNGEN2 | RAYBURNGEN2
Source Zonal weighted AWGSF | 0.19215 | 0.10565 | 0.12167 | 0.12232 | 0.1646 | 0.16492 | 0.11665 | 0.062266 | 0.040577
Sink Zonal weighted AWGSF | -0.13415 | -0.073157 | -0.084041 | -0.084536 | -0.13166 | -0.13189 | -0.081452 | -0.040935 | -0.031531
Source - Sink PTDF | 0.3263 | 0.17881 | 0.20571 | 0.20685 | 0.29626 | 0.29682 | 0.1981 | 0.1032 | 0.072108
Inc PTDF cutoff point | 258 | 258 | 258 | 258 | 260 | 260 | 258 | 258 | 258
Inc PTDF cutoff unit | BRYN_DNSBY14 | BRYN_DNSBY14 | BRYN_DNSBY14 | BRYN_DNSBY14 | SANDOW_4G | SANDOW_4G | BRYN_DNSBY14 | FTR_CN4_5095 | BRYN_DNSBY14
Inc 10% unit | MDLTHELP_5G | MDLTHELP_5G | MDLTHELP_5G | MDLTHELP_5G | MDLTHELP_5G | MDLTHELP_5G | MDLTHELP_5G | BOSQUESW804 | MDLTHELP_1G
Inc max cumltv zone impact - cumltv zone share | 2.639% | 2.591% | 2.622% | 2.622% | 1.973% | 1.976% | 2.583% | 2.441% | 2.935%
Inc max cumltv zone impact - cumltv zone share pt | 54 | 54 | 54 | 54 | 23 | 23 | 61 | 49 | 32
Inc max cumltv zone impact - cumltv zone share unit | SPENCER_G5 | SPENCER_G5 | SPENCER_G5 | SPENCER_G5 | DECRDOVA_5G | DECRDOVA_5G | NTHLK3_G | JCKCNTY803 | WLFHOLW_3G
Source Zonal weighted AWGSF | 0.19215 | 0.10565 | 0.12167 | 0.12232 | 0.1646 | 0.16492 | 0.11665 | 0.062266 | 0.040577
Sink Zonal weighted AWGSF | -0.13415 | -0.073157 | -0.084041 | -0.084536 | -0.13166 | -0.13189 | -0.081452 | -0.040935 | -0.031531
Min of zone correlation | 0.13415 | 0.073157 | 0.084041 | 0.084536 | -0.22872 | -0.22745 | 0.081452 | 0.040935 | 0.031531
Boundary gen in Source Zone | 0 | 0 | 0 | 0 | 186.8795 | 186.2841 | 0 | 0 | 0
Boundary gen in source zone as % of line | 0% | 0% | 0% | 0% | 17.43% | 19.49% | 0% | 0% | 0%
Boundary gen in Sink Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boundary gen in sink zone as % of line | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Boundary gen as % of line rating | 0% | 0% | 0% | 0% | 17.43% | 19.49% | 0% | 0% | 0%
OL element line rating | 1072 | 1072 | 1072 | 1072 | 1072 | 956 | 1072 | 478 | 214
Source Zonal weighted AWGSF | 0.19215 | 0.10565 | 0.12167 | 0.12232 | 0.1646 | 0.16492 | 0.11665 | 0.062266 | 0.040577
Sink Zonal weighted AWGSF | -0.13415 | -0.073157 | -0.084041 | -0.084536 | -0.13166 | -0.13189 | -0.081452 | -0.040935 | -0.031531
North final Bi value | -0.013566 | -0.014335 | -0.013745 | -0.013679 | -0.018964 | -0.018958 | -0.014302 | -0.014408 | -0.0012356
South final Bi value | -0.0092887 | -0.0099971 | -0.0095455 | -0.0095163 | -0.015953 | -0.01594 | -0.0084813 | -0.010698 | -0.0038996
West final Bi value | -0.0061679 | -0.00662 | -0.0062727 | -0.0062552 | -0.012021 | -0.012011 | -0.0039168 | -0.0067358 | -0.0048852
Houston final Bi value | -0.016936 | -0.017065 | -0.016688 | -0.016616 | -0.016082 | -0.016099 | -0.016817 | -0.015213 | -0.0012934
pass or fail CRE test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test | Passes CRE Test