| PRR Number | 800 | PRR Title | QSE Day Ahead Metric |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | May 7, 2009 |  |  |
| Protocol Section Requiring Revision |  | 4.10.5, Day Ahead Zonal Schedule Measure |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) re-defines the Day Ahead metric for both Wind-powered Generation Resource (WGR) Qualified Scheduling Entities (QSEs) and non-WGR QSEs to ensure that both categories of QSEs schedule enough capacity in the Day Ahead market to meet their planned energy schedules plus Ancillary Service (AS) Obligations. This PRR removes the WGR QSEs exemption established in PRR777, WGR QSE Metric Correction. |  |  |
| Overall Market Benefit |  | Establishes an appropriate Day Ahead metric for all QSEs. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 1/21/09, PRR800 and its Impact Analysis were posted. - On 2/10/09, the Operations Working Group (OWG) comments were posted. - On 2/13/09, ROS comments were posted. - On 2/19/09, PRS considered PRR800. - On 3/19/09, WMS comments were posted. - On 3/19/09, PRS again considered PRR800. - On 4/17/09, Texas Regional Entity (TRE) comments were posted. - On 4/22/09, CPS Energy comments were posted. - On 4/23/09, PRS again considered PRR800. - On 4/24/09, a second set of WMS comments were posted. - On 5/7/09, a revised Impact Analysis was posted. - On 5/7/09, a Cost Benefit Analysis (CBA) was posted. - On 5/7/09, TAC considered PRR800. |  |  |
| PRS Decision |  | On 2/19/09, PRS unanimously voted to table PRR800 until the March 19th PRS meeting. All Market Segments were present for the vote. On 3/19/09, PRS unanimously voted to table PRR800 and instruct ERCOT to provide a statement of the benefits associated with this PRR. All Market Segments were present for the vote. On 4/23/09, PRS unanimously voted to grant Urgency on PRR800. PRS also voted to recommend approval of PRR800 as amended by CPS Energy comments. There was one (1) abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 2/19/09, it was requested that PRS table PRR800 to allow the TRE time to review and comment on the PRR. There was discussion regarding the purpose of PRR800 and the associated reliability benefits. On 3/19/09, it was noted that WMS recommended that PRS continue to defer action until the TRE submit comments. The TRE indicated that it would soon submit its comments. On 4/23/09, it was noted that the ERCOT Board requested an update on the status of PRR800. I In response, it was discussed whether PRS should grant Urgent status to PRR800. It was also noted that the TRE does not oppose approval of PRR800 and will work with ERCOT to implement system changes. |  |  |
| TAC Decision |  | On 5/7/09, TAC unanimously voted to recommend approval of PRR800 as recommended by PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 5/7/09, there was discussion regarding whether the project would be funded by the ERCOT System Administration fee or by the TRE fee. ERCOT Staff clarified that the project was within the scope of the Service Level Agreement (SLA) between ERCOT and the TRE and that a separate ERCOT project would not be required. There was further discussion regarding the need to review the SLA at a future meeting. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | May establish a Day Ahead metric for all QSEs. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional full time equivalents (FTEs) will be required. |  |
|  | 2 | No changes in software or system tools required. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Establishes an appropriate Day Ahead metric for all QSEs. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| OWG 021009 | Endorsed the language as submitted. |
| ROS 021309 | Endorsed the language as submitted. |
| WMS 031909 | Recommended that PRS continue to defer action on PRR800 until the TRE has submitted comments and requested that ERCOT provide a statement of the benefits associated with this PRR. |
| TRE 041709 | Proposed a modification to the calculation of the revised metric. Also recommended removal of “zonal” as metric will be calculated based on a QSE’s portfolio of aggregated High Sustainable Limits (HSLs). |
| CPS Energy 042209 | Proposed language changes to clarify the Ancillary Services included in the metric calculation and the Resources included in the aggregated HSL. |
| WMS Comments 042409 | Endorsed the language as submitted. |

| Original Sponsor |  |
| --- | --- |
| Name | John Dumas |
| Company | ERCOT |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

4.10.5	Day Ahead Schedule Measure

The “Day Ahead  Schedule Measure” compares each QSE’s energy schedule to the QSE’s aggregated HSLs at the time a Day Ahead schedule validation, as described in Section 4.7, Validation and Correction of Schedule Data, is run and approved.  The Resource Plan HSL is aggregated to include all On-line units, hydro units that have been tested hydro Responsive Reserve capability when synchronous condenser fast response mode, and active LaaRs for each QSE.  The QSE’s energy schedule and the aggregated HSLs for all twenty-four (24) hours of the next day are recorded at the time of the Day Ahead schedule validation.  The highest value interval out of the four (4) fifteen (15)-minute Settlement Intervals in an Operating Hour is selected to represent the QSE’s energy schedule.  The HSLs for all Resources are aggregated by QSE for each Operating Hour to create the QSE’s aggregated HSLs.  If multiple Day Ahead schedule validations are run on a particular Operating Day, only the first approved Day Ahead schedule validation is used.  Only Operating Hours when the energy schedule is greater than zero (0) MW are considered in this measure.

An Occurrence is recorded for a given Operating Hour if the QSE’s energy schedule plus scheduled Ancillary Services (AS)  are greater than the aggregated HSLs.  The scheduled Ancillary Services include Regulation Service Up (RGSU) and Response Reserve schedules.  Only one (1) Occurrence can be recorded per Operating Hour per QSE.  To determine the QSE Measure Score for the Day Ahead Zonal Schedule Measure, Occurrences are summed for every Operating Hour in a given month, and divided by the total number of Operating Hours in that month where the QSE’s energy schedule for a particular Operating Hour is greater than zero (0) MW.

-powered Generation Resource (WGR)o submitrce Plans in complianh Sect.4.15