## Slide 1: Nodal Single Entry Model (SEM) Go-Live
http://nodal.ercot.com <number>
ROS Update
May 14, 2009

## Slide 2: SEM Go-Live
http://nodal.ercot.com <number>
What’s different from the last ROS Update
  SEM Model Posting Issue at TAC
    TAC requested input from ROS and WMS
Appendix
  Supporting RARF Details
  What is SEM Go-Live?
  Market Engagement/Communications
  Training Update
  SEM Go-Live Criteria
  Transition summary during June – August 2009
  Next steps

## Slide 3: Single-Entry Model Posting of Network Operations Model
http://nodal.ercot.com <number>
Definition of Network Operations Model
Content of NMMS Network Operations Model
Protocol requirements for model-related postings
Report/NDSML postings inventory
ERCOT assumption and next steps (ROS/WMS input desired)

## Slide 4: Definition of Network Operations Model
http://nodal.ercot.com <number>
Definition - Section 2.1 of the Nodal Protocols
Network Operations Model
A representation of the ERCOT System providing the complete physical network definition, characteristics, ratings, and operational limits of all elements of the ERCOT Transmission Grid and other information from TSPs, Resource Entities, and QSEs
SEM Go-Live Procedure states ERCOT shall publish CIM model to be used for SEM Go-Live, ie Network Operations Model

## Slide 5: Content of NMMS Network Operations Model
http://nodal.ercot.com <number>
The Network Operations Model contains the system network topology plus Resource data
Resource data is submitted to ERCOT via the Resource Asset Registration Form (RARF)
  All Resource Entities submitted nodal RARFs (replacement of zonal GARF)
  RARF captures detailed operational characteristics of Resources
  Almost all RARF data is consumed by the Network Model Management System (NMMS)
  RARF template posted on Nodal Readiness center: http://nodal.ercot.com/readiness/rq/documents/index.html

## Slide 6: Content of NMMS Network Operations Model
http://nodal.ercot.com <number>
The Network Operations Model is posted to MIS Secure from NMMS per nodal protocols
MIS Secure- represents the file being posted behind a digital certificate, and available to all registered ERCOT Market Participants (TSP, QSE, RE, etc)
Model posting contains Resource data such as:
  Resource Operational Minimum and Maximum output limits
  Seasonal and Emergency Min/Max Output limits
  Reactive Curves, Ramp Rate Curves
  Minimum On-line and Off-line time, Max number of starts/week
  Private Use Network Load Profile
  Transmission equipment for resource
  Appendix includes more detail
Model posting does not include any financial data
  Heat Rate curves
  Verifiable costs
  Start-up costs
  Offers/bids from any market

## Slide 7: Protocol requirements for model-related postings
http://nodal.ercot.com <number>
Nodal Protocol references:
Section 3.10.1 (3), Time Line for Network Operations Model Change Requests [footnotes to table]
2. Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in paragraph (3) of Section 3.10.4, ERCOT Responsibilities. The test version of the Network Operations Model will be available for market review and further testing by Market Participants.
Section 3.10, Network Operations Modeling and Telemetry
(8) ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change. ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 3.10.1, Time Line for Network Operations Model Change Requests, and ERCOT shall also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays. ERCOT shall post all NOMCRs on the MIS Secure Area within five Business Days following receipt of the NOMCR, consistent with Critical Energy Infrastructure Information (CEII) standards.
Section 4.2.3, Posting Forecasted ERCOT System Conditions
No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:
(a) The Network Operations Model topology that includes known transmission line and other Transmission Facilities outages in the Common Information Model (CIM) format for the minimum Load hour and the peak Load hour;

## Slide 8: Protocol requirements for model-related postings
http://nodal.ercot.com <number>
Nodal Protocol references (cont’d)
Section 3.10.4, ERCOT Responsibilities
(4) …. ERCOT shall acquire model comparison software that will show all differences between the next production model and production environment model and shall post this information on the MIS Secure Area within one week following test completion. This comparison shall indicate differences in device parameters, missing or new devices, and status changes.
(8) ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of CEII, the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date. ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web-based XML communications.
Section 3.10.7.1 Modeling of Transmission Elements and Parameters
(2) … ERCOT shall provide all names and parameters of all Transmission Elements to Market Participants posted on MIS Secure Area by 0600 each day.
Section 3.10.7.1.4, Transmission and Generation Resource Step-Up Transformers
(5) ERCOT shall post to the MIS Secure Area information regarding all transformers
represented in the Network Operations Model.
Protocol reference related to confidentiality
Section 1.3.1.1, Items Considered Protected Information
“Protected Information” is information containing or revealing any of the following:
[…]
(k) Resource-specific costs, design and engineering data

## Slide 9: ERCOT assumption and next steps
ERCOT brought the following plans below to TAC to confirm no protocols are being violated as described. TAC asked ERCOT to discuss with ROS and WMS
  ERCOT plans to move forward in the coming weeks with posting the entire Network Operations Model as part of the SEM Go-Live Procedure and nodal protocol requirements.
    The posting will occur on or before August 31, 2009 / Single Entry Model Go-Live, with an understanding that network topology and resource data will be available to all registered MPs (TSP, QSE, RE included)
If ROS/WMS take issue with this posting, interim alternatives to consider:
  ERCOT limits the posting to only TSPs
  ERCOT does not post the file prior to SEM Go-Live
  Long-term alternative- Request ERCOT to enhance CIM file to exclude certain Resource data (long-term change with scope implications)
Input from the ROS membership on issue of posting model?

## Slide 10
http://nodal.ercot.com <number>
APPENDICES
  Supporting RARF Details
  What is SEM Go-Live?
  Market Engagement/Communications
  Training Update
  SEM Go-Live Criteria
  Transition summary during June – August 2009
  Next steps

## Slide 11: Supporting RARF Details- Registration data in model (pg 1/3)

## Slide 12: Supporting RARF Details- Registration data in model (pg 2/3)

## Slide 13: Supporting RARF Details- Registration data in model (pg 3/3)

## Slide 14: Appendix- What is SEM Go-Live?
http://nodal.ercot.com <number>
Single Entry Model (SEM) Go-Live is the switchover on Aug 31, 2009 for TSP submissions of network operations model change requests
  from “Service Request” submissions via TML
  to “NOMCR” submissions via the NMMS
  System of record for Model remains Zonal/Genesys system until Dec 2010
TSP
Current Activity
Submit Modeling
Change via Service Request
ERCOT Uploads
Svc Request
into Zonal
Genesys Model
ERCOT Copies/Converts
Zonal Model “seed”
Into Nodal
NMMS Model
TSP
Aug 31, 2009
Submit Modeling Change via
NOMCR/NMMS Tool
(includes ICCP)
ERCOT Incrementally
Converts NOMCR
Into Svc Req
Uploads into Zonal
Genesys Model
ERCOT uploads
NOMCR
Into Nodal
NMMS Model to
support nodal testing
Data Consistency Checks are run to
ensure model synchronization/fidelity
Periodic checks are run to
ensure model synchronization/fidelity
Full
Copy
Incr.
NOMCR

## Slide 15: Appendix- Market Engagement / Communications
http://nodal.ercot.com <number>
The processes and approvals leading up to this activity were outlined in the SEM Go-Live Procedure approved by TPTF and TAC in Aug/Sep 2008
  http://nodal.ercot.com/readiness/golive/index.html
ERCOT has engaged and presented updates to the following groups, and will do so monthly moving forward:
  NDSWG- Jan, Feb, Mar, April
    Market SMEs review artifacts and training agenda
  ROS- Feb, April
    High level reports of schedule, metrics, and criteria status
Metrics-
  MP13 – MP Completes Nodal Operations Training
    Measure of training attendance for MPs
  MP14-B EDS2-Rel4 Trials Participation
    Measure of testing participation- target 95% of aTSPs

## Slide 16: Appendix- Market Engagement / Communications
http://nodal.ercot.com <number>
Coming into critical window of final Zonal->Nodal model transformation, market training, application roll-out

## Slide 17: Appendix- Training Update
http://nodal.ercot.com <number>
TSP Testing and Training environments will be the same
Testing system access
  Available June 8 – Aug 10
  NOMCR testing system will be on-line and available to all TSPs
  ERCOT will establish dedicated email and have staff available to support questions (nomcrhelp@ercot.com)
Instructor Led Training to be hosted in Taylor
  Pre-SEM classes June 22 – Aug 3
    Current plans for at least six 2-day sessions
    Planning for 12-18 seats for each class
    Large dedicated training room
  Post-SEM classes Sept 23- Oct 20
    Fewer sessions and smaller classes (tbd)
    Make-up classes, not just-in-time training for all staff after go-live

## Slide 18: Appendix- SEM Go-Live Criteria
http://nodal.ercot.com <number>
SEM Go-Live Criteria defined in the SEM Go-Live Procedure http://nodal.ercot.com/readiness/golive/index.html
Section 4- The following entry criteria shall be met for SEM Go-Live
  TSPs & ERCOT complete EDS 2 Release 4 activities (next page)
  Nodal network model validated and approved as baseline for SEM Go-Live by ERCOT System Ops and Market Ops Directors
  ERCOT publishes CIM model to be used for SEM Go-Live
  ERCOT sufficiently staffed for maintenance of nodal & zonal systems
  Nodal EMS is capable of consuming NMMS CIM files through the EMS CIM importer for use in the Nodal EMS application suite
  SEM Go-Live readiness approved by TPTF, TAC and ERCOT BOD
    presume ROS approval in place of TPTF
  ERCOT publishes the following documents for TSPs
    ERCOT Network Operations Model validation whitepaper
    ERCOT Network Operations Model validation results
    NMMS Modeling Guidelines / Validation Rules document
    Latest CIM data dictionary and schema

## Slide 19: Appendix- SEM Go-Live Criteria (cont’d)
http://nodal.ercot.com <number>
  All TSPs complete EDS 2 Release 4 activities
    MPs have enrolled and can access the ERCOT MIS portal
    MPs have been trained on the NOMCR process
    TSPs can electronically submit data changes utilizing the NOMCR user interface and CIM compliant format for data exchange or via the manual MIS NOMCR process
    QSEs can submit data changes utilizing the registration submission and subsequent ERCOT NOMCR process
    MPs can receive NOMCR acknowledgement of submittals, verifications, and confirmation of data posting
  ERCOT completes EDS 2 Release 4 activities
    ERCOT is ready to fully utilize the NOMCR process for all TSP/QSE data change requests
    TSP MPs can successfully submit data changes via the CIM compliant electronic NOMCR process.
    QSE can successfully submit data changes through registration submissions (and updated in the Network Operations Model via the NOMCR process)
    ERCOT has processes in place to use a “single entry point” to maintain both Nodal and Zonal network model databases when MPs submit changes via the NOMCR process
    NMMS is the database of record for the Network Operations Model including the ICCP modeling point database and operatorship / ownership information
    NMMS database is under full change control by ERCOT Network Model Group
    ERCOT discontinues the use of Service Requests for data changes and change control
    ERCOT begins the use of the NOMCR process for data changes and change control

## Slide 20: Appendix- Transition summary during June-Aug’09
http://nodal.ercot.com <number>
  Currently no limits on submissions (Market Notice sent March 5)
    “… to clarify that there are no restrictions or “freezes” currently in place limiting network model change submissions via the service request process.”
  Transition periods:
    June 1- Aug 30, 2009 (objective to minimize SvcReq during this period)
      No equipment name changes (defer until after SEM Go-Live 8/31/09)
      Submit changes as far in advance as possible
    Aug 15-30, 2009
      Two weeks no submissions, except for emergency changes
    Aug 31, 2009 - Feb 2010 (NOMCRs for any/all network changes)
      Initially the NOMCR timeline will align with zonal timeline
        NOMCRs received and translated to zonal model change
        30-day lead-time, compliant with current zonal database schedule
        Status is tracked and communicated via system emails
      SRs that did not go into zonal production will be converted to NOMCRs for verification and submission by TSPs in Sept
      TSP gradually transitions to NodalProtocols(3.10) 90-day reqts