OWG Report to ROS

May 14, 2009

The Operations Working Group (OWG) met April 23, 2009.

On April 23rd  the OWG met for it regularly scheduled meeting. During the meeting the following items were discussed:

The OTF had no report

The BSTF had no report

The TRE report :

  - TRE is holding a workshop on May 6th.

  - TRE has started watching the operator logs for SPS activations

  - OWG needs a clarification on how a generator can monitor a transmission element loading when they can’t see transmission system on OGRR 224 (Jack).  Frosch took action item to talk to Dumas

The OWG reviewed the following:

  - OGRR 222: Stacy Brides and Richard Howard were available to answer questions on this OGRR.  OWG approved with some changes to correct typos, “Remote thermal to Remote terminal” in Section 8 in operating guides.

  - OGRR 218: OWG made some changes to section 1.8.2 System operator training requirements. With OWG comments, it will now go to ROS.

  - OGRR Draft (Generator response time): Walter Reid asked to put in the dates for compliance. OWG is going to sponsor this to be an OGRR.  Walter will draft the NOGRR.

  - OGRR 217: OWG agrees to have more characters in the relay misoperation report unless SPWG comes out with a suggestion to revise the narrative section beyond 250 characters. Tabled for another month for SPWG response.

  - OGRR 165: OWG approves or endorses the withdrawal and this will be sent to ROS.

  - NOGRR 025: NDSWG had three items assigned to them. OWG agrees that item 4 should be on the plate of QMWG. The spreadsheet is consolidated on May 1st workshop. OWG is going to wait till the spreadsheet gets consolidated in the next workshop.

The OWG Scope will be presented to ROS at the June meeting.