The Network Data Support Working Group (NDSWG) met on April 21st and May 5th.   The following is summary of the main topics of discussion.

April 21st Meeting

- Matt Mereness provided a update on SEM Go-Live transition.   The proposed schedule and entry criteria for SEM Go-Live was reviewed and discussed.   Major points include

  - June 1 – Aug 30 , 2009 : No equip. name changes , Service Requests minimized

  - Aug 15 – Aug 30, 2009 : No Service Requests submission except for emergency changes

  - Aug 31 :  SEM Go Live - switch from SRs to NOMCRs via NMMS

  - Aug 31 – Feb 2010:  TSP Model sync and transition to Nodal Protocol 3.10 NOMCR timelines

  - June 22 -  Aug 3, 2009:  TSP NOMCR Training scheduled in Taylor

  - ERCOT addressed QSE methods to verify submitted RARF data

  - Members requested ERCOT to clarify ICCP data submission during transition to SEM

  - Members requested ERCOT to clarify definitions for Owmership/Operatorship

  - QSE members requested similar path /process details for QSE transition

- Raju Kalindi reviewed the latest version of Modeling Guidelines/Validation rules document.   ERCOT is revising the document to incorporate the requests of NDSWG.   The major concern is the document is not far enough along for the NDSWG to determine if it will meet the needs of the TSP’s required to provide model data in the SEM environment, specifically identification of the data TSP are required to provide.  A revised version of the document will be discussed at the next meeting.

- The following documents are scheduled to be provided by ERCOT before Single Entry Model Go Live.

  - Modeling Guidelines/Validation Rules ( Official Draft version on 05/19/2009)

  - Data Consistency Check Report  (08/04/2009)

  - Request for Validation XML code is being reviewed by ERCOT legal

- The group discussed Tie line validation between owners in the current zonal process and reviewed with ERCOT the process expected in Nodal.   A well defined process will need to be developed to handle multi-owner lines considering Nodal rules and limitations.

- Ken McIntyre discussed telemetry reports and statistics; individual point availability, ICCP availability and a new ICCP link Up/Down.  The group agreed to post the reports to NDSWG and the MIS secure area with the knowledge that these reports were draft and preliminary.   Reports will be posted on the 3rd day of each month.  This work will be coordinated with the NOGRR025 directive to ensure proper metrics are designed to measure performance.  ERCOT presented the Zonal SE performance report.

- The NDSWG is coordinating a joint meeting with SSWG in July to discuss Nodal modeling issues and go-live process.

May 5th Special NOGRR025 Meeting

- The NDSWG reviewed the results of the May 1st Workshop and continued work on the identified metrics.

- The group reviewed ERCOT reports for the five identified metrics and requested some minor changes to the reports.  ERCOT agreed to report back at the next meeting on the requested changes.

  - Two metrics on Telemetry Standards for TSPs (Individual Points and ICCP link)

  - Two metrics on Telemetry Standards for QSEs (Individual Points and ICCP link)

  - One metric on SE Standards for ERCOT

- One additional metric was added to capture Critically Important Telemetry Performance.

- The NDSWG will continue work, including language changes, on this NOGRR on May 20th

The next NDSWG meeting will be a two day meeting on May 19th and 20th at Taylor.