May 12, 2009

10:00 a.m. – 1:00 p.m.

2700 Via Fortuna, Suite 225

Austin, TX 78746

Room 206

Conference Call Information

Dial-in Number: 866-469-3239| Conference Code: 354 797 986

WebEx Information: UFLS123Go!!

| Name | Company | Present | Called- In |
| --- | --- | --- | --- |
| Brian Bartos (Chair) | Bandera Coop | X |  |
| Randy Jones (Vice Chair) | Calpine |  | X |
| Steve Myers | ERCOT | X |  |
| Sergio Garza | LCRA | X |  |
| Barry Kremling | GVEC | X |  |
| Dennis Kunkel | AEP |  | X |
| Ken McIntyre | ERCOT |  | X |
| Eddy Reece | Rayburn Country |  | X |
| Raborn Reader | EPCO |  | X |
| Matt Pawlowski | NEXTera |  | X |
| Randa Stephenson | Luminant | X |  |
| Leo Haas | CenterPoint |  | X |
| Judith James | Texas RE | X |  |
| Sarah Hensley | Texas RE | X |  |
| Jagan Mandavilli | Texas RE | X |  |

Judith welcomed the team and reviewed the antitrust admonition and Guy Zito’s (NPCC) compilation of regions’ UFLS standards.

Steve Myers – feedback based on the first posting of the NERC UFLS standard was that if they went through with emphasis on regions developing regional standards, FERC would likely not approve it.  The current effort is to go with national standard.

Brian Bartos – NERC team currently has draft of PRC-006-1 posted for comment, 30-day period since it is the second posting.

The current effort of the regional is to determine if current protocols and operating guides meet the requirements of standard.

The goal of the meeting is to answer the questions posted for comment and decide whether to respond as a team.

Brian asked if there was any major opposition to current standard and if it’s different from current protocols.

- Steve – there are a few aspects that they will need to watch closely.

- Eddy – people are discussing overfrequency

- Steve – OG’s have section on overfrequency

- Barry – how do we address the overshoot, if relays are locked out for underfrequency they somehow need to be allowed to come back into service

Reviewed national standard:

Major difference is for entities that are DPs or TOs.  Old standard applicability of who owns the relay is gone, now it applies to who owns the load.

Question is what to do with small cities that have less than 25 MW of load and are not registered with NERC.   The Planning Coordinator will have to take these into account and figure out what amount of load that accounts for in ERCOT.

No questions on R3 & 4.

On R5 &6, Randa’s question if the specifications in the requirements are what is currently in Protocols.  Steve said there haven’t been large problems, but should be watched.  There may be some protocols and operating guide revisions as a result of the standard.   The standard drafting team cannot sponsor a PRR or a NOGRR but can provide a recommendation to ROS or another group and an individual or individuals can draft the document on behalf of their company or companies.

Question in R6.4.1, would the word “unit” referring to a wind farm or a single windmill?

- Matt – the definitions are the same as NERC registration criteria, and would 6.4.1 and 6.4.2 just be there to specify who needs to be registered with NERC?  Brian – not sure, but makes sense.  Matt – their wind farms fall under 6.4.2.  Steve – this is a question that would be considered in program, that wouldn’t fall under this standard, possible regional standard, variance or just in protocols.

R6 was written to protect the units.

R8-10:  Discussed database and how they would update it, yearly when questionnaire was sent.  RE would ensure it exists and was updated periodically.  Planning Coordinator can delegate the function.

Regarding questions on standard:

Brian discussed dividing up questions among team members, they will answer ones that interest them and meet back up again via conference call.

Assignments on questions:

1 – Sergio

2 – Dennis

3 – Randy

4 – Eddy (Steve – doesn’t believe we have automatic load restoration in ERCOT)

5 – Ken

6 – Matt

7 – Brian/team – if they know of any conflicts

8 – Brian/team

The team will use the unofficial comment form in Word to send draft comment to Judith, who will compile and send them around.

Comments are due to NERC on the 21st at 7pm.  Team will send drafts to Judith by 5 p.m. on May 15th.  Judith will compile into one form and return to the group b the morning of the 18th.  Texas RE will schedule conf call for the afternoon of 20th (no earlier than 2:30 p.m.).  Brian will file with NERC by 7 p.m. on the 21st.

The team ate lunch and adjourned at 1 PM.