OWG Meeting Notes 4/23/09

Attendance:

Jack Thormahlen – LCRA QSE		Stacy Bridges - ERCOT

Rick Keetch – Reliant QSE			Colleen Frosch - ERCOT

Wayne Bolton – Brazos QSE			John Blackwell – AE TDSP

Kent Grammer – Texas RE			Frank Owens – TMPA TO

Jerry Willms – LCRA TO			Brent Torgrimson – Texas RE

Laura Zotter – ERCOT			Larry Parr – CPS TO (Phone)

Brad Calhoun – CNP TSP                              Dennis Sauriol – AEP TO (Phone)

Steve Zaragoza – GP&L TO			Ebby John – CNP TSP (Phone)

Jerry Ward – Luminant QSE			Walter Reid – Wind Collation

Ross Owen – Oncor TO (phone)		Naga Kota – ERCOT

Richard Howard – ERCOT (phone)		Steve McNeil – CNP TO (Phone)

9:30 Meeting opened with Antitrust Admonition by Jack Thormahlen.

- Meeting scheduled on 5/1/09 to discuss NOGRR 025.

- ROS meeting notes reviewed (Jack Thormahlen).

  - NOGRR024 & OGRR 216 were rejected by ROS

  - SCR 753 passed

  - LaaR study should be complete in May

  - TAC requested transparency with Congestion Report

  - ROS Chair directed OGRTF to be combined with OWG since no one volunteered for the leadership roles.

- March meeting notes have been approved. Meeting Notes for April 13th special OWG meeting will be sent out.

- Operations Guides and Nodal Operating Guides Review

  - OGRR 222: Stacy Brides and Richard Howard were available to answer questions on this OGRR.  OWG approved with some changes to correct typos, “Remote thermal to Remote terminal” in Section 8 in operating guides.

  - OGRR 218: OWG made some changes to section 1.8.2 System operator training requirements. With OWG comments, it will now go to ROS.

  - OGRR Draft (Generator response time): Walter Reid asked to put in the dates for compliance. OWG is going to sponsor this to be an OGRR.  Walter will draft the NOGRR.

  - OGRR 217: OWG agrees to have more characters in the relay misoperation report unless SPWG comes out with a suggestion to revise the narrative section beyond 250 characters.

  - OGRR 165: OWG approves or endorses the withdrawal and this will be sent to ROS.

  - NOGRR 025: NDSWG had three items assigned to them. OWG agrees that item 4 should be on the plate of QMWG. The spreadsheet is consolidated on May 1st workshop. OWG is going to wait till the spreadsheet gets consolidated in the next workshop.

- Operations Task Force Report – Nothing to report.

- Black Start Task Force Report – Nothing to report.

- March Operations Report (Naga Kota)

- System Operations Report (Colleen Frosch)

- Texas RE Update (Brent)

  - TRE is holding a workshop on May 6th.

  - TRE has started watching the operator logs for SPS activations

  - OWG needs a clarification on how a generator can monitor a transmission element loading when they can’t see transmission system on OGRR 224 (Jack).  Frosch took action item to talk to Dumas

- OWG Scope:

  - Scope was reviewed and a couple of changes were made. It is going to be sent to OWG for one last look and then to ROS.

- Next OWG meeting scheduled for 5/20/09.