217OGRR Relay Misoperation Report Format Change.

This Operating Guide Revision Request (OGRR) changes the format for reporting yearly relay misoperations from a report format to a data format.

[SPWG]OWG consideration of OGRR. (This OGRR has been tabled until the narrative field is expanded to accommodate more characters)OWG Recommendation/Action Report will be posted based on decision.

025NOGRR Monitoring Programs for QSEs, TSPs, and ERCOT.

This Nodal Operating Guide Revision Request (NOGRR) adds Section 9 to incorporate metrics to be monitored and reported on for Qualified Scheduling Entities (QSEs), Resources, Transmission Service Providers (TSPs), and ERCOT by ERCOT. [ERCOT]

OWG language consideration OWG Recommendation/Action Report will be posted based on decision.

223OGRR Real Time Production Potential.

This Operating Guide Revision Request (OGRR) establishes a requirement for Wind-powered Generation Resources (WGRs) to telemeter a Real Time signal indicating the Real Time Production Potential (RTPP) which will be a function of wind and turbine availability at the time. [Wind Coalition]OWG language consideration

OWG Recommendation/Action Report will be posted based on decision.

224OGRR Special Protection System (SPS) Operations Under No

Contingency.

This Operating Guide Revision Request (OGRR) adds additional monitoring and control requirements for Special Protection Systems (SPSs) that involve generation reduction. [ERCOT] OWG language consideration OWG recommendation/Action Report will be posted based on decision.

227OGRR Administrative Changes for June 1, 2009 Operating Guides.

This Administrative Operating Guide Revision Request (OGRR) updates the ERCOT Load Shed Table for 2009. [ERCOT]Courtesy stop at OWG.  This OGRR will take effect June 1 if no comments are received Effective June 1

228OGRR Administrative Changes for June 1, 2009 Operating Guides.

This Administrative Operating Guide Revision Request (OGRR)…Courtesy stop at OWG.  This OGRR will take effect June 1 if no comments are received Effective June 1