| PRR Number | 812 | PRR Title | Wind Generator Forecast for Scheduling Metric |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | May 21, 2009 |  |  |
| Protocol Sections Requiring Revision |  | 2.1, Definitions 2.2, Acronyms 4.5.1, Receipt of Adjustment Period Schedule Changes 4.5.10, Updated Resource Plans 4.5.12, Scheduling Requirements for a WGR-only QSE (New) |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) adds a requirement for Wind-powered Generation Resources (WGRs) to update Resource Plans and schedules every hour using the ERCOT provided most likely Short-Term Wind Power Forecast (STWPF) as the standard for accuracy. [Note - It is expected that AWS Truewind will be providing a forecast adjusted for turbine availability as a result of other pending Protocol changes.] |  |  |
| Overall Market Benefit |  | More predictable results for deployment and more accurate settlement calculations. |  |  |
| Overall Market Impact |  | Improved deployment efficiency. |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 4/24/09, PRR812 was posted. - On 5/19/09, WMS comments were posted. - On 5/21/09, PRS considered PRR812. |  |  |
| PRS Decision |  | On 5/21/09, the motion to reject PRR812 failed via roll call vote. On 5/21/09, PRS voted to recommend approval of PRR812 as amended by WMS comments via roll call vote. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 5/21/09, the submitter of PRR812 explained that the intent of the PRR is to require WGRs to update their forecasts every hour, and to provide assurance that if a WGR’s forecasting performance is inferior to AWS Truewind’s, it must use the AWS Truewind forecast, which is anticipated to improve in accuracy over time. Participants debated whether PRR812 represents a meaningful performance metric and whether the PRR responds to the ERCOT Board’s desire for the development of performance metrics for wind power. The submitter explained further that the motivation behind PRR812 is to improve the ability of operators to manage the variability of wind power, and that ERCOT Operations Staff has participated in meetings where this PRR was discussed and expressed support for it. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Some software cost for some Qualified Scheduling Entities (QSEs). | Less than $100,000 per QSE. |
|  | 2 |  | Useful for zonal market only. |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Possibly more efficient Congestion management. | Minimal. |
|  | 2 | More consistent settlement. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Less uncertainty for ERCOT operations. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | No ERCOT software or procedure changes. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 051909 | Proposed clarifying revisions as recommended by the QSE Managers Working Group (QMWG). |

| Original Sponsor |  |
| --- | --- |
| Name | Walter Reid |
| Company | Wind Coalition |
| Market Segment | Not applicable |

Proposed Protocol Language Revision

2.1	Definitions

Short-Term Wind Power Forecast (STWPF)

An ERCOT produced, hourly, fifty percent (50%) probability of exceedance forecast of the generation in MWh per hour from each WGR that could be generated from all available units of that Resource.

2.2	Acronyms

STWPF			Short-Term Wind Power Forecast

4.5.1	Receipt of Adjustment Period Schedule Changes

During the Adjustment Period (AP), Qualified Scheduling Entities (QSEs) that are not Wind-powered Generation Resource (WGR)-only QSEs may submit or change their energy schedules, and Ancillary Service (AS) schedules.  WGR-only QSEs shall update their schedules every hour to correspond with their updated Resource Plans.  Also during the Adjustment Period, QSEs may submit, change, or remove, Balancing Energy bids, or Replacement Reserve Service (RPRS) bids.  Although a QSE is permitted to change an Ancillary Service schedule, it is not allowed to change the quantity of Ancillary Services awarded through the ERCOT procurement process.  The QSE also may not change the amount of Self-Arranged AS from Day Ahead; however, the Resources supplying the Self-Arranged AS may be altered.  If ERCOT calls on additional AS in the AP, the allocated portion of their additional AS may be Self-Arranged.

4.5.10	Updated Resource Plans

QSEs shall update their Resource Plans to ERCOT to reflect Resource status changes.  QSEs representing only WGRs shall update their Resource Plans each hour using their best forecast of WGR output as specified in Protocol Section 4.5.12, Scheduling Requirements for a WGR-only QSE.

4.5.12	Scheduling Requirements for a WGR-only QSE

A WGR only QSE shall update each WGR’s Resource Plans and schedules each hour using their best forecast or the Short-Term Wind Power Forecast (STWPF) provided by ERCOT except as required by Section 4.4.15 QSE Resource Plans.  The updated Resource Plan shall not change or update the very first hour of the Operating Period immediately following the time of the update.  ERCOT shall compare the actual average hourly WGR generation with the forecasted output for the Operating Hour of the Operating Period immediately following the time when the Resource Plan was updated.  ERCOT shall use the last STWPF forecast that was available before the close of the Adjustment Period for the calculation of each hourly forecast error.  A forecast error percentage shall be calculated using the WGR’s maximum rated output as the base for each hour that the WGR does not have a unit specific curtailment.  If the WGR-only QSE has received a DBES instruction, then all WGRs in the portfolio will be excluded from the error percentage calculation for that hour.  If, for two (2) consecutive months, the WGR’s monthly root mean square error of the forecasts for the hour specified above is greater than the monthly root mean square error for the STWPF for that same hour, the QSE will be required to use the STWPF adjusted for turbine outages when updating the Resource Plan, unless at some later date ERCOT approves the use of an alternative forecast.