- Changing an IDR meter to an AMS meter limited to those premises that are not required to have an IDR by ERCOT Protocols

  - Options

    - TDSP treats the premise like an IDR meter with no applicable AMS benefits

      - maintains the “BUSIDRRQ” profile type

      - all transactions follow the IDR route  (i.e. fifteen minute interval usage submitted via 867)

      - No applicable AMS features available

      - Are there TDSP rate and tariff issues?

      - Does this impose any system changes (TDSP, REP, ERCOT)?

    - TDSP treats the premise like an AMS meter

      - profile type changes from “BUSIDRRQ” to profile type consistent with the MARS Task Force determination of profile types for AMS meters

      - All transactions follow the AMS route  (i.e. fifteen minute interval usage submitted via flat file and monthly summary received via 867)

      - All applicable AMS features available

      - Are there TDSP rate and tariff issues?

      - Does this impose any system changes (TDSP, REP, ERCOT)?

    - TDSP treats the premise like an IDR meter with applicable AMS benefits

      - maintains the “BUSIDRRQ” profile type

      - all transactions follow the IDR route (i.e. fifteen minute interval usage submitted via 867)

      - REP gets information on the AMS features and use of the HAN features and daily data postings, etc…

      - Are there TDSP rate and tariff issues?

      - Does this impose any system changes (TDSP, REP, ERCOT)?

- REP should coordinate communications for all customers before any changes from IDR meters to AMS meters will occur

Note: A change in color in the table indicates a change in company.  Responses were received from 4 REPs, 2 TDSPs, ERCOT, & 1 Competitive Meter Owner.

| Change IDR to AMS – Treat as an IDR (no applicable AMS benefits) - maintains the “BUSIDRRQ” profile type - all transactions follow the IDR route (i.e. fifteen minute interval usage submitted via 867) - No applicable AMS features available |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Competitive Meter Owner | ERCOT | REP | TDSP |
| Are there TDSP rate & tariff issues? | No response | No response | No If IDR meter is to be replaced with an AMS meter and read through the TDSP’s AMS network, charges associated with phone lines and remote reads should be eliminated and AMS charge applied. All will be pass through charges AMS surcharge issue. | Remove $7 Continue 4CP Yes, AMS surcharge not applied to current IDR customers |
| Does this impose any system changes for REPs, TDSPs, and ERCOT? | No response | No changes for ERCOT systems. Treated as IDR required | We do not have any IDR meters, only one customer with ERCOT Polled Settlement (EPS) Meter. None known. Not if interval data is still available via 867. No | System changes to redirect the flow of IDR data & create an 867 Yes IDR customers billed from a different system not linked to AMS |
| What type of impact on the profile type? | No response | no impacts - maintains the “BUSIDRRQ” profile type | Not Applicable. Keep as is….. BUSIDRRQ ? None, these customers are already settled as IDR | None no |
| What are the benefits to the REPs, TDSPs and the customer? | No response | No response | No benefits, we already have a “Smart” system that uses Automated Governor Control, (AGC) that buys and sells based on MCPE from ERCOT using EPS meter. Interval data comes on the 867 transaction. Tightens time window from reading to invoice. Benefits do not change, only the collection mechanism. | No impact none |
| Is the change a REP, TDSP or a Customer’s choice? | No response | No response | No change desired by customer. REP. REP may want to obtain customer’s concurrence. This option is our preferred option. This is an ERCOT or TDSP choice. Customer | Customer Customers choice Per ERCOT protocols 18.6.7 |

| Change IDR to AMS – Treat as an AMS Premise - profile type changes from “BUSIDRRQ” to profile type consistent with the MARS Task Force determination of profile types for AMS meters - All transactions follow the AMS route (i.e. fifteen minute interval usage submitted via flat file and monthly summary received via 867) - All applicable AMS features available |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Competitive Meter Owner | ERCOT | REP | TDSP |
| Are there TDSP rate & tariff issues? | No response | No response | No Eliminate customer IDR charge requirements such as phone line, monthly remote fee, etc. However, customer must pay monthly AMS fees. Likely changes rate from IDR to non-IDR, at least in interim. May offer development of new products with new data AMS surcharge issue. | Remove $7 Continue 4CP Yes, AMS surcharge not applied to current IDR customers |
| Does this impose any system changes for REPs, TDSPs, and ERCOT? | No response | Changes to support this solution are consistent with the MARS taskforce requirements identified for AMS and being implemented in the Interim Solution – With implementation of the Interim Solution, no other ERCOT system changes would be required. Note: Any ESI ID treated in this manner would no longer be included on the IDR required report. | We do not have any IDR meters, only one customer with ERCOT Polled Settlement (EPS) Meter. REPs will likely have to change the method for obtaining interval data for customers on time-based rates or products resulting in likely REP system changes. Not if interval data is still available via 867 Yes | Possibly larger number of ESI IDs to be used to calculate 4CP No current process if customer falls below threshold and requests Non-IDR meter |
| What type of impact on the profile type? | No response | Profile type changes consistent with the MARS task force recommendations for AMS meters would need to be applied. | Not Applicable Must change to the AMS profile type. ? None, these customers are already settled as IDR | From BUSIDRRQ to BUSMEDLF Changes from BUSIDRRQ |
| What are the benefits to the REPs, TDSPs and the customer? | No response | No response | No benefit! We already have a “Smart” system that uses Automated Governor Control, (AGC) that buys and sells based on MCPE from ERCOT using EPS meter. REPS and customers gain HAN capabilities, which is of unknown benefit to these type customers at this time. TDSPs gain automatic outage notification. REPs may gain remote disconnect and reconnect capabilities for self contained meter customers. Tightens time window from read to invoice No benefit to REP. Systems will need to be changed to accept interval data. | No impact No system changes |
| Is the change a REP, TDSP or a Customer’s choice? | No response | No response | No change desired by customer. REP. REP may want to obtain customer’s concurrence. We do not prefer this option. ERCOT or TDSP choice Customer | Customer Customers choice Per ERCOT protocols 18.6.7 |

| Change IDR to AMS – Treat as an IDR (with applicable AMS benefits) - maintains the “BUSIDRRQ” profile type - all transactions follow the IDR route (i.e. fifteen minute interval usage submitted via 867) - REP gets information on the AMS features and use of the HAN features and daily data postings, etc… |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Competitive Meter Owner | ERCOT | REP | TDSP |
| Are there TDSP rate & tariff issues? | Yes, Texas Utility Solutions has a pending issue before the Public Utility Commission of Texas directly related and effected by any ERCOT changes in IDR required meters | No response | No Charges associated with phone lines and remote reads should be eliminated and AMS charge applied May offer development of new products with new data AMS surcharge issue. | Remove $7 Continue 4CP Yes, AMS surcharge not applied to current IDR customers |
| Does this impose any system changes for REPs, TDSPs, and ERCOT? | Possibly, a TDSP may as it relates to Competitive meter owners, bill or invoice a Competitive meter owner directly for Wholesale Transmission Service and in turn the Competitive meter owner may bill or invoice the REP for delivery charges. This matter has not yet been resolved but should be considered as part of system changes. | ERCOT system changes to identify an IDR required profile type as an AMS meter would be required. | We do not have any IDR meters, only one customer with ERCOT Polled Settlement (EPS) Meter. Possibly. Not if interval data is still available via 867 Yes | System changes to redirect the flow of IDR data & create an 867 Yes IDR customers billed from a different system not linked to AMS |
| What type of impact on the profile type? | No response | Potential impacts depending on the defined requirements. | Not Applicable Keep as is….. BUSIDRRQ ? None, these customers are already settled as IDR | None None |
| What are the benefits to the REPs, TDSPs and the customer? | No response | No response | No benefit! We already have a “Smart” system that uses Automated Governor Control, (AGC) that buys and sells based on MCPE from ERCOT using EPS meter. REPs still receive interval data via the 867 transaction. REPS and customers gain HAN capabilities, which is of unknown benefit to these type customers at this time. TDSPs gain automatic outage notification. REPs may gain remote disconnect and reconnect capabilities for self contained meter customers. Tightens time window from reading to invoice. No benefit to REP. Systems will need to be changed to accept interval data. | No impact None |
| Is the change a REP, TDSP or a Customer’s choice? | No response | No response | No change desired by customer. REP. REP may want to obtain customer’s concurrence. This would be our second preference. ERCOT or TDSP choice REP, Customer | Customer Customers choice Per ERCOT protocols 18.6.7 |