## Slide 1: PRR 776 Implementation Update
June 4, 2009
TAC
John Dumas

## Slide 2: Pricing Impact
During same period last year - 5/22/08 through 6/1/2008
  The average price was $59.86. If 5/30/08 is removed this value becomes $8.39.
  The total dollars spent from 5/22/2008 through 6/1/2008 is $9,564,412.28. Removing 5/30/2008, this becomes $1,226,209.48.
During 5/22/09 through 6/1/2009
  The average price was $2.25.
  The total dollars spent from 5/22/2009 through 6/1/2009 is $775,418.85. This will include one more day of spending when compared to the $1,226,209.48 above.
TAC
June 4, 2009

## Slide 3: NSRS Available
The average percent of the NSRS Requirement from Quick Start units & Virtual units – 34.64%
There are two virtual units who have a total capability of 70 MW
The percent of NSRS requirement that is provided from BESCNSRS appears to be increasing
Have had intervals during which Quick Start units providing BESCNSRS were struck in Balancing and thus increased online reserves
No 30 minute Non-Spin deployments have occurred since implementation.
TAC
June 4, 2009