## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
June 4, 2009

## Slide 2: PRS Summary
6 PRRs for Approval
5 NPRRs for Approval
0 Withdrawal Notices
Current Discussions
  Status of Post-”Go-Live” NPRRs (this is at the Board level)
  Other Binding Documents

## Slide 3: Revision Requests Unanimously Recommended for Approval with No Impacts

## Slide 4: PRR 801 – Manual TCR Adjustments
Purpose (ERCOT) | Revises Section 7.5.3.1, Annual and Monthly Auction Summary, to provide a description of the process used by ERCOT to achieve revenue neutrality in the monthly TCR auction. | 
Benefit | Reduce impact to Balancing Energy Neutrality Adjustment (BENA) and reduce amount of oversold TCRs. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | August 1, 2009 | 
Notes: WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.

## Slide 5: PRR 801 – Manual TCR Adjustments
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 6: PRR 806– Re-Registration of Market Participant due to Mass Transition ESI IDs
Purpose (Texas SET) | Requires re-registration as a Market Participant if they transfer Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another using the Mass Transition process. | 
Benefit | Supports the interim solution for facilitating the transfer of ESI IDs from one CR to another using the Mass Transition process. | 
Market Impact | Any Market Participant utilizing the Mass Transition process will be required to re-register with ERCOT. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | August 1, 2009 | 

## Slide 7: PRR 806– Re-Registration of Market Participant due to Mass Transition ESI IDs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 8: PRR 808 – Clean-Up and Alignment of RECs Trading Program Language with PUCT Rules
Purpose (ERCOT) | Aligns Protocol language with PUCT Substantive Rules and updates Renewable Energy Credit (REC) Trading Program language throughout the Protocols. | 
Benefit | Increased clarity and accuracy of the Protocols. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | August 1, 2009 | 

## Slide 9: PRR 808 – Clean-Up and Alignment of RECs Trading Program Language with PUCT Rules
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 10: PRR 809 – OOMC Startup Costs Clarification and Modification - URGENT
Purpose (ERCOT) | Modifies Section 6.8.2.2 to explicitly state the criteria currently used to determine eligibility for Out of Merit Capacity (OOMC) startup costs, as well as clawback of startup costs and also incorporates ‘max zero’ logic into the settlement formula that calculates the price for the startup costs | 
Benefit | Provides clarity of the settlement rules, and a reduction of settlement and billing disputes. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | July 1, 2009 | 

## Slide 11: PRR 809 – OOMC Startup Costs Clarification and Modification - URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 12: NPRR 141 – TSP Energy Storage for Reliability (formerly TSP and/or DSP Energy Storage for Reliability)
Purpose (ERCOT) | Clarifies that metering of energy flows from TSP owned battery storage technology is not required for Settlement. This is limited to the Presidio substation Facilities. | 
Benefit | Provides additional technology to address reliability needs. Provides near-term solutions to support Loads, while permanent solutions can be put in place. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 
Notes: On 5/21/09, PRS unanimously voted to grant PRR809 Urgent status. PRS then unanimously voted to endorse and forward the PRS Recommendation Report, as amended by ERCOT comments and as revised by PRS, and Impact Analysis for PRR809 to TAC.
Topaz has comments to discuss here at TAC

## Slide 13: NPRR 141 – TSP Energy Storage for Reliability (formerly TSP and/or DSP Energy Storage for Reliability)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 14: NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Purpose (Texas SET) | Will allow Market Participants to see the POLR Customer class and the AMS meter flag when querying Electric Service Identifiers (ESI IDs) through the look-up function on the MIS. | 
Benefit | Market Participants will be able to identify the POLR Customer class of an ESI ID as well as whether or not the meter is an AMS meter. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 15: NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 16: NPRR 172 – Synchronization of Section 15 with PRR782, Clean-Up and Corrections to Terminology and Transaction Timings in Protocol Section 15, Customer Registration
Purpose (Texas SET) | Corrects and clarifies the transaction timing descriptions to make them consistent with current processes outlined in Section 15 of the Zonal Protocols | 
Benefit | Clarifies market processes. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 17: NPRR 172 – Synchronization of Section 15 with PRR782, Clean-Up and Corrections to Terminology and Transaction Timings in Protocol Section 15, Customer Registration
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 18: Revision Requests Not Unanimously Recommended for Approval with No Impacts

## Slide 19: NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
Purpose (Texas SET) | Requires re-registration as a Market Participant if they transfer Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another using the Mass Transition process. | 
Benefit | Supports the interim solution for facilitating the transfer of ESI IDs from one CR to another using the Mass Transition process. | 
Market Impact | Any Market Participant utilizing the Mass Transition process will be required to re-register with ERCOT. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with one abstention from the Independent Generators; all Market Segments were present | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 20: NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 21: NPRR173 – Reduce the Minimum Quantity for Ancillary Service Offers
Purpose (DSWG) | Allows Loads acting as Resources (LaaRs) with less than one MW that currently participate in the zonal Ancillary Service market to participate in the Nodal Ancillary Service market. | 
Benefit | Increased participation in the Ancillary Service markets | 
Market Impact | Potentially lowers overall prices for Ancillary Services | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with one abstention from the Independent Generators; all Market Segments were present | 
CEO Determination | No Opinion on need for go-live | 

## Slide 22: NPRR173 – Reduce the Minimum Quantity for Ancillary Service Offers
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 23: Revision Requests Unanimously Recommended for Approval with Impacts

## Slide 24: PRR 807 – Clarify Definition of Messaging System
Purpose (ERCOT) | Revises the definition of “Messaging System” to include a process that makes Real Time messages available to “bidding Qualified Scheduling Entities (QSEs)” without Resources. | 
Benefit | QSEs that do not represent Resources and are qualified to submit Balancing Energy Service market bids as bidding QSEs in accordance with Section 6.5.2.1, Balancing Energy Service Bids from Bilateral Contracts, will have access to the Real Time awards generated by the Market Operating System (MOS). | 
Market Impact | N/A | 
System Change | Minor | No Project Necessary – Market Operating System and Market User Interface
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | Upon System Implementation | 
Notes: ERCOT discovered that the current Market Operating System (MOS) and support web interface does not provide Real Time messaging to a QSE qualified as a “bidding QSE” that does not represent Resources. Under Section 6.5.2.1, Balancing Energy Service Bids from Bilateral Contracts, the bidding QSE and deploying QSE are to receive the Balancing Energy Service awards. ERCOT system transmits awards to bidding QSEs if the QSE represents Resources. However, to make it possible for a bidding QSE that does not represent Resources to receive the Notices in Real Time, an Extensible Markup Language (XML) query would need to be made available to the bidding QSE.

## Slide 25: PRR 807 – Clarify Definition of Messaging System
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending
Market Operating System and Market User Interface
Minor impact managed under O&M

## Slide 26: Revision Requests Not Unanimously Recommended for Approval with Impacts

## Slide 27: PRR 805 – Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Purpose (Texas SET) | This PRR will allow Market Participants (MPs) to see the POLR Customer class and the AMS meter flag when querying Electric Service Identifiers (ESI IDs) through the look-up function on the MIS. | 
Benefit | Market Participants will be able to identify the POLR Customer class of an ESI ID as well as whether or not the meter is an AMS meter. | 
Market Impact | N/A | 
System Change | Yes | Project Required - Expected delivery Q1 or Q2 of 2010
Assumptions | N/A | 
PRS Vote | PRS recommended approval with one abstention from the IPM; PRS unanimously voted to recommend a project priority of 2-High and a ranking of 32. All Market Segments were present for both votes. | 
Effective Date | Upon System Implementation | 

## Slide 28: PRR 805 – Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$50 -$100 K
Credit Review is Pending
Texas Market Link, Information Services Master, TIBCO, Retail Application Programmatic Interface
Resource availability currently being reviewed.

## Slide 29: PRR/NPRR Summary
Revision Requests Unanimously Recommended for Approval with No Impacts
PRR 801 – Manual TCR Adjustments
PRR 806– Re-Registration of Market Participant due to Mass Transition ESI IDs
PRR 808 – Clean-Up and Alignment of RECs Trading Program Language with PUCT Rules
PRR 809 – OOMC Startup Costs Clarification and Modification - URGENT
NPRR 141 – TSP Energy Storage for Reliability (formerly TSP and/or DSP Energy Storage for Reliability)
NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
NPRR 172 – Synchronization of Section 15 with PRR782, Clean-Up and Corrections to Terminology and Transaction Timings in Protocol Section 15, Customer Registration
Revision Requests Not Unanimously Recommended for Approval with No Impacts
NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
NPRR173 – Reduce the Minimum Quantity for Ancillary Service Offers
Revision Requests Unanimously Recommended for Approval with Impacts
PRR 807 – Clarify Definition of Messaging System
Revision Requests Not Unanimously Recommended for Approval with Impacts
PRR 805 – Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS

## Slide 30: Withdrawals
None this month

## Slide 31: PRS Discussion Update
Status of Post-“Go-Live” NPRRs
  Parking Deck discussion is at the Board Level now.
Meeting to discuss “Other Binding Documents”
  Meeting scheduled for June 3 to discuss the long list of documents referenced in the nodal Protocols, how to add to list, how to remove, who maintains? Etc.