- Summary of Operating Guide Revisions

- Effective:  June 8, 2009

- Section 2:

OGRR222 – Allow Frequency Control Data Through ICCP Infrastructure

This Operating Guide Revision Request (OGRR) revises the required communication technology for Qualified Scheduling Entity (QSE) frequency control data from Remote Terminal Unit (RTU)-only to RTU or Inter-Control Center Communications Protocol (ICCP) for current QSEs and requires that an ICCP interface must be established for all new interconnections.  This OGRR also makes non-substantive administrative changes, such as correcting acronym and defined term usage.

Revised Subsection: 2.3.2

- Section 8:

OGRR222 – Allow Frequency Control Data Through ICCP Infrastructure

See Section 2 above.

Revised Subsections: 8.1, 8.1.1, 8.1.6.1, Attachment 8A