## Slide 1: UFE 2008 ANALYSIS
PROTOCOL REQUIREMENT
11.6.2 Annual UFE Analysis Report
Compiled by the Load Profiling Group
ERCOT Energy Analysis & Aggregation
April 30, 2009

## Slide 2: UFE Basics
Sources of UFE include:
■ Generation Measurement Errors
■ Load - Missing/Erroneous Usage Data
- Model Error
- Load Profile ID Assignment Error
■ Losses - Model Error
- Loss Code Assignment Error
Negative UFE indicates load/losses are overestimated
UFE (unaccounted for energy) is computed as follows: UFE = Generation – (Load + Losses)

## Slide 3: UFE Basics
Net Generation for Settlement Interval
Interval Data
Energy Usage
Profiled Energy Usage
Non-Interval Data
Non-Metered Accounts
Losses:
Transmission & Distribution
UFE
GAP - - - - - - >
Net Generation
Compared to
Load Buildup

## Slide 4: SETTLEMENT PROCESS
UFE is computed for each 15-minute interval of a settlement run.
Initial
Final
Settlement
True-Up
Initial Settlement (10 days after the trade day)
Final Settlement (59 days after the trade day)
True-up and Resettlement (6 months to up to several years after the trade day.)
The latest resettlement in each interval is used in the analysis for Initial, Final and True-Up.

## Slide 5
LOAD AND UFE – ERCOT PEAK 2008 Based on Initial Settlement

## Slide 6
LOAD AND UFE – ERCOT PEAK 2008 Based on Final Settlement

## Slide 7: UFE MWh by Month Initial Settlement

## Slide 8: UFE Cost by Month Initial Settlement
UFE Cost = ∑(MCPE × UFE_MWh)

## Slide 9: UFE MWh by Month Final Settlement

## Slide 10: UFE Cost by Month Final Settlement
UFE Cost = ∑(MCPE × UFE_MWh)

## Slide 11: STATISTICAL RESULTS

## Slide 12: STATISTICAL RESULTS

## Slide 13: STATISTICAL RESULTS

## Slide 14: 2008 - 10 Worst UFE Days Final Settlement

## Slide 15: Questions?