NOIE DRG Settlements Task Force Discussion Notes

June 1, 2009

- Reviewed specific examples provided in the presentation.

- Example 3 (exemption from reporting) received a lot of endorsement from the NOIE’s present at the meeting as the preferred option.

- Example 1 (registered as generation) received some endorsement.  There was some discussion on raising the 50kW exemption currently in Protocols 10.2.2(2)(b) for the TDSP providing meter data to ERCOT.

- ERCOT currently believes that there is a requirement to include generation reported by the TDSP under Protocols section 10.2.2(2)(b) in wholesale settlements.  This will be reviewed with ERCOT legal.

- There was some discussion that the recommendation of the task force needs to be consistent with what will occur in nodal.  If nodal Protocols have more clarity around this issue then zonal Protocols should be consistent.

- There was some discussion that the decision for NOIE areas should be consistent with the requirements in the competitive areas.  It was pointed out that there are a lot of rules that are different in Protocols between NOIE and competitive areas.

- The task force recommendation should not impact reliability or create a bias for wholesale settlements.

- Example 2 (treat as “load inflow”) did not receive any support during the discussions.

- Task force recommendation needs to be clearly supported by Protocols or Guides.  If this requires a language change then the task force will provide recommendations for this change.

- What is the count of distributed generation sites that are greater than and equal to 50kW and less than 1 MW where ERCOT is receiving data?

- What is the count of distributed generation sites that are greater than 1 MW and less than 2 MW where ERCOT is receiving data?

Meeting attendees:

| Name | Company | Name (on phone) | Company |
| --- | --- | --- | --- |
| Don Tucker | ERCOT | Kelly Robinson | CPS Energy |
| Harika Basarch | Austin Energy | Eric Goff | Reliant |
| Calvin Opheim | ERCOT | Jack Brown | Garland |
| Jim Lee | Direct Energy | Lori Williams | BTU |
| Adrianne Brandt | Austin Energy | Mike Troell | STEC |
| Brent Matson | LCRA | Ed Echols | Oncor |
| Ken Riordon | LCRA | Daryl Nelson | Oncor |
| Eddie Johnson | Brazos | Lee Star | BTU |