## Slide 1: Retail Metering Working Group Progress Report 05/10/09

## Slide 2: Contents of Report
Reviewed CMGRR 009
Discussed OGRR 0219
Discussed the Process
for Changing IDR to AMS
Discussed the Process for Performing VEE for AMS

## Slide 3: Reviewed CMGRR 009
RMWG Reached
Consensus on
Revision Language
ERCOT to Perform
Impact Analysis
RMWG to Review at
Next Meeting

## Slide 4: Discussed OGRR 0219
  NERC Pilot Study still being Defined
  ERCOT Working with NERC to Define
  this Study so not to allow a Time
  Drift that will cause TDSP Meters
  to Drift Outside of Protocols
  Current Thoughts are that the
  Pilot could be Multiple Stages:
    Stage 1: allow Time to Drift for 10
    Seconds and then Perform Time Correction
    Stage 2: allow Time to Drift for 20 Seconds
    and then Perform Time Correction
  ERCOT to bring Proposed Pilot back to the Market before Stopping Time Correction
  ERCOT to return to Performing Time Correction after Pilot

## Slide 5: Discussed the Possibility of Changing IDR to AMS
Discussed Three Broad Possibilities
  Change IDR to AMS – Treat as IDR (without AMS features)
  Change IDR to AMS – Treat as AMS
  Change IDR to AMS – Treat as IDR (with AMS features)
Reviewed Market Feedback for the Following Questions for each Possibility
  Are there TDSP rate & tariff issues?
  Does this impose any system changes for REPs, TDSPs, and ERCOT?
  What type of impact on the profile type?
  What are the benefits to the REPs, TDSPs and the customer?
  Is the change a REP, TDSP or a Customer’s choice?
  Note: Focus limited to ESI IDs not required to have an IDR by ERCOT

## Slide 6: RMWG Recommendation for Changing IDR to AMS
  RMWG reached consensus
  Customer’s Choice
  Options
    Leave as is IDR
      TDSPs choice to change to AMS but must treat as IDR (without AMS features)
    Change to AMS
  Note: Focus limited to ESI IDs not required to have an IDR by ERCOT

## Slide 7: RMWG Recommendation for Changing IDR to AMS (Cont.)
  Open Questions
  Timing for Response for
  Customer Feedback from REP
  to TDSP needs to be Determined
  Protocols & Guides need to be Reviewed for Potential Changes
  How should the AMS Surcharge be Applied
  Note: Focus limited to ESI IDs not required to have an IDR by ERCOT

## Slide 8: RMWG Recommendation for Changing IDR to AMS (Cont.)
  REP IDR Contact List
  For IDR customers,
  REPs look at the most
  recent 12 months to
  identify those customers
  that have never exceeded 700 kW
Follow Up: ERCOT to provide information on the total number of IDR customers below the 700 kW threshold by TDSP

## Slide 9: Request Direction
Should RMWG continue to develop the process for Changing IDR to AMS?
Note: Focus limited to ESI IDs not required to have an IDR by ERCOT

## Slide 10: VEE for AMS
Meter Data Flow
Uniform Business
Practices (UBP) are
the basis for AMS VEE
Meter Data Management Systems
Data Quality Assurance
    Validation Rules
    Editing Rules
    Estimation Rules

## Slide 11: VEE for AMS
AMS VEE will Comply with ERCOT Protocols Section 10.11.3 which references Uniform Business Practices (UBP) as the Minimum Standard
The UBP Standard includes Requirements for VEE of IDR and non-IDR data

## Slide 12: Questions?????