## Slide 1
Texas Regional Entity
ROS Presentation
June 11, 2009
TEXAS RE ROS PRESENTATION JUNE 2009
Notes: Texas RE Board Report
<number>

## Slide 2: Topics
LSE Registration
Upcoming Self Certification Schedule
Nodal Metrics
PRR & OGRR update
Texas RE ROS Presentation June 2009

## Slide 3: NERC LSE Registration Update
Stakeholders from the Load Serving Entity Registration Working Group (LSERWG) made additional comments to incorporate into the NERC LSE JRO Matrix and proposed Agreement
Texas RE staff provided two proposed revised versions of NERC LSE JRO Matrix to LSERWG for review at the June 2nd meeting:
  Option #1: (sought by stakeholders)- Seeks to register an entity as a LSE only if the requirements are not already being performed by another entity (even if the performance is done by an entity in a different functional capacity, such as TO, TP, RC) [Note, this has not previously been permitted by NERC]
  Option #2: Seeks the registration of a responsible entity as LSE for each requirement and sub-requirement (even if the entity already performs the requirement in its capacity as a different registered function)
Texas RE met with stakeholders on June 2nd and will make changes to Agreement content and Matrix, based on stakeholders comments and will send out for review
Texas RE ROS Presentation June 15, 2009

## Slide 4: Self Certification Schedule
Self-Certification Activity by NERC Function Start Due
Generation Owner (GO) and Generation Operator (GOP) June 1 July 1
Critical Infrastructure Protection (CIP) Standards, CIP-002-009
For GO, GOP and Transmission Owner (TO) July 1 August 3
Distribution Provider (DP), Purchasing-Selling Entity(PSE),
Transmission Planner (TP), Load Serving Entity (LSE) and
Transmission Owner (TO) August 3 Sept. 3
Submission will be via the Texas RE Portal
Texas RE ROS Presentation June 2009

## Slide 5: CRITICAL PERFORMANCE METRICS AND CRITERIA FOR THE ERCOT NODAL MARKET
Preliminary measures and criteria to be published on June 3 at http://www.puc.state.tx.us (under Hot Topic Briefs – ERCOT Nodal Metrics Project 37052)
Workshop: Friday, June 12th, at 9:30 a.m. Commissioners’ Hearing Room located on the 7th floor of the William B. Travis Building, 1701 North Congress Avenue, Austin, Texas, 78701.
RSVP with name of entity represented and number of people attending to Isabel Herrera by phone at 512-936-7205 or email Isabel.Herrera@puc.state.tx.us by June 5th.
Texas RE ROS Presentation June 2009

## Slide 6: PRR 787 – SCPS2 Metric & Outage Definitions
PRR 787: Defines enforcement methodology and adds exemptions to the SCPS2 scoring calculation.
Approved by PRS May 21
Next step is PRS IA Review
Texas RE supports PRR 787 with reservations on the new exemptions
Concerns:
Added exemptions for forced de-rating and failure to start up may reduce the effectiveness of the protocol to identify generating units with on-going, repeat reliability concerns. Documenting exemptions may prove to be very time intensive for the market participant. Validating exemptions may prove to be very time intensive for Texas RE.
Texas RE ROS Presentation June 2009

## Slide 7: PRR 796 – Resource Plan Performance Metrics Revision
PRR 796: Allows two (2) hours following a Forced Outage to be excluded from performance calculation.TRE will incorporate 2-hour allowance into current review process.
Approved by TAC May 7
Next stop, Board to vote June 15
Texas RE supports PRR-796 as currently revised before the board
Concerns: None
Texas RE ROS Presentation June 2009

## Slide 8: PRR 811 – Real Time Production Potential
PRR 811: This PRR establishes a requirement for Wind Generation Resources to telemeter a real time signal indicating the real time production potential which will be a function of wind and turbine availability.
Tabled at PRS 5/21 for one month
Texas RE supports PRR 811 with modification to support compliance
Concerns: A metric and criteria that define passing and failing are required as well as the method for monitoring the metric (e.g. exception report, ISO complaint)
Texas RE ROS Presentation June 2009

## Slide 9: PRR 812 – Wind Generator Forecasting for Scheduling Metric
PRR 812: This PRR adds a requirement for wind-powered generation resources to update resource plans and schedules every hour using the ERCOT provided most likely short-term wind power forecast as the standard for accuracy.
Passed PRS 5/12
Next step: PRS impact analysis review
Texas RE supports this protocol with modification to support compliance
Concerns: A metric and criteria that define passing and failing are required as well as the method for monitoring the metric (e.g. exception report, ISO complaint)
Texas RE ROS Presentation June 2009

## Slide 10: OGRR 224 - Special Protection System (SPS) Operations Under No Contingency
OGRR 224: Places an obligation on Resource owners who have an SPS to monitor the flows monitored by the SPS in the base case and reduce output as needed before the arming point of the SPS is reached.
Table 5/20 OWG
Next step: Attempt to create an alternative approach eliminating the need to file a to Texas RE on SPS arming for wind generation
Texas RE supports the proposed alternative
Concern: Texas RE would like the Stakeholders to review the requirement for all SPS’s to have an exit strategy and ensure that exit strategies are present, effective and being pursued.
Texas RE ROS Presentation June 2009

## Slide 11: Texas Regional Entity Compliance Report
Board of Directors
May 19, 2009
Notes: <number>

## Slide 12: April 2009 ERCOT’s CPS1 Monthly Performance
Item 4a - Compliance Report May 19, 2009

## Slide 13: Analysis of CPS1 Monthly Performance
Purpose: To maintain Interconnection steady-state frequency within defined limits by balancing real power demand and supply in real-time
CPS1 is one reliability measure of how well the ERCOT region managed the BPS
ERCOT region’s frequency performance is determined by NERC Control Performance Standard 1 (CPS1)
Seasonal fluctuation is expected
Scores for individual months can be adversely affected by events (such as hurricanes)
A detailed formula can be found in NERC Reliability Standard BAL-001-0a
Item 4a - Compliance Report May 19, 2009

## Slide 14: April 2009 SCPS2 Scores for Non-Wind Only QSEs
Item 4a - Compliance Report May 19, 2009

## Slide 15: April 2009 SCPS2 Scores for Wind Only QSEs
Item 4a - Compliance Report May 19, 2009
Notes: <number>

## Slide 16: Analysis of April 2009 SCPS2 Scores
This is a schedule focused metric
Calculations are Portfolio Based by QSE
A detailed formula can be found in Protocol 6.10.5.3
Item 4a - Compliance Report May 19, 2009

## Slide 17: March 2009 Resource Plan Performance Metrics for Non-Wind Only QSEs
Item 4a - Compliance Report May 19, 2009
Resource Plan Performance Metric | ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | DZ | DK | DE | AP | BY | BC | AY | AM | AR | KB | BR | DF | CI | AD | BJ | BI | CF | ET | DA | DP
Resource Status | - | 100 | 100 | 100 | 100 | 100 | 99 | 99 | 100 | 99 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 99 | 100 | 100
LSL as % of HSL | - | - | 98 | 99 | 100 | 95 | 99 | 100 | 99 | 98 | 99 | 99 | - | 99 | 100 | - | 100 | 100 | 100 | 98
DA Zonal Schedule | 100 | - | 100 | 97 | 100 | 100 | 95 | 100 | 100 | 99 | 100 | 100 | - | 100 | 100 | - | 100 | 100 | 99 | 100
AP Zonal Schedule | - | - | 99 | 99 | 100 | 98 | 91 | 100 | 99 | 99 | 99 | 98 | - | 100 | 100 | - | 99 | 98 | 99 | 100
Down Bid & Obligation | - | - | 99 | 99 | 98 | 99 | 99 | 98 | 97 | 98 | 98 | 90 | - | 96 | 93 | - | 99 | 70 | 96 | 99
Total Up AS Scheduled | - | - | 100 | 100 | 92 | 95 | 98 | 95 | 99 | 100 | 98 | 99 | - | - | - | - | 100 | 100 | 97 | 95
 | ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | IP | BG | CQ | JZ | FJ | JU | CX | FK | HW | JD | KA | JZ | IN | IZ | BX | CC | CD | AC | IO | FY
Resource Status | 100 | 100 | 100 | 100 | - | 100 | 99 | 100 | 99 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 98 | 100 | 100 | -
LSL as % of HSL | 83 | 94 | 92 | - | - | 99 | 100 | 97 | 97 | 100 | 100 | 100 | 100 | 99 | 100 | 100 | 93 | 100 | - | -
DA Zonal Schedule | 100 | 99 | 100 | - | 100 | 100 | 100 | 99 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | - | -
AP Zonal Schedule | 100 | 99 | 96 | - | - | 90 | 99 | 99 | 98 | 100 | 99 | 99 | 99 | 100 | 95 | 95 | 100 | 100 | - | -
Down Bid & Obligation | 80 | 98 | 93 | - | - | 92 | 90 | 100 | 92 | 95 | 49 | 51 | 98 | 100 | 98 | 92 | 99 | 100 | - | -
Total Up AS Scheduled | - | 100 | 99 | - | - | 92 | 99 | 98 | 95 | 94 | 95 | 97 | 95 | 100 | 96 | 94 | 92 | - | - | 100
 |  |  | 4 Consecutive Failing Scores |  |  |  |  |  |  |  | 3 Consecutive Failing Scores |  |  |  |  |  |  |  |  | 
 |  |  | 2 Consecutive Failing Scores |  |  |  |  |  |  |  | 1 Failing Score |  |  |  |  |  |  |  |  | 

## Slide 18: Analysis of March 2009 Resource Plan Performance Metrics for Non-Wind Only QSEs
ET – First time failing the Resource Plan Performance Metric Down Bid & Obligation Measure. Action by TRE- ET was notified of their failing score and acknowledge the score. Reason: as QSE for a new unit in their portfolio, ET did not set up the ability to down balance in scheduling system, which caused Down Bid & Obligation failure. Solution- They have identified and corrected the problem
IP – Second time failing of two Resource Plan Performance Metrics: LSL as % of HSL and Down Bid & Obligation Measure. Action by TRE- IP was notified of their failing scores and acknowledge the scores. Reasons: (a) prior month carry over from internal communication issues (Down Bid), and (b) use of incorrect requirement percentage for plants (LSL as % of HSL). Solution- They have identified and corrected the causes of the problem
KA – First time failing the Resource Plan Performance Metric Down Bid & Obligation Measure. Action by TRE- KA was notified of their failing score and acknowledge the score. Reason: Entity used an incorrect down balance percentage. Solution- They have identified and corrected the problem
JZ – First time failing the Resource Plan Performance Metric Down Bid & Obligation Measure. Action by TRE- JZ was notified of their failing score and acknowledge the score. Reason: used incorrect down balance percentage. Solution- They have identified and corrected the problem.
Item 4a - Compliance Report May 19, 2009

## Slide 19: March 2009 Resource Plan Performance Metrics for Wind Only QSEs
Item 4a - Compliance Report May 19, 2009
Resource Plan Performance Metric | ID |  |  |  |  |  |  |  |  |  |  |  |  | 
 | BT | JF | JS | HJ | BH | DI | JY | JM | JW | JL | GR | GS | HS | BF
DA Zonal Schedule | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 99
AP Zonal Schedule | 100 | 99 | 100 | 99 | 98 | 99 | 100 | 98 | 99 | 97 | 99 | 100 | 100 | 100
Down Bid & Obligation | 96 | 99 | 100 | 100 | 100 | 84 | 100 | 100 | 100 | 100 | 99 | 99 | 100 | 99
 | ID |  |  |  |  |  |  |  |  |  |  |  |  | 
 | BE | FX | JH | JI | JN | JJ | JT | JC | IV | JQ | JP | JK | JE | JR
DA Zonal Schedule | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
AP Zonal Schedule | 100 | 100 | 100 | 100 | 99 | 100 | 100 | 100 | 100 | 99 | 99 | 100 | 99 | 100
Down Bid & Obligation | 99 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 97 | 100 | 100 | 100
 |  |  | 4 Consecutive Failing Scores |  |  |  |  |  |  |  | 3 Consecutive Failing Scores |  |  | 
 |  |  | 2 Consecutive Failing Scores |  |  |  |  |  |  |  | 1 Failing Score |  |  | 

## Slide 20: ERCOT Protocols & Operating Guides Violations
 | Protocol/Operating Guide | Brief Description | Violation Date | Violation Status | Discovery Method | Mitigation Plan Status
1 | OG2.9.2 | Automatic Firm Load Shedding | 7/24/08 | Alleged | Self-Reporting | Submitted
2 | OG8.3.3 | QSE Responsibilities | 9/24/08 | Alleged | Incident | Submitted
3 | P6.5.7.2 P16.2.2 | QSE Responsibilities | 11/04/08 | Initial | Incident | Submitted
4 | P6.10.5.4 | Responsive Reserve Services Deployment | 11/12/08 | Initial | Incident | Submitted
5 | P4.10.2 P4.10.5 | QSE Scoring Review | 11/12/08 | Initial | Data Submittal | Submitted
6 | P4.10.2 P4.10.6 | QSE Scoring Review | 1/07/09 | Alleged | Data Submittal | Submitted
7 | OG1.8.2 | System Operating Training Requirements | 1/13/09 | Alleged | Compliance Audit | Submitted
8 | OG1.8.2 | System Operating Training Requirements | 4/20/09 | Alleged | Compliance Audit | Not Submitted
9 | P6.10.5.3 | SCPS2 Score less than 90% | 4/30/09 | Alleged | Data Submittal | Not Submitted
Compliance Report May 2009