## Slide 1: Congestion Report
Isabel Flores

## Slide 2: Background
Provide trend of local congestion costs for last 13 months
Costs shown in millions
  OOMC
  OOM Down
  LBE Down
  OOM Up
  LBE Up
  RPRS
Top congested elements – May and April
Inter-zonal costs - 2009

## Slide 3: OOMC last 13 months - $M
Million$ | South | North | Houston | West
2008 | 16.76 | 21.07 | 4.07 | 9.25
2009 | 21.3 | 8.99 | 0.83 | 0.11

## Slide 4: OOM Down last 13 months - $M
Million$ | South | North | Houston | West
2008 | 5.84 | 25.98 | 1.63 | 28.59
2009 | 1.25 | 2.03 | 0.56 | 33.30

## Slide 5: Balancing Energy Down last 13 months - $M
Million$ | South | North | Houston | West
2008 | 5.78 | 7.18 | 0.42 | 2.80
2009 | 0.38 | 0.11 | 0.24 | 0.23

## Slide 6: OOM Up last 13 months - $M
Million$ | South | North | Houston | West
2008 | 21.49 | 1.36 | 2.16 | 3.69
2009 | 5.60 | 1.47 | 0.91 | 0.80

## Slide 7: Balancing Energy Up last 13 months - $M
Million$ | South | North | Houston | West
2008 | 2.46 | 0.71 | 0.16 | 1.49
2009 | 0.20 | 0.03 | 0.05 | 0.00

## Slide 8: Replacement Reserve last 13 months
Thousand$ | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 | 17.6 | 91.14 | 490.13 | 525.12 | 988.64 | 2325.21 | 1876.60 | 967.4 | 260.5 | 111.8 | 158.9 | 207.6
2009 | 119 | 303 | 77 | 9 |  |  |  |  |  |  |  | 

## Slide 9: Top Overloaded Elements – May
Contingency | Overloaded Element | Est. Cost
Comanche Peak SES - DeCordova SES & Wolf Hollow - Rocky Creek 345kV | Venus Switch - Comanche Peak 345kV | $ 3,515,768.74
Watermill - DeSoto Switch - Cedar Hill Switch 345kV | Watermill - DeSoto | $ 1,966,940.07
Comanche Peak SES-DeCordova SES & Wolf Hollow-Rocky Creek 345kV | Comanche Peak SES - Parker Switch 345KV | $ 1,652,826.07
Capacity Shortage |  | $ 1,613,065.72
Comanche Peak SES-DeCordova SES-Wolf Hollow 345kV | Parker Switch - Benbrook Switch 345KV | $ 1,160,067.25
Comanche Peak SES-DeCordova SES & Wolf Hollow-Rocky Creek 345kV | Venus Switch - Johnson Switch TU 345kV | $ 744,535.01
Valley Import |  | $ 732,379.13
PH Robinson 345/138kV Autotransformer #3 | PH Robinson AT1 345/138KV Transformer | $ 468,812.45
Graham-Long Creek 345kV | San Angelo Power Station -Shrew Tap | $ 449,743.68
Replacement Reserve Service |  | $ 444,068.87

## Slide 10: Top Overloaded Elements - April
Contingency | Overloaded Element | Est. Cost
Ballinger - Santa Anna 138kV | Ballinger - Humble 69kV | $ 6,438,750.42
Area Security - Valley |  | $ 1,718,466.13
Lytton S/HC Tap | Austrop outage | $ 948,231.73
Parkdale Switch - Prairie Creek 138kV | Prairie Creek – Prairie Creek Switch | $ 649,262.82
Capacity Shortages |  | $ 470,191.67
Valley Import |  | $ 466,194.44
South Abilene - Eskota 138kV | Trent - Merkel 69kV | $ 466,044.17
Morgan Creek SES - Odess EHV & Quail Switch 345kV | Big Spring Switch - Big Spring West 138kV | $ 413.597.06
Austrop 345/138kV Autotransformer T1/T2 | Austrop 345/138kV Autotransformer T2/T1 | $ 401,891.83
Multiple DFW area outages Lon Hill - Pawnee outage Elkton-Fowsaw outage | Outages | $ 368,054.91

## Slide 11: Inter-zonal Congestion Costs 2009
Million$ | N_H | N_S | S_N | W_N | N_W
2008 | 107.9 | 139.6 | (18.3) | 108.5 | 11.6
2009 | 2.93 | 4.49 | (7.69) | 2.90 | 0.99
Settlement quality, net dollars.