OWG Special Meeting Minutes – 5/27/09

Attendance:

Jack Thormahlen	LCRA			Walter Reid		Wind Coalition

Brad Calhoun		Centerpoint		John Dumas		ERCOT

Ross Owen		Oncor			Brent Torgrimson	TRE

Ron Kraute		Austin Energy		Bob Collins		TRE

Dennis Sauriol		AEP			Victor Barry		TRE

Tip Tipton		BEPC			Mark Henry		TRE

Jerry Ward		Luminant

Colleen Frosch 	ERCOT

Meeting started with the Anti-Trust Admonition

OGRR224 – Special Protection System (SPS) Operations under no Contingency:

Much discussion generated from this topic.  Does posting line flows give a market advantage, consensus was no if this is only done in the west zone.  This issue does not go away in Nodal, ERCOT will need to build manual constraints and limit wind generation with N-0 SPSs to 80%.  The reporting for SPS activations has become burdensome to ERCOT and the Market Participants.  TRE agrees to remove the reporting requirement of reporting SPS runbacks, only breakers open is reportable.  The TSPs agreed to send ERCOT a monthly report of all SPS runbacks, in which ERCOT will send to the TRE.  The group agreed that protocol 6.5.11 (6) applies only to breaks open and not runbacks.  Once ERCOT receives confirmation from the TRE that the PUCT is okay with removing the SPS runbacks as a reportable event, ERCOT will stop sending OOME instructions to wind units with N-0 SPSs.  Dumas will withdraw this OGRR, OGRR tabled until next OWG meeting.

NOGRR025:

Jerry W. was assigned rows 13 – 21, the group agreed that there were no pass/fail metrics, these were only reports.  Changed word in row 20 from “performance” to “percentage”.

Jerry W. still needed to address row 21

Ross O. was assigned rows 53 – 57.  Ross developed a template for the reports, no pass/fail.  Rows 54 – 57 are ERCOT reports.  Row 55 – changed “performance” to “number”.

Sample reports can be found on the Nodal website; Yvette will e-mail the link to the group.

Ron K was assigned rows 79 – 81, changed “procedure” to “plan”.

Brad C. was assigned row 84.  Removed the “ERCOT shall monitor N-1 voltage violations that are not resolved in 15 minutes” language.

Other issues:

At next meeting, Ross wants to talk about moving the ERCOT Seminar to the fall and Black Start Training.  Kelly Blackmer was requested to attend next meeting.