## Slide 1: 2009 Long-term Demand and Energy Forecast (LTDEF) and Capacity, Demand and Reserves (CDR) Calculation
Dan Woodfin
Director, System Planning

## Slide 2: LTDEF Models
The Long-term Demand and Energy Forecast is based on a set of econometric models describing the hourly load in the region (by weather zone) as a function of certain economic and weather variables
Economic and demographic data, including a county level forecast, are obtained on a monthly basis from Moody’s
Forecast is based on “normal” weather

## Slide 3: 2009 LTDEF

## Slide 4: 2009 LTDEF

## Slide 5: Example Economic Drivers used in 2009 LTDEF
Total Non-Farm Employment
Gross Domestic Product
Population
Real Personal Per-Capita Income

## Slide 6: CDR Summary

## Slide 7: GATF?
Some need to revise rules for CDR calculation based on new technology types and changed conditions
ERCOT will undertake new Loss of Load Probability (LOLP) study later this year
  Used to set reserve margin target minimum
  Used to set effective load-carrying capability (ELCC) of wind
Suggest waiting to resurrect GATF until late 2009
  Allow simultaneous consideration of LOLP study and any other CDR changes
  Provide recommendation in time for April 2010 NERC Summer Assessment submission and May 2010 ERCOT CDR

## Slide 8
Questions?