| PRR Number | 812 | PRR Title | Wind Generator Forecast for Scheduling Metric |
| --- | --- | --- | --- |
| Date |  | June 17, 2009 |  |
| Submitters’ Information |  |  |  |
| Name |  | E. Raj Rajagopal |  |
| E-mail Address |  | erajagopal@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6533 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

PRR812 requires Wind-powered Generation Resources (WGRs) to use ERCOT’s wind forecast unless the WGR’s forecast is better than that of ERCOT’s.  The PRR also requires ERCOT to assess each WGR’s performance. To comply with the PRR, ERCOT would have to perform multiple forecast error computations for every day and every hour.  Such calculations are not practical to perform manually. To comply, ERCOT must develop custom software to capture, compare, and track WGR forecast error for both ERCOT and WGR forecasts; omitting periods with balancing energy deployments.  This software development would impose significant resource impacts upon ERCOT.  At present, ERCOT does not have sufficient resources to support this PRR without impacting the Nodal system.

PRR812 was reviewed through the CEO review process.  The ERCOT CEO has determined that PRR 812, as written in the 5/21/09 PRS Recommendation Report, is not necessary prior to the Texas Nodal Market Implementation Date.  Specifically, the 06/17/09 CEO Revision Request Review notes that If ERCOT diverted Nodal resources to this PRR, there would be an impact to the Nodal Program.

ERCOT PMO is deferring the filing of an Impact Analysis pending discussion of the 06/17/09 CEO Revision Request Review at the June 18, 2009 PRS meeting.

Proposed Protocol Language Revision

None at this time.