| NPRR Number | 175 | NPRR Title | Hub Bus List Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | June 18, 2009 |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.5.2.1, North 345 kV Hub (North 345) 3.5.2.2, South 345 kV Hub (South 345) |  |  |
| Proposed Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date, as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) updates the Hub lists to reflect the current network model by removing Hub Bus SHRTP which was a construct of planning and does not exist; and also by renaming Hub Bus FPPYD, which was actually two substations that were amalgamated for planning reasons, to FPPYD1 and FPPYD2. |  |  |
| Overall Market Benefit |  | Provides clarification of the protocol language to ensure that Hub prices are calculated correctly and as expected |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR175 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/30/09, NPRR175 and the CEO Revision Request Review were posted. - On 5/21/09, PRS considered NPRR175. - On 6/16/09, an Impact Analysis was posted. - On 6/18/09, PRS considered the PRS Recommendation Report and Impact Analysis for NPRR175. |  |  |
| PRS Decision |  | On 5/21/09, PRS unanimously voted to recommend approval of NPRR175 as submitted. All Market Segments were present for the vote. On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR175 to TAC. There was one opposing vote from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/21/09, there was no discussion. On 6/18/09, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | None. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Not applicable. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Provides clarification of the protocol language to ensure that Hub prices are calculated correctly and as expected. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

| Original Sponsor |  |
| --- | --- |
| Name | John Moseley |
| Company | ERCOT |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

3.5.2.1	North 345 kV Hub (North 345)

(1)	The North 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Hub Bus |  | kV |  | Hub |  |  |
| 1 | ANASW |  | 345 |  | NORTH |  |  |
| 2 | CN345 |  | 345 |  | NORTH |  |  |
| 3 | WLSH |  | 345 |  | NORTH |  |  |
| 4 | FMRVL |  | 345 |  | NORTH |  |  |
| 5 | LPCCS |  | 345 |  | NORTH |  |  |
| 6 | MNSES |  | 345 |  | NORTH |  |  |
| 7 | PRSSW |  | 345 |  | NORTH |  |  |
| 8 | SSPSW |  | 345 |  | NORTH |  |  |
| 9 | VLSES |  | 345 |  | NORTH |  |  |
| 10 | ALNSW1 |  | 345 |  | NORTH |  |  |
| 11 | ALNSW2 |  | 345 |  | NORTH |  |  |
| 12 | ALLNC |  | 345 |  | NORTH |  |  |
| 13 | BNDVS |  | 345 |  | NORTH |  |  |
| 14 | BNBSW |  | 345 |  | NORTH |  |  |
| 15 | BBSES |  | 345 |  | NORTH |  |  |
| 16 | BOSQUESW |  | 345 |  | NORTH |  |  |
| 17 | CDHSW |  | 345 |  | NORTH |  |  |
| 18 | CNTRY1 |  | 345 |  | NORTH |  |  |
| 19 | CNTRY3 |  | 345 |  | NORTH |  |  |
| 20 | CRLNW |  | 345 |  | NORTH |  |  |
| 21 | CMNSW |  | 345 |  | NORTH |  |  |
| 22 | CNRSW |  | 345 |  | NORTH |  |  |
| 23 | CRTLD |  | 345 |  | NORTH |  |  |
| 24 | DCSES |  | 345 |  | NORTH |  |  |
| 25 | EMSES |  | 345 |  | NORTH |  |  |
| 26 | ELKTN |  | 345 |  | NORTH |  |  |
| 27 | ELMOT |  | 345 |  | NORTH |  |  |
| 28 | EVRSW |  | 345 |  | NORTH |  |  |
| 29 | KWASS |  | 345 |  | NORTH |  |  |
| 30 | FGRSW |  | 345 |  | NORTH |  |  |
| 31 | FORSW |  | 345 |  | NORTH |  |  |
| 32 | FRNYPP1 |  | 345 |  | NORTH |  |  |
| 33 | FRNYPP2 |  | 345 |  | NORTH |  |  |
| 34 | GIBCRK |  | 345 |  | NORTH |  |  |
| 35 | HKBRY |  | 345 |  | NORTH |  |  |
| 36 | VLYRN |  | 345 |  | NORTH |  |  |
| 37 | JEWETN |  | 345 |  | NORTH |  |  |
| 38 | JEWETS |  | 345 |  | NORTH |  |  |
| 39 | KNEDL |  | 345 |  | NORTH |  |  |
| 40 | KLNSW |  | 345 |  | NORTH |  |  |
| 41 | LCSES |  | 345 |  | NORTH |  |  |
| 42 | LIGSW |  | 345 |  | NORTH |  |  |
| 43 | LEG |  | 345 |  | NORTH |  |  |
| 44 | LFKSW |  | 345 |  | NORTH |  |  |
| 45 | LWSSW |  | 345 |  | NORTH |  |  |
| 46 | MLSES |  | 345 |  | NORTH |  |  |
| 47 | MCCREE |  | 345 |  | NORTH |  |  |
| 48 | MDANP1 |  | 345 |  | NORTH |  |  |
| 49 | MDANP2 |  | 345 |  | NORTH |  |  |
| 50 | ENTPR |  | 345 |  | NORTH |  |  |
| 51 | NCDSE |  | 345 |  | NORTH |  |  |
| 52 | NORSW |  | 345 |  | NORTH |  |  |
| 53 | NUCOR |  | 345 |  | NORTH |  |  |
| 54 | PKRSW |  | 345 |  | NORTH |  |  |
| 55 | KMCHI |  | 345 |  | NORTH |  |  |
| 56 | PTENN |  | 345 |  | NORTH |  |  |
| 57 | RENSW |  | 345 |  | NORTH |  |  |
| 58 | RCHBR1 |  | 345 |  | NORTH |  |  |
| 59 | RCHBR2 |  | 345 |  | NORTH |  |  |
| 60 | RNKSW |  | 345 |  | NORTH |  |  |
| 61 | RKCRK |  | 345 |  | NORTH |  |  |
| 62 | RYSSW |  | 345 |  | NORTH |  |  |
| 63 | SGVSW |  | 345 |  | NORTH |  |  |
| 64 | SHBSW |  | 345 |  | NORTH |  |  |
| 65 | SHRSW |  | 345 |  | NORTH |  |  |
| 66 | SCSES |  | 345 |  | NORTH |  |  |
| 67 | SYCRK |  | 345 |  | NORTH |  |  |
| 68 | THSES |  | 345 |  | NORTH |  |  |
| 69 | TMPSW |  | 345 |  | NORTH |  |  |
| 70 | TNP_ONE |  | 345 |  | NORTH |  |  |
| 71 | TRCNR |  | 345 |  | NORTH |  |  |
| 72 | TRSES1 |  | 345 |  | NORTH |  |  |
| 73 | TRSES2 |  | 345 |  | NORTH |  |  |
| 74 | TOKSW |  | 345 |  | NORTH |  |  |
| 75 | VENSWN |  | 345 |  | NORTH |  |  |
| 76 | VENSWS |  | 345 |  | NORTH |  |  |
| 77 | WLVEE |  | 345 |  | NORTH |  |  |
| 78 | W_DENT |  | 345 |  | NORTH |  |  |
| 79 | WTRML |  | 345 |  | NORTH |  |  |
| 80 | WCSWS |  | 345 |  | NORTH |  |  |
| 81 | WEBBS |  | 345 |  | NORTH |  |  |
| 82 | WHTNY |  | 345 |  | NORTH |  |  |
| 83 | WCPP |  | 345 |  | NORTH |  |  |

(2)	The North 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the Day-Ahead Market (DAM) in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP North345	=	Σhb(HUBDF hb, North345 * DAHBP hb, North345), if HB North345≠0

DASPP North345	=	DASPPERCOT345Bus, if HB North345=0

Where:

DAHBP hb, North345	=	Σb(HBDF b, hb, North345 * DALMP b, hb, North345)

HUBDF hb, North345	=	IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345	=	IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP North345 | $/MWh | Day-Ahead Settlement Point PriceThe DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, North345 | $/MWh | Day-Ahead Hub Bus Price at Hub BusThe DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, North345 | $/MWh | Day-Ahead Locational Marginal Price (LMP) at Electrical Bus of Hub BusThe DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, North345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, North345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, North345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB North345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP North345	=	Σhb(HUBDF hb, North345 * (Σy(RTHBP hb, North345, y * TLMP y) / (ΣyTLMP y))), if HB North345≠0

RTSPP North345	=	RTSPPERCOT345Bus, if HB North345=0

Where:

RTHBP hb, North345, y	=	Σb(HBDF b, hb, North345 * RTLMP b, hb, North345, y)

HUBDF hb, North345	=	IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345	=	IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP North345 | $/MWh | Real-Time Settlement Point PriceThe Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, North345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per Security-Constrained Economic Dispatch (SCED) intervalThe Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, North345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per intervalThe Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, North345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, North345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, North345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB North345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

3.5.2.2	South 345 kV Hub (South 345)

(1)	The South 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations |  |  |
| --- | --- | --- | --- |
| No. | Hub Bus | kV | Hub |
| 1 | AUSTRO | 345 | SOUTH |
| 2 | BLESSING | 345 | SOUTH |
| 3 | CAGNON | 345 | SOUTH |
| 4 | COLETO | 345 | SOUTH |
| 5 | CLEASP | 345 | SOUTH |
| 6 | NEDIN | 345 | SOUTH |
| 7 | FAYETT | 345 | SOUTH |
| 8 | FPPYD1 | 345 | SOUTH |
| 9 | FPPYD2 | 345 | SOUTH |
| 10 | GARFIE | 345 | SOUTH |
| 11 | GUADG | 345 | SOUTH |
| 12 | HAYSEN | 345 | SOUTH |
| 13 | HILLCTRY | 345 | SOUTH |
| 14 | HOLMAN | 345 | SOUTH |
| 15 | KENDAL | 345 | SOUTH |
| 16 | LA_PALMA | 345 | SOUTH |
| 17 | LON_HILL | 345 | SOUTH |
| 18 | LOSTPI | 345 | SOUTH |
| 19 | LYTTON_S | 345 | SOUTH |
| 20 | MARION | 345 | SOUTH |
| 21 | PAWNEE | 345 | SOUTH |
| 22 | RIOHONDO | 345 | SOUTH |
| 23 | RIONOG | 345 | SOUTH |
| 24 | SALEM | 345 | SOUTH |
| 25 | SDSES | 345 | SOUTH |
| 26 | SANMIGL | 345 | SOUTH |
| 27 | SKYLINE | 345 | SOUTH |
| 28 | STP | 345 | SOUTH |
| 29 | CALAVERS | 345 | SOUTH |
| 30 | BRAUNIG | 345 | SOUTH |
| 31 | WHITEPT | 345 | SOUTH |
| 32 | ZORN | 345 | SOUTH |

(2)	The South 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP South345	=	Σhb(HUBDF hb, South345 * DAHBP hb, South345) , if HB South345≠0

DASPP South345	=	DASPPERCOT345Bus, if HB South345=0

Where:

DAHBP hb, South345	=	Σb(HBDF b, hb, South345 * DALMP b, hb, South345)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=	IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP South345 | $/MWh | Day-Ahead Settlement Point PriceThe DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, South345 | $/MWh | Day-Ahead Hub Bus Price at Hub BusThe DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, South345 | $/MWh | Day-Ahead Locational Marginal Price at Electrical Bus of Hub BusThe DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345	=	Σhb(HUBDF hb, South345 * (Σy(RTHBP hb, South345, y * TLMP y) / (ΣyTLMP y))), if HB South345≠0

RTSPP South345	=	RTSPPERCOT345Bus, if HB South345=0

Where:

RTHBP hb, South345, y	=	Σb(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=	IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP South345 | $/MWh | Real-Time Settlement Point PriceThe Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, South345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per SCED intervalThe Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, South345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per intervalThe Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |