## Oncor
Oncor Comment No. | Addressed | Ercot Comments | Actual Comment
DJB1 | y | Description modified | If all required attributes are shown in bold, how do you distigish between the atributs that must be provided by a TSP, QSE or ERCOT?
DJB2 | y | Description modified | If the imported CIM file fails validation do to nor allowed classes can the submitor delete the invalid class using the ERCOT editor and have the NOMCR pass validation?
DBJ3 | y | Links will be added later | Provide link
DBJ4 | y | Links will be added later | Provide link
DBJ5 | y | Links will be added later | Provide link
DBJ6 | n | will be discussed at ndswg | In the desing documents that where approved by TPTF the NMMS/PTC was to include both Operational and planning network model changes. This statement does not include the reference to planning projects. When I review the ERCOT displays for PTC there was no selection provided for Planning. When was this change made and was the change is design submitted to TPTF for approval?
DBJ7 | y | Description modified | This is not a true statement. What about the PMCRs?
DBJ8 | y | Description modified | Do not use the abbriveation.
DBJ9 | n |  | What about editing and modifying the project after it has been imported?
DBJ10 | y | Attribute Required | This valus probably should be required of the submitting MP.
DBJ11 | y | Attribute Required | This valus probably should be required of the submitting MP.
DBJ12 | y | Not required | Who is required to supply this value? This information is not readily available by the MPs. The value should just be defaulted to zero.
DBJ13 | y | Deleted | Repeated?
DBJ14 | y | Required | Should be required?
DBJ15 | y | Required | Should be required?
DBJ16 | y | Required | This value probably should be required of the submitting MP.
DBJ17 | y | Required | This value probably should be required of the submitting MP.
DBJ18 | y | Deleted | Duplicated
DBJ19 | y | Required | Should be required?
DBJ20 | y | Required | Should be required?
DBJ21 | y | This attribute is required. | This required of who? I don’t believe this would be information that a MP would have.
DBJ22 | y | Required | Should be required?
DBJ23 | y | Required | Should be required?
DBJ24 | y | Required | Should be required?
DBJ25 | y | Required | Should be required?
DBJ26 | y | Required | Should be required
DBJ27 | y | Required | Should be required
DBJ28 | y | Required | Should be required
DBJ29 | y | Required | Should be required
DBJ30 | y | set to true | Should default to true
DBJ31 | y | set to true | Should default to true
DBJ32 | y | Required | Should be required
DBJ33 | y | Required | Should be required. Realizing that even though an enity might own the substation at 100 percent ther might be equipment located in the station that he might not own such as a switch.
DBJ34 | y | Required | Should be required if Bay is used.
DBJ35 | y | Required | Should be required if Bay is used.
DBJ36 | y | MPs should provide this information, EMS software either uses the Upper threshold value or the Lower threshold value based on the direction of the flow, to determine if there is any violation of the limit. Upper threshold value is always the +(network limit) and Lower threshold is –(network limit) | Who is responable for providing this information?
DBJ37 | y | MPs should provide this information, EMS software either uses the Upper threshold value or the Lower threshold value based on the direction of the flow, to determine if there is any violation of the limit. Upper threshold value is always the +(network limit) and Lower threshold is –(network limit) | Who is responable for providing this information?
DBJ38 | y | MPs should provide this , 5% is the current ERCOT standard | Who is responable for providing this information?
DBJ39 | y | MPs need to specify if the limit type is , NORMAL , 2Hr or 15MIN | Who is responable for providing this information?
DBJ40 | y | MP’s should provide this , This is the value of the Rating on a Line , Transformer.. | Who is responable for providing this information?
DBJ41 | y | MPs should provide this , 5% is the current ERCOT standard | Who is responable for providing this information?
DBJ42 | y | MPs need to specify if the limit type is , NORMAL , 2Hr or 15MIN | Who is responable for providing this information?
DBJ43 | y | Not required | This should not be required. If is required then the value should default to zero.
DBJ44 | y | Required | Should be required
DBJ45 | y | Required | Should be required
DBJ46 | y | Not required | Should not be required. If it is should default to zero.
DBJ47 | y | Not required | Should not be required. If it is should default to zero.
DBJ48 | y | Not required | Should not be required.
DBJ49 | y | Not required | Should not be required. Most Mps don’t know what this is.
DBJ50 | y | Required | Should be requierd
DBJ51 | y | Required | Should be requierd
DBJ52 | n | This is the current interpretation. Any other examples should be brought up in NDSWG. | As defined by Protocols. Use Protocols terminology
DBJ53 | n | Still followingup | Should not be require. The connectivity group might not belong in the PSS/E model.
DBJ54 | n | Still followingup | Should not be require. The connectivity group might not belong in the PSS/E model.
DBJ55 | y | Required | Should be required
DBJ56 | y | Required | Should be required
DBJ57 | n | Need more information | There is still on going discussion about how is an owner. The definition could include non-stakeholder entities. ERCOT currently has only Stakeholder enities as belonging to this list.
DBJ58 | y | TEID. Autopopulated. Not bolded anymore | What is this?
DBJ59 | n | see DBJ52 | See comment made earlier in document.
DBJ60 | y | s | Why are these classes included in App. A if they are not allowed?
DBJ61 | y | Grounddisconnector are not allowed in ERCOT model | Why are these classes included in App. A if they are not allowed? There are many Ground switch in the ERCOT Grid that operations has been asking to have modeled and as such should be permitted.
DBJ62 | y | Deleted from appendix A | Why are these classes included in App. A if they are not allowed?

## CNP
CNP comments | Addressed | Ercot comments | Actual comment
CNP1 | Y | Bays are allowed, add Bays | Breakers can be modeled under a Bay
CNP2 | Y | Change "the Terminals" to "a terminal" | The plural case mentioned for terminals indicates that Discrete SCADA is modeled under both terminals, whereas the model and figure only place SCADA under one terminal. Is the approach to model Discrete SCADA under one terminal?
CNP3 | N | Most attributes missing sample data, not sure if we have time to add it right now | No Sample data filled out
CNP4 | Y | Bold normalOpen for disconnector | Shouldn’t this be Bold to indicate required flied.
CNP5 | Y | Bold initiallyOpen for disconnector | Shouldn’t this be Bold to indicate required flied.
CNP6 | Y | normalOpen repeated, delete second occurrence | repeated above
CNP7 | Y | default of 1 added for switching priority of ShuntCompensator | Switching priority should not be a required field for TSP. TSPs have not supplied this data in the past and do not have this nformation. ERCOT should enter default values in the model.
CNP8 | N | determine a reasonable default value for AVR delay, produce comments/document to TSPs with guidelines for this data | Should not be a required field for TSP. TSPs have not supplied this data in the past and do not have this nformation.
CNP9 | N | determine a reasonable default value for voltage sensitivity, produce comments/document to TSPs with guidelines for this data | Should not be a required field for TSP.
CNP10 | Y | Delete highlighted sentence | The link table row 1 refers to a Disconnector incorrectly. What is the rule for BaseVoltage link for ACLineSegment? ACLineSegment instances always are defined under Line instances. There is no VoltageLevel container used.
CNP11 | N | need more information | The substation tree-view display in IMM has a few “Device Type” instances. Please explain these instances.
CNP12 | Y | Reformat table | Please format table with lines for readability
CNP13 | y | set forNetwork default to True for substation | Better set these default to “TRUE” since usually a substation instance is used by Network and SCADA.
CNP14 | y | set forSCADA default to True for substation | Better set these default to “TRUE” since usually a substation instance is used by Network and SCADA.
CNP15 | Y | Add HasTypeofDeviceType to required links for measurement location in appendix B | The link table row 1 lists HasTypeofDeviceType as a required link, yet this is not listed in the Appendix. Is this required?
CNP16 | Y | Unbold Zonal Attribute. Should be left as false | “Zonal Attribute” is listed as a required attribute. As we know the zonal system will be retired, why do we need this attribute? Is this required of the TSP? Not listed in the appendix.
CNP17 | Y | Delete CalculationTriggeredByCalculation in table | The link table lists CalculationTriggeredByCalculationTriggerTimer and CalculationUsesFunction as required, yet this is not listed in the Appendix. Are these requiredand are they required of the TSP?
CNP18 | Y | Update appendix B for MeasurementArgument links | The link table lists AssignedTo(FunctionArgument) and MappedTo(MeasurementValue) as required, yet this is not listed in the Appendix. Are these required?
CNP19 | Y | Update appendix for ConstantArgument links | The link table lists AssignedTo(FunctionArgument) and MappedTo(ConstantValue) as required, yet this is not listed in the Appendix. Are these required?
CNP20 | Y | For Analog/Discrete, add unit link, powersystemresource link in appendix b | The link table lists MeasurementUsesAMeasurementType, MeasurementUsesAUnit, MeasurementMemberOfPowerSystemResource, MeasurementOwnedByOwnership, and MeasurementOwnedByOperatorship as required. For Analog, the Appendix doesn’t list MeasurementUsesAMeasurementType and MeasurementMemberOfPowerSystemResource. Are these required for Analog? For Discrete, the Appendix doesn’t list MeasurementUsesAUnit and MeasurementMemberOfPowerSystemResource. Are these required for Discrete?
CNP21 | Y | Remove CPStatus validation rule from appendix | The attributes table doesn’t bold Component Status to indicate it as required, but it is listed in the Appendix as cstatus for both AnalogValue and DiscreteValue. Is Component Status required?
CNP22 | N | Add details about Site links, required for all SCADA except SSID. Add descriptions and explanations. | The link table lists as required, yet none of these are listed in the Appendix. Are these required for AnalogValue and DiscreteValue?
CNP23 | N | conditional rule. Add description, refer to validation rule #. | The link table lists MeasurementValueSource as a requirement, yet this is not listed in the Appendix. Is this required?
CNP24 | Y | hasCOV, hasquality, and hasTimeStamp all booleans, remove from Appendix A for MeasurementValueQuality | The attributes table doesn’t bold hasCOV, hasquality, and hasTimeStamp to indicate them as required, but it is listed in the Appendix. Are these required?
CNP25 | Y | add MeasurementValueQualityMemberOfMeasurementValue to Appendix B | The link table lists MeasurementValueQualityMemberOfMeasurementValue as required, yet it is not listed in the Appendix. Is this required?
CNP26 | Y | Complaint about AnalogLimit having a name greater than four characters. This is listed as a validation rule, but the rule is violated in our model for ratings. Deleted AnalogLimit from validation rule R108 in appendix. Please verify that this is Correct. | 30 shows SCADA limits modeled with an AnalogLimit type named “CONDUCTOR” which is longer than ERCOT’s four character limit (Validation Rule: R108) for AnalogLimit.
CNP27 | Y | not required | The link table lists BelongsTo(ModelingAuthoritySet) and HasA(Season) as required, yet they are not listed in the Appendix. Are these required?
CNP28 | Y | Add LimitType to Appendix A for AnalogLimit. Unbold DeadBand. Upper Threshold, Lower Threshold conidtional required attrbutes for an AnalogLimit. Will leave bolded but out of Appendix. Section explains conditional scenarios. | The attributes table bolds LowerThreshhold, UpperThreshhold, Deadband, and LimitType to indicate being required, yet they are not listed in the Appendix. Are these required?
CNP29 | N | needs to be checked | The link table lists AnalogLimitBelongstoLimitAlarmCategory and AnalogLimitHasNameofAnalogLimitName as required, yet they are not listed in the Appendix. Are these required?
CNP30 | Y | not required | The link table lists BelongsTo(ModelingAuthoritySet) and HasA(Season) as required, yet they are not listed in the Appendix. Are these required?
CNP31 | Y | Add LimitType to Appendix A for AnalogLimit. Unbold DeadBand. Value a conidtional required attrbutes for a ratings AnalogLimit. Will leave bolded but out of Appendix. Section explains conditional scenarios. | The attributes table bolds Value, Deadband, and LimitType to indicate being required, yet they are not listed in the Appendix. Are these required?
CNP32 | Y | Raju left HasSeason as a required link for AnalogLimit, I don’t think its required | The link table lists AnalogLimitBelongstoLimitAlarmCategory and AnalogLimitHasNameofAnalogLimitName as required, yet they are not listed in the Appendix. Are these required?
CNP33 | Y | yes, PSSEID required for powertransformer, added to appendix | “PSSE ID” of a power transformer is listed as a required attribute. Other equipment does not require this attribute. It is not listed in the Appendix. Is this required?
CNP34 | N | determine a reasonable default value for voltage sensitivity, produce comments/document to TSPs with guidelines for this data | Voltage Sensitivity should not be a required field for TSP. TSPs have not supplied this data in the past and do not have this nformation. ERCOT should enter default values in the model.
CNP35 | Y | Updated appendix to include ownership as requied link for PowerTransformer in Appendix B | The link table lists OwnPercent(Ownership) as required, yet it is not listed in the Appendix. Is this required?
CNP36 | Y | Unbolded r0, x0, rground, b, g for transformer winding. Removed from Appendix A. | The attributes table bolds PSSE ID, Remove Enable, and Winding Type as required, yet they are not listed in the Appendix. Are these required? The table also lists attribute Rated KV which conflicts with attribute name ratedMVA listed in the Appendix. Please correct.
CNP37 | Y | Added LTC Control Mode as required attribute for tap changer to appendix | The attributes table bolds LTC Control Mode as required, yet it is not listed in the Appendix. Is this required?
CNP38 | Y | Delete MRID, others added to table | TransformerKluge class is not listed in the Appendix. Are ModelResourceID, PSSE Winding ID, and PSSE WindingName required?
CNP39 | Y | Added TransformerKlugeHasAPowerTransformer to Appendix B | TransformerKluge class is not listed in the Appendix. Is HasA(PowerTransformer) required?
CNP40 | Y | Remove ConformLoadFlag from appendix A for CustomerLoad | The attribute table doesn’t bold Conforming Load Flag to indicate as required, yet this is listed in the Appendix. Is Conforming Load Flag required?
CNP41 | Y | add PF to appendix A for customer load | The attribute table bolds Power Factor, yet this is not listed in the Appendix. Is Power Factor required?
CNP42 | Y | Base Voltage not required, load modeled under voltage level | The link table doesn’t list BaseVoltage as required. Is this automatically known because of parent-child relationship with VoltageLevel? Is BaseVoltage association required?
CNP43 | y | new figure added | The figure displays CustomerLoad at the end of the arrow and not StationSupply. Can you correct the figure and use an expanded view of StationSupply?
CNP44 | Y | Remove ConformLoadFlag from appendix A for for StationSupply | The attribute table doesn’t bold Conforming Load Flag to indicate as required, yet this is listed in the Appendix. Is Conforming Load Flag required?
CNP45 | Y | add PF to appendix A for station supply | The attribute table bolds Power Factor and Step, yet these are not listed in the Appendix. Are both Power Factor and Step required?
CNP46 | Y | Same and CNP42 | The link table doesn’t list BaseVoltage as required. Is this automatically known because of parent-child relationship with VoltageLevel? Is BaseVoltage association required?
CNP47 | Y | no required attribute for ConformLoadGroup | The attributes table doesn’t bold any attributes, thus are there no required attributes for ConformLoadGroup?
CNP48 | Y | remove aliasname for conformloadschedule from appendix A | The attribute table doesn’t bold Alias Name to indicate as required, yet this is listed in the Appendix. Is Alias Name required?
CNP49 | Y | add EndTime for conformloadschedule in appendix A | End Time attribute is bold, but this is not listed in the Appendix. Is End Time required?
CNP50 | Y | Unbold rampRateCurveID | rampRateCurveId is bold, but this is not listed in the Appendix. Is rampRateCurveId required?
CNP51 | Y | Bold y2 unit for curves | The attribute table doesn’t’ bold y2Unit to indicate as required, yet this is listed in the Appendix. Is y2Unit required?
CNP52 | Y | no required links for curves | The link table doesn’t bold any links, thus are there no required links for Curve?
CNP53 | Y | no required attributes for connectivitynodes | There are no required attributes for ConnectivityNode? Is PSSE Bus Number not a requirement for ConnectivityNode?
CNP54 | Y | Already fixed, link added to Appendix B | The link table doesn’t bold EquipmentContainer to indicate as required. Is EquipmentContainer required?
CNP55 | Y | Created a new Links table for ElectricalBus | The link table mentions ElectricalBus.ConnectivityNode as a requirement, but this is not listed in the Appendix and this association field is not available in the current ElectricalBus class. How is ElectricalBusMemberOfConnectivityNode a requirement?
CNP56 | N | Comment needs clarification | Unclear. Does this mean that the PSS/E Bus Name and the PSS/E Bus Number cannot be the same for one ConnectivityNodeGroup? The figure implies this, but the text doesn’t. Also, since we already have the PSS/E bus number attribute, why do we need to put the number to the name? Otherwise what’s purpose to have an attribute called “PSSEBusNumber”?
CNP57 | Y | PSSE Name/Number are required attributes for a connectivitynodegroup. Added to appendix A. | The attribute table bolds PSSEBusName and PSSEBusNumber to indicate as required, yet these are not listed in the Appendix. Is PSSEBusName and PSSEBusNumber required?
CNP58 | Y | Added required links to appendix | The link table doesn’t bold any links, thus indicating no requirements. Also, the links in the table are not listed in the Appendix. Are Operatorship, Ownership, PlanningArea, and Planning Zone required?
CNP59 | Y | Table format fixed | The links table doesn’t bold any links and they are not listed in the Appendix. Are OwnedBy(DynamicElement), RatedBy(Ownership), Reference(WeatherStation), and Reference(WeatherStationAlt) required?
CNP60 | N | under review | The links table doesn’t bold any links and they are not listed in the Appendix. Are OwnedBy(DynamicElement), RatedBy(Ownership), Reference(WeatherStation), and Reference(WeatherStationAlt) required?
CNP61 | y | No | Should this page be removed?
CNP62 | Y | Table formatting | Table Line formatting?
CNP63 | y | description modified | An electrical bus, sometimes defined by TDSP, possibly is the container for a resouceNode. But it is ERCOT’s responsibility to identify those electrical buses and define resourcenodes if necessary.
CNP64 | Y | PseudoTerminal modeled by ERCOT. | “PseudoTerminal” needs to be explained. Who is to model it?
CNP65 | Y | Validation rule R108 is for name length restrictions. The restrictions are for ERCOT downstream systems, not CIM. | Please clarify if this rule refers to name character length limitations. In addition, please comment more on naming conventions, such as only using alphanumeric values with no dashes, spaces, lowercase vs. uppercase, etc…. It is not necessary to limit the name length. Does this rule conflict with the CIM standard? Are we using Common Information Model here?
CNP66 | y | This rule is saying that you can not have 2 measurementlocations of the same device type. | The example is very confusing. How can 2 measurement locations have the same RDFID and different names?
CNP67 | y | They are the same. | Please clarify the difference between the Electrical Bus definition on page 157 and R111. Also, does switches in last sentence refer to just Disconnectors or for any children classes from the Switch class, such as Breakers, Disconnectors, Jumpers, LoadDisconnectSwitchs, GroundDisconnectors, etc.?
CNP68 | y | rule deleted | Associated through which linkage? This is a new rule not in v05, but there is no attribute or link within the Breaker/Disconnector to make an association with VoltageLevel. Will this be in the new ERCOT model?
CNP69 | y | this is the latest definition. | This is a new rule, not in v05. Will link association “Has A (PhaseShifterImpedanceCurve)” be in the new ERCOT model for PowerTransformer class? Currently, no such link.
CNP70 | N | this is the latest definition. | This is a new rule, not in v05. Will link association “Has A (TapRatioCurve)” be in the new ERCOT model for PowerTransformer class? Currently, no such link.
Keith1 | Y | Base Voltage should be added to links for Series Compensator
Keith2 | Y | Base Voltage should be added to links for Series Compensator
Keith3 | N | Substation Section reference DeviceType instances, from my understanding these are no longer in our schema.

## Austin
Comments | ERCOT Action | Ercot Comments | Actual comment | Raju comments | MP Comments
c1 | n | Need more discussion |  |  | Assume on Woody's hit list
c2 | y | links will be added later | Please provide these documents
c3 | y | section for samr's added | Where are the SAMRs covered?
c4 | y | accepted | Note that all the NOMCR process and all the NOMCR procedures are not explicitly defined in the Nodal Protocols
c5 | y | Description modified. | Please provide some information/clarification on what happens if there is a validation rule error.
c6 | n | Need more information. One lines can uploaded along to Nomcr like any other document. | Where/how are onelines provided? |  | Protocols require onelines to be sent with NOMCRs (as needed). Document did not cover additional files such as onlines--where to add them specifically
c7 | y | accepted | Format issue---determine whether to use quotes for the button names and be consistent throughout doc…
c8 | y | Description modified. | Please provide reasoning when this would not be required and why this would not be defaulted?
c9 | y |  | Substation is capitalized some places and not others and italisized some places and not others…pick one
c10 | y | Description modified. | What is the copy/paste method…control c control v??
c11 | y | tried to be consistent | General comment-the linkage information format seems to change throughout document. Can it be standardized? |  | I know it is not easy.
c12 | y | Not required | This should no be a required field from the TSP perspective. Perhaps it is required for the ERCOT applications (in this case Dynamics??
c13 | y | Duplicate entry. Has been deleted. | Is it required or just expected?
c14 | y | OUS Priority is not used. | What are the ramifications of the use of this attribute?
c15 | y | Description modified. | Is the Option 1 information provided here or referenced? |  | Option 1 or 2 still appears in sections 6.2, 21.2, 24.2, and 51.2
c16 | y | description modified | This is a crucial argument about Owner/Operator. What is considered a “creator”? Please further explain the dynamic relationship of owner/operator/creator. | refine the comments
c17 | y | Duplicate entry. Has been deleted. | Since this was copied and pasted same comment as above in breakers.
c18 | y | OUS Priority is not used. | Same comment
c19 | y | description modified | See comment above | refine the comments
c20 | n | Description modified | Content should be reflective of both a capacitor and reactor---i.e.—show difference in the description where appropriate…see below | Needs to be done. | Does it need re-commented?
c21 | y | Defaulted to "1" | This is not an MP value and is directly related to an ERCOT application specific attribute. This should not be required from the MP and has liitle if any relevance in ERCOT Operations
c22 | y | Not required | This is not an MP value and is directly related to an ERCOT application specific attribute. This should not be required from the MP and has liitle if any relevance in ERCOT Operations
c23 | n | didn't understand | Same for reactor? |  | There may be staged reactor banks like cap banks. The language used is only reflective of cap banks.
c24 | n | Need more information | Should max and min voltage default to voltage standard as a start? What is expected for emergency operations? |  | ERCOT is trying to bound the modeled operation of a reactive device for the ERCOT applications. In most cases the volatge range will be between the voltage standards allowed (and in this case the emergency/contingency "standard"). Asking/Requiring a volatge limit every time is repetitive and will be an opportunity to err. Emergency operatins extend the normal volage range and this needs to be captured. For flexibility these values should be automated. If not a TSP could bound the operating range inadvertently to something other than desired.
c25 | n | Need more information | Same for reactors? |  | There may be staged reactor banks like cap banks. The language used is only reflective of cap banks.
c26 | n | Needs a default. | This is another example of an ERCOT application determined value that has been and should continue to be determined by ERCOT personnel. The NOMCR process does not allow for the proper testing of this value and should be provided by ERCOT via the NOMCR process. |  | This is not the responsibility of the TSP. This goes to the core of what is the TSP responsibility associated with a model and not associated with the application utilizing the model. The simple statement "Needs a default" does not address this issue. Woody hit list.
c27 | y | Language Modified | Reactor? |  | There may be staged reactor banks like cap banks. The language used is only reflective of cap banks.
c28 | y | Language Modified | Reactor? |  | There may be staged reactor banks like cap banks. The language used is only reflective of cap banks.
c29 | y | no space | Is there a space between the words or no space?
c30 | y | Outage Scheduler treats them differently then lines. Doesn't effect | How does this affect Outage Scheduling? Asuume treated as a line, correct?
c31 | y | GeographicalRegions are used for convenient grouping of Texas Network | How is Geographical Region used?
c32 | y | Scada measurements are defined further in the document. | Where is the Scada measurement discussion?
c33 | y | Comment Removed | Where are the ratings located? |  | Comment should be removed
c34 | y | Required link. To find out the nominal voltage a link to basevoltage is needed. | Agree with Centerpoint question regarding this use of BaseVoltage---what are the rukes and why? |  | Needs further discussion as the wording "Required link" does not answer the base question being asked.
c35 | y | Need more information. Have been defaulted. Not required anymore. | Provide further explanation |  | The two attributes listed are ERCOT required decisions and should be the responsibility of ERCOT not the TSP. Woody Hit list
c36 | y | Description modified | Please provide detailed description of both linkages. Note that Substation is not definedi n the Nodal Protocols. Clearly there could be multi-operatorship as will as multi-ownership within a substation. Please define where this attribute is used in applications and if it is used in metrics. Link names appear different than listed before… |  | Exactly what I was referencing. The linkages need more details as this is the first time they appear in the document. Also, the way the link is shown is different than other locations "Operated By (Operatorship )" versus just "Operatorship" (see Disconnector as an example)
c37 | y | EMS limitation. | reason for being so short?
c38 | y | Calculations can be modeled by both TSP's and ERCOT. | Is this only used by ERCOT? IE—all data is going to ERCOT via ICCP. Is this use limited to if ERCOT has derived
c39 | y | EMS limitation | Why so short? |  | This should be an ERCOT provided attribute
c40 | y | The attribute is defined for Calculation and it is set to false. | Is this valid here?
c41 | y | ERCOT is expecting a calculation to be completely modeled in the network model. | Is EROT expecting MPs to determine calcs used within the ERCOT system? |  | You missed the question-by whom? This is an ERCOT function.
c42 | y | The attribute is defined for MeasurementArgument and it is set to false. | Necessary here?
c43 | y | ConstantArgument is ERCOT specific but is described here for completeness. | Please indicate if ERCOT only issue… |  | Have the verbiage reflect the issue noted
c44 | y | Will be modeled by ERCOT. | I am assuming this is only being provided for completeness and there is no expectation on ERCOT’s part for an MP to provide function driven computations or calculations. Is this correct?
c45 | y |  | Determine italics or not throughut document (same for Analog)
c46 | y | Appendix will be added | Please provide ERCOT “sign” definition for all Transmission Elements (may be provided in ICCP handbook for cut and paste) | Nitika | Nothing has been added
c47 | y | Association names have been renamed | Is this different than above (Link Name is differently listed than previously) |  | It is a consistency issue (some have parentheses, others just a name,…)
c48 | y | Association names have been renamed | Is this different than above (Link Name is differently listed than previously) |  | It is a consistency issue (some have parentheses, others just a name,…)
c49 | y | No required attributes | Noticed a severe dearth in required fields. This is good from one perspective but is it real?
c50 | y | Most of the TSP entered measurements should be ICCP sourced. Yes ERCOT Is requesting TSPs to model SCADA maps along with ICCP till an automatic process is defined to add the SCADA counterparts. | In Nodal is there anything provided via RTU/SCADA to ERCOT? Was under the impression that Nodal was ICCP only?????? Are you indicating that MPs have to build the ICCP and the internal ERCOT SCADA points associated with the equipment? Again, this is internal to ERCOT and is not an MP responsibility. If an MP provides an ICCP point a SCADA point should be derived either automatically by ERCOT software or internally by ERCOT personnel. |  | To be discussed. Woody Hit list
c51 | y | Definitions will be added to Appendix. | Where are the definitions? | Follow it | Nothing has been added
c52 | y | Possible future schema cleanup activity. | Where is time interval specified and by whom? |  | Ok but basic question remains
c53 | y | Agreed. This is certainly a candidate for implementation review in the CIM model. ERCOT will try to provide useful templates to reduce the modeling effort in the interim. | This warrants some discussion. An MP is responsible for providing ratings on equipment. These Ratings can and should be used by ERCOT to determine real time or power flow anomalies (in general alarms for the ERCOT operator). This may be achieved by utilizing the ratings as limits or some other ERCOT described methodology (please review GTL and th approach with generic transmission limits…). If ERCOT is utilizing the ratings information should the same values be used for ERCOT limits? An MP should not be responsible for providing ERCOT limits. |  | To be discussed. Woody Hit list
c54 | n | reviewing | What about Resources? | Follow up with nitika
c55 | y | No | Is this here just for Dynamic Ratings MVA sent as ICCP???
c56 | y | Agreed. This is certainly a candidate for implementation review in the CIM model. ERCOT will try to provide useful templates to reduce the modeling effort in the interim. | For discussion sake—a rating is provided to ERCOT. ERCOT determines internal limits within its own software. What is the methodology used by ERCOT in the ERCOT applications as it pertains to what is being discussed here---ratings disguised as limits? |  | To be discussed. Woody Hit list
c57 | y | Agreed. This is certainly a candidate for implementation review in the CIM model. ERCOT will try to provide useful templates to reduce the modeling effort in the interim. | This is an internal ERCOT application issue and should not be required of the MP. This allows control of the alarming within the ERCOT software suite and should be controlled by ERCOT personnel. |  | To be discussed. Woody Hit list
c58 | y | Agreed. This is certainly a candidate for implementation review in the CIM model. ERCOT will try to provide useful templates to reduce the modeling effort in the interim. | MPs will have no control over this correct? |  | To be discussed. Woody Hit list
c59 | n | reviewing | See comment above…not for an MP to provide |  | Woody Hit list
c60 | y | Added default and modified description. | Should ERCOT be the one selecting this value? If this is the value expected when a transformer is +/-10% and has +/- 16 steps, then it is a valid request but perhaps mislabeled?? |  | To be discussed. Woody Hit list
c61 | y | Description modified. | Please provide further explanantion
c62 | y | Emergency Rating required in the Protocols is handled in "RATINGS" section. | Is this the expected Emergency Rating required in Protocols? Please use Protocol definition |  | The question was not answered
c63 | y | Description modified. | This definition does not sound right???
c64 | y | Defaulted to 'true'. Not required | This should not be an MP required field. Again, this is relative to the ERCOT Application use. |  | Basic issue of showing a required field as raised by Centerpoint
c65 | y | Rating required in the Protocols is handled in "RATINGS" section. | Is this considered to be the 15-Minute Rating described/required in the Protocols? If so, please indicate and provide Protocol definition |  | The question was not answered
c66 | y | both are defaulted to False but MP should indicate how they want their equipment to regulate, via AVR , AWR or not regulated by leaving both to False. | AVR and AWR enabled should be ERCOT items as this could be dynamic in the field (and not subject to 3.10 timelines). Asuuming the default False will suffice |  | Many of the transformers within ERCOT are manually operated wrt TapChangers. For ERCOTs Powerflow application, ERCOT may want to show AVR enabled to reflect possible changes in the field. If not ERCOT runs the risk of solving the applicatons incorrectly which would have an adverse affect on its ability to manage the grid. This attribute is only used in applications and should be managed by ERCOT.
c67 | y | Not required. This was a typo. It is required. | This is not an ERCOT Operational requirement and the MP should not be required to provide. Is this for ERCOT DTS?
c68 | y | Description modified. | Not politically correct…..
c69 | y | Tap step increment, from where Tapchanger resides | Of the transformer winding where tap changer resides?
c70 | y | Not required. This was a typo. It is required. | Should not be an MP required value |  | Still shows to be required??
c71 | y | Description modified. | Need descriptions for multiple Link Names shown
c72 | n | Needs investigation | What if the regulated voltage referenced point is in conflict within the ERCOT EMS software that has a limitation on voltage control? Is ERCOT going to change where regulation may actually be managed in the field? Point to discuss. |  | Woody Hit list
c73 | y | not derived. Needed | Should this not be derived already from the Transformer itself? This is not Protocol required. |  | Woody Hit list
c74 | y | not derived. Needed | Should this not be derived already from the Transformer itself? This is not Protocol required. |  | Woody Hit list
c75 | y | Possible future schema cleanup activity. | ERCOT should consider changing the name of this.
c76 | y | Not required | Why is this suddenly required? Probably needs to not be required.
c77 | y | yes. Non-conforming load added | Is there a non-conforming load? | Add non-conforming load
c78 | y | Description modified. | Glad this is not capitalized but then a little later (referenced as EB) it makes a leap. Is this the Electrical Bus as defined in the Protocols? If so, capitalization is required. Unfortunately, there are issues with this. There are real world loads that have multiple feeders where some feeders support a NOIE load while others support a non_NOIE load. How will this be handled by ERCOT? |  | Woody Hit list
c79 | y | Addressed as part of c78 | See comment about EBs
c80 | y | Not used by ERCOT at this time | Assume False for non-conforming???? |  | Is the assumption correct?
c81 | y | Not required | Not an MP required field. Perhaps the “Fixed Real Power” attribute should be bolded??
c82 | y | deleted | What is all this fun?
c83 | y | Not required | Not an MP required attribute. MPs should provide load values and not determine a percent of a load group that is defined by ERCOT. Tends to implie that all loads would need changed when 1 load was added to a defined group. Please explain.
c84 | y | Not required | Not an MP required attribute. MPs should provide load values and not determine a percent of a load group that is defined by ERCOT. Tends to implie that all loads would need changed when 1 load was added to a defined group. Please explain.
c85 | n |  | Please review the Topology Processing for Loads | Followup | Please provide a graphical representation of the Load heirarchy and how this relates. It appreared that ERCOT was requiring a very onerous load schedule coupled with a load percentage attribut.
c86 | y | deleted | More fun???
c87 | y | All the links shown in the tables are required. Only required links are shown in the entire document. | Are any required? Note that MPs should not be assigning Loads to Load groups per se. ERCOT defiens the SubLoad Areas |  | If all the links are required it is NOT shown that way in document. Numerous links are not bolded or mixed in with bolded links. Which is it?
c88 | y | NonConforming load details added to the doc. | Please provide information on how non-conforming loads are modeled |  | where? Could not find them.
c89 | y | Adddressed as part of c81. Not required. | See previous comment regarding percent |  | Please review as I believe it was missed.
c90 | y | Siemens internal attributes. | Is this used for display exchange?
c91 | y | Not required | This is not an MP required field. Please review
c92 | y | Not required | This is not an MP required field. Please review
c93 | y | MP should provide this data. | An MP will provide a load value but is not required to provide a load schedule for said load. Normally this value will be a peak value (today in Zonal defined as the Summer Peak). ERCOT has created the laod schedules in the past. In real time the SE overwrites any values with Load adaptation. ERCOT should continue to internally develop load schedules. |  | Woody Hit list
c94 | y | reformatted | Format changed to all caps….please review consistency… |  | Still exists. Issue is all sections above do not capitalize "Attributes" but this section and subsequent do capitalize…????
c95 | y | Sample data added | Please provide expected sample data
c96 | y | its not in rarf. Not MP required | Is this part of the RARF? |  | Should not be MP required.
c97 | y | Description modified. | Provide descriptions please
c98 | y | reformatted | Looks like grid format changed. Please address
c99 | n | needs review | Need more info on how this is used. Note that Value 2 is required but Value 1 is not????
c100 | y | will be addressed as part of c99 | See comment above???
c101 | y | Intent and grammar adjusted | Please correct grammar for intent…???
c102 | y |  | See other comment regarding this issue…
c103 | y | This is the SSWG PTI bus name. The name should follow rules set by the SSWG. | Is this the expected Electrical Bus name? Please define this a little more |  | Missed the question please address the question. Woody Hit list
c104 | y | Not required | Nope-Not an MP required field
c105 | n |  | See comment above | follow up ?
c106 | n |  | Please provide a brief description of Option1 and Option 2 for reference here and above. | follow up ?
c107 | y | Not required | Nope, please review
c108 | y | Description modified. | Does not appear to be correct
c109 | y | Description modified. | TSPs can not model Electrical Buses where Resources are if not owned or operated by the TSP. This need saddressed by ERCOT as the timing of the definition of Resource Nodes (and the subsequent Electrical Bus) is not in the heands of the TSPs.
c110 | y | Description modified. | Please capitalize Electrical Bus if this is the Protocol defined term
c111 | y | Same as C78 | Please note the issue brought up earlier about loads having feeders supporting NOIE and non-NOIE loads.
c112 | y | Description modified. | The Electrical Bus could represent a Settlement Point but in itself is not one. Is this meant to be capitalized?
c113 | y | Description modified. | Directly or through a switch? Same comment for “unit”.
c114 | n | Needs clarification | Please review an Oct 2007 TPTF meeting to look at a NPRR submitted by ERCOT related to the Resource Node issue. I notice you address these issues below but the Protocols may need changed to reflect your actions and protect the MPs |  | Review of the document should provide some indepth clarification. A Modeling Guide that is a non-Binding document when compared with the Protocols is of little value. The Protocols need changed to reflect your stated actions regarding an Electrical Bus at a Resource Nodes.
c115 | y | Description modified. | Added by ERCOT, correct?
c116 | n | Needs further review and development. | A TSP may not be involved in the definition of a Hub Bus. The Protocol language does not adequately capture this in 3.5. What Process does ERCOT have to provide notification to a TSP who may own/operate a proposed Hub Bus
c117 | y | Description modified. | Will the submitted NOMCR be attributed to ERCOT or the resident TSP |  | By creating and managing the NOMCRs, ERCOT has the reporting vlues added to their list and any Interim Updates, correct?
c118 | y | A workable process is being developed that touches numerous groups, including the Metering Group, within ERCOT. The Metering Group will provide the final internal approval to EPS modeling. For external approval, an MP10-esque data form will be provided to the RE for review. | Please explain how ERCOT metering is involved. ERCOT metering was to approve any EPS meter configuration correct? And work with the TSP metering department, correct? ERCOT was to act on behalf of the TSP to enter the metering info as a NOMCR especially in light of the fact that meters ae ignored in 3.10.7. Please provide clarification. Later in the document it is indicated that ERCOT can only create a Resource Node and a EPS Meter
c119 | n | Need more information | Please use the ERCOT Guide definition |  | The use of "TO" is improper here. Please use the defined ERCOT Guide nomenclature.
c120 | y | Will be discussed in NDSWG/SSWG joint meeting july 21st | See comment above related to this issue |  | Woody Hit list
c121 | y | PSS/E | Is it “PSS/E” or this one PSS®E? consistency |  | Still a few instances of other nomenclatures in document
c122 | y | PSS/E | See above
c123 | y | Multiple operators for equipment implemented in the schema but data entry is not allowed at this time. | Multiple Operators for a single piece of equipment must be provided and utilized by ERCOT |  | This needs further discussion. Woody Hit list
c124 | y | Dynamic ratings on both Lines and transformers is supported by EMS. | Protocols indicate that TSPs can dynamically rate equipment. It is possible that transformers could be Dynamically rated. Please review.
c125 | y | Description modified. | Registered in the database as the Owner(s) or?
c126 | y | Only ERCOT can submit data for classes from Section 27 onwards. ERCOT will be able to submit data for anything in the document. | Is ERCOT able to submit ANYTHING listed above this section? Just to be clear- a MP can not submit directly anything below this point?? |  | Did not answer the first question--I believe the answer is yes. There are some issues with classes above this cut line. Refer to Woody Hit list comments.
c127 | n | We need to add sections on VoltageLimitSets, VoltageMonitored to address this. | Plesae explain how distributed generation that may be interlinked between substations at a voltage less than transmission will be handled? | nitika
c128 | y | Not sure. Whatever is in Siebel. For communication the details in the contact object will be used. | Is this the modeler or the executive or the Client rep???? |  | Is this not an issue for communication purposes?
c129 | y | not used | Will ERCOT Planning determine this? Also ® issue
c130 | y | Not sure. Whatever is in Siebel. For communication the details in the contact object will be used. | See comment above |  | Is this not an issue for communication purposes?
c131 | y | No required attributes for company. | This is the only required field?
c132 | y | Planning populates this. ERCOT | Same comment regarding ERCOT Planning. Is this the only required field? |  | ERCOT or MP?
c133 | y | Examples, ERCOT Substations, ERCOT-AC Lines, ERCOT-Series Compensators. Sample Added to the table | Please provide examples. Also, required fields? |  | Perhaps I should have said in the table. The table is incomplete.
c134 | y | The definition is correct per section 2.1 or the protocols | A Hub Bus may contain de-energized Electrical Buses but the calculation for a Hub Bus price only includes the energized Electrical Buses. Is this what you mean? |  | Think you better review this issue especially when you look at 3.5.1 (1) where ERCOT is to provide list of Electrical Buses. The paraphrased definition of a hub does not denote energized or not. Are you providing a list of energized EBs or Ebs that may be part of the HUB??? Impacts NMMS output
c135 | y | No attributes | No attributes???? |  | There was one added?
c136 | y | IMM shows it as TEID or Transmission Element id. Not consistent. Made it consitent | Is it “teid” or “TEID” or “TransmissionElementID”?? There are different references throughout document |  | That is unfortunate. Has Siemens been asked to address issue?
c137 | y | reformatted | Format???
c138 | y | IMM shows it as TEID or Transmission Element id. Not consistent. Made it consitent | See comment above about teid TEID etc |  | That is unfortunate. Has Siemens been asked to address issue?
c139 | y | Description modified. | The Electrical Bus needs defined by and maintained by ERCOT. Please re-iterate that concept here.
c140 | y | There is only a single ResourceNode class. The use of ResourceNode is determined from its associations (e.g. associated with a GeneratingUnit or PrivateAreaNetwork). | Isn’t there different types of resource nodes?
c141 | y | IdentifiedObject.Name is the Resource Node’s name. | Really? What is the name? Is it bsorbing the Electrical Bus Name? |  | Since maintained by ERCOT I have no dog in the hunt but as an MP--where does the name come from?
c142 | y | see c78 | Please address the issue earlier discussed reagring multiple feededs to multiple zone under one physicalload bank in the field.
c143 | y | reformatted | Format???
c144 | y | reformatted | Format???
c145 | y | Need more information. Ercot Planners will define this. | Is this required here? Is there a more definitive definition that should be provided? |  | This ties into who is repsonsible.
c146 | y | reformatted | format
c147 | y | reformatted | to italicize???
c148 | y | ERCOT is the operator for ResourceController | Is ERCOT the operator? Or are they ghost editing on behalf of an operator?
c149 | y | RARF has a separate separate document that lists the required attributes. We have marked only the attributes required by ERCOT systems, as required. RARF might have more required attributes. | Any way to denote what is provided on the RARF and is required? It appears the required fields need reviewed to ensure accuracy. There does not seem to be enough of them???? Also, if referencing a Protocol term it may prove beneficial to use the capitalization of the term |  | So are you taking the approach to not show required field here? Or what? Unclear as to the formatting provided when comment is reviewed.
c150 | y | Description modified. | Please define
c151 | n | Need more information. Description modified | Are you going to identify what is Operator Enterable like attribute above? May prove to be helpful. |  | On the previous attribute "maximumCurrentCapacity" there is a comment where it is "Operator Enterable". On the attribute where the comment resides "maximumCurrentCapacityRef", there is a comment where it is "Entered in modeling". Would suggest removing both references about entering as it leads to an expectation to list where all attributes "entering" portal resides.
c152 | y | Planning and TO's have to come with the value. | Is this in the RARF? Is “psseid” the correct attribute in terms of format? |  | So it is not contained in RARF. Please describe proposed method of introduction into model. Als, is the "psseid" here a Siemens non-consistency issue?
c153 | y | Description modified. Modified through out the document. | What? Please provide explanation |  | Needs reviewed in entire document
c154 | y | reformatted. Modified through out the document. | Only reason other titles were deleted was consistentcy in document…sometimes these are provided but most times titles were not |  | Please review entire document use of titles for tables. Again, in some places they are used but in others they are not.
c155 | y | (optional) link which points to the breaker that operates during start/stop of the Unit. Used for DTS. | Ditto—What is this? Is it for DTS?
c156 | y | There are multiple validation rules concerning ResourceNodes | Is there a validation rule for this? Think it should read “shall”
c157 | y | Modified through out the document. | May need to review formatting of figure title language |  | Please review entire document use of titles for tables. Again, in some places they are used but in others they are not.
c158 | y | RARF has a separate separate document that lists the required attributes. We have marked only the attributes required by ERCOT systems, as required. RARF might have more required attributes. | Would review required field indicated. Same comment as before-what is on RARF and is required? |  | So are you taking the approach to not show required field here? Or what? Unclear as to the formatting provided when comment is reviewed.
c159 | y | Not to Title. Reviewed and modified | To title or not to title J |  | Please review entire document use of titles for tables. Again, in some places they are used but in others they are not.
c160 | y | comment modified | Is this X’ ??or is the xSubtrans X’?
c161 | y | flag used to determined if the AVR (Automatic Voltage Regulator) is enabled | Description please
c162 | y | Attributes names are shown as displayed in IMM. The display is not consistent. Modified in the entire document | Is format correct |  | That is unfortunate. Has Siemens been asked to address issue?
c163 | y | no change | Which is X’’d????
c164 | y | changed to x"q | Isn’t this or “xQuadTrans” a X’’q vaue? |  | Please review
c165 | y | Description modified. | Info??? |  | Please review
c166 | y | Description modified. | Info??? |  | Please review
c167 | y | Description modified. | Info??? |  | Please review
c168 | y | Description modified. | Capitalized or no? Italicized?
c169 | y | Unused. Ideally should not be, but since we can not delete the attributes now and they show up on the screen, left it here. | In terms of what? |  | Should it be in the document?
c170 | y | Unused. Ideally should not be, but since we can not delete the attributes now and they show up on the screen, left it here. | What is this |  | Should it be in the document?
c171 | y | Description modified. | Is this a general comment that could be provided at start of doc..?? |  | Think you would be better served moving it up into a general setion at start of document versus deletion.
c172 | y | Description modified. | Where is this defined (or used as an acronym first….??)
c173 | y | RARF has a separate separate document that lists the required attributes. We have marked only the attributes required by ERCOT systems, as required. RARF might have more required attributes. | How is the relationship to the RARF provided info shown?? Again, recommend review of bolded items J |  | So are you taking the approach to not show required field here? Or what? Unclear as to the formatting provided when comment is reviewed.
c174 | y | Description modified. | Info?
c175 | y | They were in sync with Registrion. Will review againg. | Need reviewed for required and relationship to registration documentation
c176 | n | needs further research | Is this the name of the load as provided by the TSP MP? |  | Woody Hit List
c177 | n | needs further research | How is this provided to ERCOT? How does ERCOT interpret the ICCP information regarding a Load Resource attached to an Energy Consumer? |  | Woody Hit List
c178 | y | Link descriptions added | Need info on both linkages
c179 | y | LowReasonability and HighReasonability are split across owners based on the percentage ownership. No it is not. | Is reactive power distributed on Ownership? |  | Missed the question--for reactive power or not?
c180 | y | Latitude not used. | What format of Lat?long is ERCOT using?? |  | How is ERCOT creating the system one line?
c181 | n | reviewing | Info?? | Followup
c182 | y | Flowgate Groups are Biddable NOT Flowgate Elements. No one is using this attribute at this time. | Are the flowgates biddable or just the flow gate element? |  | Then should biddable be an attribute of FlowGateGroup?
c183 | y | Description modified. | Do all Flowgate require an EPS meter? If so, then thi needs added in the EPS meter section and the discussion regarding responsibility of placement of Electrical Buses and EPS meters…. |  | Question still needs answered? How do you get metered flow?
c184 | y | Ownership records are created based on the data from registration. The actual association to an equipment will be done by the creator in ptc. | ERCOT sets the owners up via what method? Where and when does it get data? |  | This begs Bogen's question of non-registered entities being used as Owners.
c185 | y | reviewing. Unused | This does not seem to be the right definition for the attribute???? | Followup | Definitely wrong though, correct?
c186 | y | Description modified. There is a rule | Will? Is there a rule?
c187 | y | Description modified. | Data types for these attributes?
c188 | n |  | How are these lines and the associated corridors provided? | nitika | Woody Hit List
c189 | y | links and rules | Are these links or just statements? |  | If they are a link they should be in the table correct?
c190 | n | detailed process that has not been drafted- Needs Process/Procedure Review | Warrants further discussion. Please provide the ERCOT process and expectations regarding this issue. Currently Contingencies are not provided by MPs. Froma paper presentation only, this may need moved up to the MP submittal area in the document. The discussion may help flesh that out |  | Woody Hit List
c191 | n | Still under review | What is required?
c192 | n | Needs Process/Procedure Review | Would this not be defined by ERCOT after approval of an SPS |  | Woody Hit List
c193 | n | max time? Ercot needs to add default- Temporal Model, so do we need this? Need reviewed | What is the max time that can be set?
c194 | y | currently defaulted. | Who is you? And this is only relevant for a unit loss?
c195 | y | Description modified. | you who?
c196 | y | Mentioned in Protocols 5.5.1.5 Concerning the Security Sequence, Internal Ercot process to set a default to 0 or 1? Needs further review. | Is this defined in the Protocols or is this an internal ERCOT process?? |  | Woody Hit List
c197 | y | Temporal Model, so do we need this? Need review | Is this not set by the NOMCR? |  | Woody Hit List
c198 | y | Description modified. | Is this within a single contingency definition? There are cases where Breaker X is a name used by several companies in different parts of the state. Please elaborate
c199 | n | Needs to be reviewed | Please elaborate on this attribute
c200 | n | Question of whether RAS/Contingency belongs in MP or Ercot modeled cuz both do it | Should this be moved up where the MP adjust classes or is it here because it is a SAMR? Where exactly do SAMRs fit in this guide? Also- will these NOMCRs be attributed to ERCOT and subject to Interim Updates? |  | woody hit list
c201 | y | reformatted | Multiple formatting questions in this paragraph
c202 | y | None Bolded | None bolded???
c203 | n | Needs further review. Should there not be an SPS flg, RAPC flag attribute? Currently only RAP and PAS | Aren’t these all RASes? Should there not be an SPS flg, RAPC flag (attribute??) )
c204 | y | No required links. | Are there instances where a RAS may not be associated with a defineable contingency? Flow of path X and flow of path B require Path Z to open…
c205 | y | Description modified. | None bolded???
c206 | y | No required links. | Bolded?
c207 | y | Bolded | Bolded?
c208 | y | No required links. | Bolded??
c209 | y | Intent and grammar adjusted | Please review grammar and intent of sentence
c210 | y | Intent and grammar adjusted | Grammar and intent??
c211 | n | reviewing | Info? | Followup
c212 | y | Description modified. | Maybe some examples with some verbiage added above to complement this table???
c213 | y | Intent and grammar adjusted | Grammar and intent
c214 | y | Intent and grammar adjusted | Grammar and intent
c215 | y | Description modified. No bold | No bolded attributes
c216 | y | Description modified. | Same comment as other Protective Action link table
c217 | y | Description modified. No bold | None shown
c218 | n | reviewing | Info? | followup
c219 | y | reformatted | Format issues? Italicized? Below too
c220 | n | reviewing | Info? | followup
c221 | y | none required | None shown
c222 | y | none required | None shown
c223 | n | Could not find anything in Protocols | This may be internal to ERCOT but what is the Protocol wording here…and above in the Emergency limit???? |  | The use of the wording "branch loadshed limit" is not Protocol based ie Normal Rating, 15-Minute Rating, and Emergency Rating.
c224 | n | need clarification | Is this a good ref? |  | Look at text as it contains "::"…
c225 | y | That’s the name in the model currently. | Is this just a sample pathname?
c226 | y | reformatted | Format…multiple places |  | Needs reviewed as many places not captured
c227 | y | none required | None bolded
c228 | y | ERCOT only section. | Please verify that the cutoff on MP classes occurred a long time ago in this document and that all calluses/instances thereafter are ERCOTs responsibility
c229 | y | no bolds | No bolds?
c230 | n | Needs further review. Looks like a good candidate for removal. | Please explain difference between Minimum Reactive Power and Minimum MVAR, etc, etc??? |  | Several candidates…(Min/Max MW/MVAR)
c231 | y | none required | Bolded?

## Austin (2)
Comments | ERCOT Action | Ercot Action | Actual comment | Raju comments | Ercot Comments
1 | y | Description modified | Added to capture Resource Owned Transmission Elements added by ERCOT. May be better in 1.1.1 ???
2 | y | Links checked for consistency | Please review this title format in document and table of contents for consistency.
3 | y | Links bolded | Please determine if these linkages are to be bolded. If the tables only show required links, then maybe NO bolding is needed. Review consistency
4 | y | Description modified | Is this properly placed in the document? Confused by the wording “The appendix”??
5 | n | Links will be added later | May be better to provide a link to a website so that anytime one of these changes you do not have to change document??
6 | n |  | As indicated in other comments, this is subject to debate |  | Further Discussion
7 | y | wording adjusted | Good recognition of the need for a figure
8 | y | attributes are being reviewed to figure out if they are needed. Verify only if possible and known. | In several cases there will not be a way for the TSP to “verify” accuracy especially n cases where the attribute has not been horoughly discussed and ageed upon by the NDSWG (votlage sensitivity attribute comes to mind)
9 | y | Links have been reviewed and only required links are listed and are also bolded. | Please insure that the links listed are the required links and that no others are required (there is still some bolding/non-bolding present)
10 | y | option 1, option 2 deleted in the document | Option 1 reference..please see ecell spreadsheet comments
11 | y | Verbiage added everywhere. | Suggest adding the verbiage anywhere Operatorship is described…
12 | y | It is defaulted to "1". If there are more than 1 shunt, then ERCOT needs to know the order. | Not an MP provided value
13 | y | Not required | Not an MP provided value |  | ERCOT will add a default.
14 | y | Not required | Please review spreadsheet comment.
15 | y | explained in the last column | How does his impact access and accountability? |  | If someone needs to add a switch under a substation that they do not own, then they should have the owner of substation add the switch for them and then make them the owner of the equipment.
16 | y | Reviewed in the excel spreadsheet. | Please review excel spreadsheet comments
17 | n |  | This “may” may cause ERCOT issues in the future. Are you sure that door should remain open?? |  | Woody will discuss further.
18 | n |  | This needs discussed further. It is not in the best interest of ERCOT to have an MP define a calculation. |  | Woody will discuss further.
19 | y | Capped. | Should this be capped?
20 | y | yes. | Assume X for both???
21 | y | Description modified. Everything will be sourced from ICCP. | What would not be provided via ICCP?
22 | n |  | To be discussed. This does not sound like a request at this point. |  | Woody will discuss further.
23 | y | Appendix will be added | Please review excel spreadsheet comments
24 | y | Defaults modified | Suggest review of these default values for Remote Site
25 | y | reviewed | Please review replacement of IMM in entire document as this was affected but has been changed back
26 | y | No changes done. Every time a attribute is referenced, it always says attribute 'xxx' | Please review format for attributes within document….
27 | y | No changes done. Every time a attribute is referenced, it always says attribute 'xxx' | Format?
28 | y | Atleast one limitset for in and another for out. | You are indictaing a need for multiple limit sets regardless of flowing in/out of ERCOT
29 | y | Needed from MP | Not an MP provided attribute |  | Woody will discuss further.
30 | y | Not required | Not an MP field
31 | n |  | What is expected here as it relates to the Protocol required ratings? |  | Woody will discuss further.
32 | y | Description modified. | Is format correct? Review rest of doc for this description
33 | y | attribute should be reviewed by MP's while submitting. | Internal ERCOT attribute needed for APs. Please review excel spreadsheet
34 | y | Required. This was a typo. It is required. | Comments said this was not required????
35 | y | Document updated to call it teid. | Please review use TEID, teid, and Transmission Element ID in the attribute column of the whole document….
36 | y | In this section there are some links that are conditionally required. There are not many cases like this. | Perfect example of mixing of Bold and Non-Bold in the Links tables
37 | y | changed everywhere to PSS/E | Need the registered trademark or no????Or is this the Siemens issue on non-consistency?
38 | n |  | This was the approach discussed by ERCOT and the NDSWG but not approved. Suggest highlighting issue (and provide example) showing modeling |  | Woody will discuss further
39 | y | Not required. FixedRealPower is needed. | Should not be bolded. Perhaps should be “Fixed Real Power”, as indicated in comments before….
40 | y | Should be one word. | I separated this once into two words…should it be?
41 | y | Not required. FixedRealPower is needed. | Think this was missed. Probably should be “Fixed Real Power”
42 | y | Not required. | Required???
43 | n |  | Move to ERCOT only |  | check with Woody
44 | y | adjusted | Format of table needs adjusted?
45 | y | same as 43 above | Please review excel spreadsheet for this entire class??
46 | y | corrected | Is this spelled correctly?
47 | y | path name added. | Where are the path names? An example?
48 | y | description modified | What is “B”
49 | y | description modified | Same as “B” and furher more D and E,,, I see you are trying to present a generic example??
50 | y | Description modified | Is this referenced grammatically correct (italisized,cpas where needed, etc??)
51 | y | Description modified | Registered trademark
52 | y | Description modified | Reference??
53 | y | Description modified | Registered trademark
54 | y | Description modified | Reference??
55 | y | Description modified | Registered trademark
56 | y | Description modified | Registered trademark
57 | y | It is called TEID everywhere now. | Consistency
58 | n | BusbarSection to be added. | Not contained within document provided??
59 | n | Seems correct. Is something wrong. | Please review this comment
60 | y | description provided. | Provide description
61 | y | description modified | Undefined term. See comment spreadsheet
62 | y | its PSS/E now | Need registered trademarks for PSSE
63 | y | its PSS/E now | Used occasionally- Please review document for use of this versus ®.
64 | y | description modified | reference
65 | y | description modified | reference
66 | y | description modified | does not seem to be a correct description
67 | y | Added data types | Attribute table is incomplete
68 | y | sample data modified | Not sure about the examples given
69 | y | Figure has a title now. | No figure number provide. Figure has no title
70 | y | PSS/E | Registered trademark?
71 | y | Completed | Please complete table
72 | y | section no. added. | Which section? 18 or 19?
73 | y | description modified. | Please use this in other places where wfrmcr is used….
74 | y | description modified. | description
75 | y | description modified. | Nice approach but missed same issue a few paragraphs ago…see comment above
76 | n |  | Please review X’q and X’’q attributes. It has been too long since I have been in college but just does not look consistent with X’d and X’’d attribute names……..
77 | y | description modified | Link issue or did you mean to remove
78 | y | description modified | Description?
79 | y | description modified | Better description??
80 | y | titles removed | Please review use of Table title for entire document. Original comment indicated this could be pervasive.
81 | y | description modified | What is this?
82 | y | Figure references have no Number | Are you intending to just say ‘figure” or say “Figure X”? I see mixed refs and started to add things but…..
83 | y | bolding adjusted | Review formatting (bolded all of row or not?)
84 | y | removed | Did you remove these from other tables?
85 | y | description modified | Please add McCamey blah blah blah here…
86 | y | Description added | No description provided
87 | y | Should be, but no one asked. | Should “biddable” be in Flowgategroup instead?
88 | y | unused | This is an incorrect description.
89 | y | Formatting fixed. Ercot will create the opertorship records. MP's have to just drag and drop the right operator to their equipment. | Does this mean that ERCOT can be the only one designating an Operator? Also- Look at format—lots of places say “Modeling Approach” while many others say “Modeling Approach of XXXX”
90 | y | Agreed. Deleted. | This does not fit nicely here. Please see excel spreadsheet
91 | n |  | To be discussed |  | Woody will discuss further.
92 | y | Description modified. | In some cases there is an indication like “True” versus “T”..Please review consistency
93 | y | This will not happen since there is a validation rule to prevent this. | How is this presented to the operators and utilized within the EMS?
94 | y | is covered in Training. | Will there be any training on the use of SAMRS?
95 | y | reformatted | Check format
96 | y | description modified | No description provided????
97 | y | description modified | Description
98 | y | description modified | Description?
99 | y | description modified | description
100 | y | description modified. Defaults are defined only for a few. | This comment is used several times but may of the attributes do not list a default value???
101 | y | reformatted | Formatting of this and next paragraph--classes
102 | y | reformatted | Format of classes