## Get Reports
Section Ref | Market Info Section | Comments | EMIL Index # | Product Name | PSEG TX Comments
4.3.21 | Load Distribution Factors | Available using 'Get Reports' function; a very large daily file ~200 MB. | NP4 - 159 - CD | Load Forecast Distribution Factors | hourly update required under Protocols 6.3.2(3)(e)
4.3.22 | Shift Factor | Available using 'Get Reports' function; a very large file. | SYS - 608 - CD | Shift Factors
4.3.16 | Dynamic ratings | Available using 'Get Reports' function; a very large file. | NP3 - 217 - CD | Temperature Adjusted Dynamic Ratings | What is the anticipated update frequency of this report?
4.3.18 | Total Regulation | Available using 'Get Reports' function; large file | NP6 - 654 - ER | Total Amount of Regulation Service Deployed | What is the anticipated update frequency of this report?
4.3.42 | Average monthly Dynamic deviation | Available using 'Get Reports' function; monthly report; large file | NP6 - 216 - ER

## MIS Display
Section Ref | Market Info Section | Comments | EMIL Index # | Product Name | PSEG TXcomments
4.3.34 | Frequency | Available on MIS dashboard; not stored. Real time, provided through ICCP | SYS - 270 - CD | Real-Time Frequency Measurement
4.3.44 | Total ERCOT Generation | Available on MIS dashboard only; not stored | NP4 - 658 - UI | Total ERCOT Generation | hourly posting of integrated value by settlement interval required under Protocols 6.3.2(3)(d)
4.3.35 | Responsive Reserve Capacity | Available as a display on MIS. No report history is needed per TPTF agreement. | NP6 - 904 - CD | System Parameters | Protocols 6.5.7.5(1)(a)-(c) requires Real-Time posting of undeployed AS for RRS--by provider type.
4.3.36 | Non-Spinning Reserve |  |  |  | Protocols 6.5.7.5(1)(d)-(g) requires Real-Time posting of undeployed AS for RRS--by provider type.
4.3.37 | Undeployed Reg-Up and Reg-Down |  |  |  | Protocols 6.5.7.5(1)(h) requires Real-Time posting of undeployed AS for RRS--by provider type.
4.3.38 | Available Capacity |  |  |  | Available capacity, in aggregate on a forward looking basis must be posted under Protocols 3.2.3. Did TPTF agreement eliminate this requirement? Please provide citation of TPTF agreement. Protocols 6.5.7.5(1)(i) - (l) requires Real-Time posting of available capacity.
4.3.45 | Total ERCOT Generation Operating Reserve |  |  |  | Available reserve, in aggregate on a forward looking basis must be posted under Protocols 3.2.1(1) - (4). Did TPTF agreement eliminate this requirement? Please provide citation of TPTF agreement. Additionally, Protocols 6.5.7.5(1)(m) requires Real-Time posting of undeployed AS for RRS--by provider type.

## Downloadable
Section Ref | Market Info Section | Comments | EMIL Index # | Product Name | PSEG TX Comments
4.3.30 | Derated CRRs | Data Included as part of DAM settlements extracts | NP4 - 199 - CD | Derated CRRs
4.3.23 | Customer Load Profile | Covered by existing zonal report that will persist. Available via Report Explorer | ZP18 - 67 | Customer Load Profile | Protocols 4.2.3(f) requires posting of this information . Appears from comment at left that this will continue.
4.3.32 | List of Zones, Hubs, or Buses | Inclusive of the MIS posting of the network model. | NP3 - 450 | List of Zones, Hubs, and Buses | This information must be posted separately as required by Protocols 3.5.3.1. Including it as part of a larger data set such as the Network Operations Model---which appears to be the proposal at left-- does not meet the requirement of Protocols: 3.5.3.1. This section clearly states: "ERCOT shall post a list of all the Hub Buses included in each Hub on the MIS Public Area." | Protocols 3.5.191) requires ERCOT to post: "the list of Electrical Buses…that are part of a Hub on the MIS Public Area." Protocols 4.2.3(h) and (i) clearly requires separate posting of this information daily.

## No requirement
Section Ref | Market Info Section | Comments | EMIL Index # | Product Name | PSEG TX Comments
4.3.17 | Voltage Profiles | Protocol change removed this as a requirement - NPRR092 |  | Voltage Profiles
4.3.26 | Unit Availability | No protocol traceability for this item (RMR & Black Start unit availability). In addition, Black Start unit status is protected information. |  | Unit Availability | Protocols 3.14.1 (1)(i) requires significant posting of information relative to RMR units. Specifically it states: "all information" of which availability would be a required point of information. Additionally, 3.14.1.3 has other required RMR postings. QSES with RMR & Blackstart Resources must indicate availability to ERCOT daily by 0600 under 4.3(2). And, more importantly, RMR availability is required for settlements to be able to calculate the availability factor. | Unit availability is also required for ERCOT to be able to comply with posting reuqirements in 3.2.3.
4.3.33 | Area Control Error | No protocol traceability for this item. |  | Area Control Error
4.3.41 | Dynamic ratings deviation adjusted-current Temp | No protocol traceability. Was included to support a MIS requirement that no longer exists. |  |  | hourly posting of required under Protocols 6.3.2(3)(a)-- changes in system conditions that affect dynamic ratings (may include such items as temp and windspeed) must be posted. Also, inputs to the SFT for the CRR auctions require historical temperature data to develop relevant dynamic ratings. | Protocols 3.10(4) reqires posting of this information--each time the Network Operations Model is published. Protocols 3.10.8(3) specifically requires hourly posting of Dunamic Ratings adjusted for current temperature. Also, 3.10.8.4(1) requires that ERCOT provide a "system to accept and implement Dynamic Ratings or temperatures to be applied to rating tables for each hour in the Day-Ahead and in the Operating Hour."
| continued discussion of dynamic rating postings |  |  |  | Protocols 4.2.3(b) requires posting of dynamic ratings information no later than 0600 every day for the DA--weather assumptions used in the Dynamic Ratings Processor. | Protocols 6.5.7.1.7(1) requires posting of dynamic rating information "in a form that allows Market Participants to directly upload Real-Time data into the CIM."