2705 West Lake Drive

Taylor, Texas 76574

(512) 248-6800

HTTP://WWW.ERCOT.COM

COMS

Determination of Operations and Maintenance Costs (O&M) when there is no Documented History

V0.01

July 15, 2009

Revision History

| Revision | Comments | Date | Author |
| --- | --- | --- | --- |
| v0.01 | Initial version | 7-15-2009 | Ino Gonzalez for the VCWG |

Table of Contents

Section 1 – Introduction	4

Section 2 – Statement of Purpose	4

Section 3 – Proposal for Establishing O&M Costs	5

# Section 1 – Introduction

The objective of this White Paper is to provide guidelines for determination of Operations and Maintenance (O&M) costs when the Filing Entity does not have historical O&M cost.  These guidelines, once adopted by WMS, will be incorporated into the Verifiable Cost Manual and become part of the process for submitting verifiable cost data to ERCOT.

If any provision in this document is in conflict with the Nodal Protocols, then the Protocols prevail to the extent of the inconsistency.

# Section 2 – Statement of Purpose

The Nodal Protocols allow QSEs or Resource Entities to submit O&M cost data for Generation Resources to ERCOT to be used in place of Resource-specific generic cost data.  The Verifiable Cost Manual contains rules for the submission of such O&M cost data, including the prescribed format for submission and the period of maintenance cost history which has been judged by Market Participants to be adequate to capture sufficient historical data.

The Verifiable Cost Manual states that Filing Entities must provide ten years of Resource maintenance history to ERCOT or Manufacturers recommendation to support maintenance cost input. If the Resource was recently acquired-used and the Resource Entity (RE) does not have any historical costs to create the verifiable cost data points, the only available option for the RE is to accept generic costs, which may not be sufficient to cover future O&M costs.

The purpose of this White Paper is to provide recommendations to WMS for a process to develop a Reference Resource which would be used to determine O&M cost data for Resources with no O&M history.

# Section 3 – Proposal for Establishing O&M Costs

For Resources with no O&M data history the following applies:

- ERCOT will create a Reference Resource to serve as a proxy for Resources with no O&M cost history.

- The Reference Resource will be chosen from the list of Equivalent Resources (ER) for which Verifiable Costs have been approved and which meet the following criteria:

    - Same Resource Technology

    - Same Primary fuel type

    - High Sustained Limit of the ER must be within plus or minus 30% of the HSL of the Resource for which maintenance data are required.

    - Commercial operation date (COD) of the ER must be within 5 years of the COD of the Resource for which maintenance data are required.

- ERCOT will select the Reference Resource from all ERs which meet the criteria in Paragraph 2 above.

- ERCOT will select the ER with the highest approved O&M costs.  The Reference Resource cost will be set equal to seventy percent (70%) of the cost of the ER with the highest approved O&M costs.

- The Resource which requires O&M cost data will have its cost data set at the cost of the selected Reference Resource.

- Reference Resources will be determined separately for O&M costs for each of the Start types: Cold, Intermediate and Hot and for O&M costs at Minimum Energy.

- Resources with no O&M costs history who choose or are required to submit verifiable costs must submit to ERCOT updated actual costs on an annual basis for the following two years after initial assignment of costs as described in (5) above.  Updates must be based on actual O&M cost incurred the previous calendar year.  ERCOT will utilize these updates to ensure that the previously approved costs are still valid.  If the Filing Entity fails to update costs annually, the Resource cost will be set to generic.

- After a period of two years and two months ERCOT will “uncap” the Resource and approve the O&M based on actual documented costs filed the previous two years.  If the Filing Entity has not submitted updated costs and received approval by the end of the two year and two month term, all cost will be generic.

- The Filing Entity must provide to ERCOT the following information in addition to the other filing requirements defined in the Verifiable Cost Manual:

    - The date of commercial operation of the Resource

    - The original equipment O&M recommendations if available to the Filing Entity.

- ERCOT will notify the Filing Entity of the costs assigned to the Resource within 3 days of the ERCOT’s determination.

- Reference Resources will be calculated monthly similarly to how emissions costs are determined as described in the VC Manual.

- In the event that Verifiable Costs for ERs do not exist, ERCOT will use the underlying Resource actual fuel volumes submitted by the QSE for startup and operation at LSL and the Resource Category Startup Offer Generic Costs as the cap for the O&M portion of the startup costs until ERCOT receives and has approved ER specific Verifiable Costs.  The generic cost for operation at LSL includes no O&M cost, therefore, when no ER is available, zero O&M cost will be added to the fuel cost at LSL.

- For Resources without a Reference Resource the Resource Category Startup Offer Generic Costs represents the cost of the Resource for a cold start.  Costs for intermediate and hot start costs will bear a relationship to cold start costs of approximately 70% and 50%, respectively, as follows:

  - Cost of hot start = Cost of cold start x 0.5

  - Cost of intermediate start = Cost of cold start x 0.7