OWG Report to ROS

July 16, 2009

The Operations Working Group (OWG) met June 17, 2009.

On June 16th, the OWG met for it regularly scheduled meeting. During the meeting the following items were discussed:

The OTF report by Stan Morris stated that the group will review NOGRR 025 comments when they come in.  Winter Drill Plan will be distributed to members then turned over to ERCOT to prepare the OTS.

The BSTF Report - Kelly Blackmer states that April 5 – May 13 are the tentative dates for next year’s Black Start training.  Would like TRE to move the Operations Seminar earlier before Black Start training, TRE didn’t have a problem with that.  Hurricane Drill will be after Black Start training on the ERCOT OTS.  Kelly will send a survey out to get an idea of how many operators will be attending and their day preference. Seminar Working Group meets 7/15 to approve Black Start Training times.

The TRE report :

Brent stated that TRE was adding a FAQ section to website.  They are still working on LSE issues.

The OWG reviewed the following:

OGRR 217 Relay Misoperation Report Format Change – This OGRR was posted in January 6th, 2009. Glen Hargrave, Chairman-SPWG,  reported that the character limitation will be 32000+.    The OWG worked off the final SPWG comments and made some minor word changes with SPWG approval.  The OWG will review the Impact Analysis at it next meeting. The recommendation by OWG should be at the August ROS meeting. A separate OGRR will be submitted to revise the language that referrers to the 5 day requirement for Misoperation Reports upon ERCOT’s request.

OGRR 223 Real Time Production Potential – OWG, at the request of QMWG, tabled this OGRR for an undetermined amount of time.  QMWG wants time to gather data and revised language. The accompanying PRR811 will also be tabled.

OGRR 225 Quick Start Units Qualification Ramp Period – The OWG reviewed this OGRR. The Impact analysis will be reviewed at the July meeting of OWG. The recommendation by OWG should be at the August ROS meeting. The effective date will   need to be sync’d with the implementation date for the 14-minute ramp rate change which is schedule for 10/29/09.

OGRR 226 Generation Resource Response Time Requirement – The OWG reviewed this OGRR. The Impact analysis will be reviewed at the July meeting of OWG. The recommendation by OWG should be at the August ROS meeting.

OGRR 229 Synchronization with PRR804, Revision to Section 21 Appeal Process and IA – OWG recommends approval of this OGRR.

NOGRR 025 Monitoring Programs – The OWG chair asked group to review NOGRR.  Isabel stated that PUCT/TRE will be submitting PRRs regarding metrics and group should be on the look out for those.

OGRR 224 Special Protection System (SPS) Operations Under No Contingency – The OWG reviewed this OGRR. During this review, the TRE and ERCOT made additional modifications (i.e.  Monthly reports from SPS runbacks are due to ERCOT by the TOs and ERCOT will send to TRE in a format to the TRE’s specifications.).The Impact analysis will be reviewed at the July meeting of OWG. The recommendation by OWG should be at the August ROS meeting.

OGRR 230 - Administrative Changes for July 1st – OWG approved OGRR and IA

The OWG Scope may be presented to ROS at the August meeting.

The next OWG meeting is scheduled for July 27th.