## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
July 9, 2009

## Slide 2: PRS Summary
5 PRRs for Approval
5 NPRRs for Approval
0 Withdrawal Notices
Unfunded Project Lists Update
Current Discussions
  Other Binding Documents

## Slide 3: Revision Requests Unanimously Recommended for Approval with No Impacts

## Slide 4: PRR 787 Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)
Purpose (IPA) | Adds language to the Protocols that defines if and when a non-compliance event occurs in regards to QSE performance standards | 
Benefit | Increased clarity and transparency of the Protocols. | 
Market Impact | N/A | 
System Change | No | 
Assumptions | N/A | 
PRS Vote | PRS unanimously recommend approval as amended by 6/17/09 Luminant comments, 6/8/09 Wind Coalition comments and as revised by PRS. All Market Segments were present. | 
CEO Determination | No opinion on necessity prior to nodal go-live | 
Effective Date | September 1, 2009 | 

## Slide 5: PRR 787 Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 6: NPRR 158 – EILS Self-Provision Formula Correction and Clarification
Purpose (ERCOT) | Proposes to correct terms contained in the Settlement equations related to EILS Self-Provision to make the formulas consistent with the verbal description of EILS Self-Provision Settlement and the author’s stated original intent. | 
Benefit | Clarity in the Nodal Protocols | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as amended by COPS comments. All Market Segments were present. | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 
Notes: WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.

## Slide 7: NPRR 158 – EILS Self-Provision Formula Correction and Clarification
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 8: NPRR175 – Hub Bus List Clarification
Purpose (ERCOT) | Updates the Hub lists to reflect the current network model by removing Hub Bus SHRTP which was a construct of planning and does not exist; and also by renaming Hub Bus FPPYD, which was actually two substations that were amalgamated for planning reasons, to FPPYD1 and FPPYD2. | 
Benefit | Provides clarification of Protocol language to ensure that Hub prices are calculated correctly and as expected. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as submitted; All Market Segments were present. | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 9: NPRR175 – Hub Bus List Clarification
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 10: NPRR176 – Resource Status Input to RUC and Ancillary Service Awards from RUC
Purpose (ERCOT) | Provides clarity to the Nodal Protocols. Resources committed by Day-Ahead Market (DAM) are not considered as On-Line by Reliability Unit Commitment (RUC) unless a Qualified Scheduling Entity (QSE) has changed the Resource Status to On-Line in the Current Operating Plan (COP) for that hour. | 
Benefit | Clarity in Nodal Protocol language is achieved. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as amended by Luminant comments; All Market Segments were present. | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 11: NPRR175 – Hub Bus List Clarification
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 12: Revision Requests Not Unanimously Recommended for Approval with No Impacts

## Slide 13: PRR 801 – Manual TCR Adjustments
Purpose (ERCOT) | Revises Section 7.5.3.1, Annual and Monthly Auction Summary, to provide a description of the process used by ERCOT to achieve revenue neutrality in the monthly TCR auction. | 
Benefit | Reduce impact to Balancing Energy Neutrality Adjustment (BENA) and reduce amount of oversold TCRs | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | Remanded back to PRS by TAC to clarify revenue neutrality - PRS voted to recommend approval as amended by WMS comments with one opposing vote from the Independent Generators and one abstention from the IOU Market Segment. | 
CEO Determination | Pending | 
Effective Date | September 1, 2009 | 
Notes: WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.

## Slide 14: PRR 801 – Manual TCR Adjustments
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 15: PRR 810 – Remove McCamey Congestion Management
Purpose (Potomac) | The need to manage congestion related to high levels of wind generation is no longer unique to the McCamey Area. Line and voltage equipment upgrades in the McCamey Area have greatly increased the capability to export generation from the area. | 
Benefit | This allows ERCOT operators to consistently analyze all Resources and will allow more effective Congestion management throughout the West zone. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with one abstention from the IREP Market Segment. All Market Segments were present. | 
CEO Determination | Pending | 
Effective Date | September 1, 2009 | 

## Slide 16: PRR 810 – Remove McCamey Congestion Management
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 17: PRR 812 – Wind Generator Forecast for Scheduling Metric
Purpose (Wind Coalition) | Adds a requirement for Wind-powered Generation Resources (WGRs) to update Resource Plans and schedules every hour using the ERCOT provided most likely Short-Term Wind Power Forecast (STWPF) as the standard for accuracy. | 
Benefit | More predictable results for deployment and more accurate settlement calculations. | 
Market Impact | None. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as revised by PRS with three abstentions from the IOU, Generator and IPM Market Segments. All Market Segments were present. | 
CEO Determination | No opinion on whether necessary before nodal go-live (with “shall” language, not “may” language) | 
Effective Date | To be determined | 
Notes: On 5/21/09, PRS unanimously voted to grant PRR809 Urgent status. PRS then unanimously voted to endorse and forward the PRS Recommendation Report, as amended by ERCOT comments and as revised by PRS, and Impact Analysis for PRR809 to TAC.
Topaz has comments to discuss here at TAC

## Slide 18: PRR 812 – Wind Generator Forecast for Scheduling Metric
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 19: PRR 815 – CSC Process Clarification
Purpose (ERCOT) | Clarifies the process used to determine Commercially Significant Constraints (CSCs). | 
Benefit | Clarifies process for CSC determination. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as amended by PUCT comments with one opposing vote from the IOU Market Segment; All Market Segments were present. | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 
Effective Date | August 1, 2009 | 

## Slide 20: PRR 815 – CSC Process Clarification
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit Review is Pending

## Slide 21: NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
Purpose (Texas SET) | Requires re-registration as a Market Participant if they transfer Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another using the Mass Transition process. | 
Benefit | Supports the interim solution for facilitating the transfer of ESI IDs from one CR to another using the Mass Transition process. | 
Market Impact | Any Market Participant utilizing the Mass Transition process will be required to re-register with ERCOT. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as submitted with one abstention from the Independent Generator Market Segment; All Market Segments were present - TAC tabled for a month to time sync with PRR 806 for Board approval | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 22: NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 23: NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Purpose (Texas SET) | Will allow Market Participants to see the POLR Customer class and the AMS meter flag when querying Electric Service Identifiers (ESI IDs) through the look-up function on the MIS. | 
Benefit | Market Participants will be able to identify the POLR Customer class of an ESI ID as well as whether or not the meter is an AMS meter. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as submitted with one abstention from the Independent Generator Market Segment; All Market Segments were present - TAC tabled for a month to time sync with PRR 805 for Board approval | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 

## Slide 24: NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 25: Revision Requests Unanimously Recommended for Approval with Impacts
None

## Slide 26: Revision Requests Not Unanimously Recommended for Approval with Impacts
None

## Slide 27: PRR/NPRR Summary
Revision Requests Unanimously Recommended for Approval with No Impacts
PRR 787 Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)
NPRR 158 – EILS Self-Provision Formula Correction and Clarification
NPRR175 – Hub Bus List Clarification
NPRR176 – Resource Status Input to RUC and Ancillary Service Awards from RUC
Revision Requests Not Unanimously Recommended for Approval with No Impacts
PRR 801 – Manual TCR Adjustments
PRR 810 – Remove McCamey Congestion Management
PRR 812 – Wind Generator Forecast for Scheduling Metric
PRR 815 – CSC Process Clarification
NPRR 170 – Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs
NPRR 171 – Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS
Revision Requests Unanimously Recommended for Approval with Impacts
None
Revision Requests Not Unanimously Recommended for Approval with Impacts
None

## Slide 28: Withdrawals
None this month

## Slide 29: Unfunded Project List Report
PRS reports there are no unfunded projects at this time
  Protocol Section 21.9 requires quarterly reporting to the ERCOT Board regarding projects on the “Unfunded Project List”
  Unfunded Projects will be listed on a separate PPL tab

## Slide 30: PRS Discussion Update
Meeting to discuss “Other Binding Documents”
  Meeting held on July 8