## Slide 1: June IT Incident
9 July 2009
Richard Morgan
Chief Information Officer

## Slide 2: Retail & Wholesale Incident
Incident Summary:
  On 6/24 a reconfiguration to a processor caused a loss of storage connectivity requiring a reboot of several servers.
  Market Notice ID: M-062409-01
Impacts:
  43 minute outage to multiple retail and wholesale systems while systems were rebooted and applications restarted.
Root cause:
  Vendor issue: The vendor maintains that this procedure should have caused no interruptions to service. This process has been performed during maintenance windows without incident.
  Management issue: This change was not governed by the change control process because it was considered a routine action. This action has been reassessed and now must follow the change control process.
ERCOT Public
Notes: <number>