Date: 	July 2, 2009

To:	TAC Representatives

From:	Sandy Morris, PRS Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following PRRs and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards” [IPA].

Proposed Effective Date:  September 1, 2009

CEO Determination:  No opinion on whether or not PRR787 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to the Protocols that defines if and when a non-compliance event occurs in regards to Qualified Scheduling Entity (QSE) performance standards.

Procedural History:  PRR787 was posted on 12/3/08.  On 1/22/09, PRS unanimously voted to refer PRR787 to the ROS.  On 2/19/09, PRS unanimously voted to table PRR787 until the 3/19/09 PRS meeting.  On 3/19/09, PRS unanimously voted to refer PRR787 to ROS with instructions to return to PRS in one month.  On 4/23/09, PRS unanimously voted to refer PRR787 back to ROS.  On 5/21/09, PRS voted to recommend approval of PRR787 as amended by the 5/19/09 ROS comments and as revised by PRS.  There were three abstentions from the Municipal, Independent Generator, and Consumer Market Segments.  On 6/18/09, PRS unanimously voted to recommend approval of PRR787 as amended by the 6/17/09 Luminant comments, the 6/8/09 Wind Coalition comments and as revised by PRS.  Credit review is pending.

- PRR801, Manual TCR Adjustments [ERCOT].

Proposed Effective Date:  September 1, 2009

CEO Determination:  Pending.

ERCOT Impact Analysis: No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description: This PRR revises Section 7.5.3.1, Annual and Monthly Auction Summary, to provide a description of the process used by ERCOT to achieve revenue neutrality in the monthly Transmission Congestion Right (TCR) auction.

Procedural History:  PRR801 and its corresponding Impact Analysis were posted on 2/9/09.  On 2/11/09, the motion to grant Urgent status failed via email vote.  On 3/19/09, PRS unanimously voted to table PRR801.  On 4/23/09, PRS unanimously voted to recommend approval of PRR801 as amended by WMS comments.  On 5/21/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.  On 6/4/09, TAC unanimously voted to remand PRR801 to PRS to clarify revenue neutrality issues and for TAC to reconsider PRR801 after WMS has endorsed a procedure document. On 6/18/09, PRS voted to recommend approval of PRR801 as amended by the 6/17/09 WMS comments.  There was one opposing vote from the Independent Generator Market Segment and one abstention from the Investor Owned Utility (IOU) Market Segment.

- PRR810, Remove McCamey Congestion Management [Potomac].

Proposed Effective Date:  September 1, 2009

CEO Determination:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes will be revised to implement this PRR; no impact to grid operations.

Revision Description:  This PRR removes the unique congestion management procedures for the McCamey Area.

Procedural History:  PRR810 was posted on 4/1/09.  On 5/21/09, PRS voted to recommend approval of PRR810 as submitted.  There was one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for PRR810 to TAC.  There was one opposing vote from the Independent Generator Market Segment.

- PRR812, Wind Generator Forecast for Scheduling Metric [Wind Coalition].

Proposed Effective Date:  To be determined.

CEO Determination: No opinion on whether or not PRR812 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds a requirement for Wind-powered Generation Resources (WGRs) to update Resource Plans and schedules every hour using the ERCOT provided most likely Short-Term Wind Power Forecast as the standard for accuracy.

Procedural History:  PRR812 was posted on 4/24/09.  On 5/21/09, the PRS vote to reject PRR812, failed via roll call vote.  PRS then voted to approve PRR812 as amended by WMS comments via roll call vote.  On 6/18/09, PRS voted via roll call vote to recommend approval of PRR812 as revised by PRS, with the recommendation to change “shall” to “may” and convey to TAC and the ERCOT Board that WMS and the QSE Managers Working Group (QMWG) recommended the metric with “shall” language, but that the ERCOT CEO has determined Nodal resource impacts with this language; and PRS requests that the ERCOT Board determine the priority of renewable energy metrics versus impacts to Nodal.

- PRR815, CSC Process Clarification [ERCOT].

Proposed Effective Date:  August 1, 2009

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR clarifies the process used to determine Commercially Significant Constraints (CSCs).

Procedural History:  PRR815 was posted on 6/10/09.  On 6/12/09, PRR815 was granted Urgent status via PRS email vote.  On 6/18/09, PRS voted to recommend approval of PRR815 as amended by Public Utility Commission of Texas (PUCT) Staff comments.  There was one opposing vote from the IOU Market Segment.  Credit review is pending.

NPRRs Recommended for Approval

- NPRR158, EILS Self-Provision Formula Correction and Clarifications [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes to correct terms contained in the Settlement equations related to Emergency Interruptible Load Service (EILS) Self-Provision to make the formulas consistent with the verbal description of EILS Self-Provision Settlement and the author’s stated original intent.  This NPRR also makes clarifications in language contained in paragraph (8)(d) of Section 3.14.3, Emergency Interruptible Load Service (EILS), related to QSEs’ EILS Self-Provision options in cases where less than 1,000 MW of EILS has been offered, and adds copies of definitions that are applicable to both equations in this Section.

Procedural History:  NPRR158 was posted on 9/23/08.  On 10/23/08, PRS unanimously voted to refer NPRR158 to the Transition Plan Task Force (TPTF) for consideration.  The Cooperative Market Segment was not present for the vote. On 3/19/09, PRS unanimously voted to table NPRR158.  On 5/21/09, the PRS unanimously voted to recommend approval of NPRR158 as amended by COPS comments.  On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR158 to TAC.  There was one opposing vote from the Independent Generator Market Segment.

- NPRR170, Synchronization of PRR806, Re-Registration of Market Participant due to Mass Transition of ESI IDs [TX SET].

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis: No budgetary impact; no staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to grid operations and practices.

Revision Description:  This NPRR requires re-registration as a Market Participant if they transfer Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another using the Mass Transition process.  This NPRR also creates Section 16.1.1, Re-Registration as a Market Participant, to identify the circumstances in which a Market Participant would have to re-register as a Market Participant.

Procedural History:  NPRR170 was posted on 4/1/09.  On 4/23/09, PRS voted to recommend approval of NPRR170 as submitted with one abstention from the Independent Generator Market Segment.  On 5/21/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.  On 6/4/09, TAC unanimously voted to table NPRR170 for one month.

- NPRR171, Synchronization of PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS [TX SET].

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full time equivalents needed (resources required for PRR805 development are also working on the nodal project - schedule management will be utilized so as not to impact nodal timelines);  no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to grid operations and practices.

Revision Description:  This NPRR will add Provider of Last Resort (POLR) Customer class and the Advanced Metering System (AMS) meter flag to the database query function on the Market Information System (MIS).

Procedural History:  NPRR171 was posted on 4/3/09.  On 4/23/09, PRS unanimously voted to recommend approval of NPRR171 as submitted.  On 5/21/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.  On 6/4/09, TAC unanimously voted to table NPRR171 for one month.

- NPRR175, Hub Bus List Clarification [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR updates the Hub lists to reflect the current network model by removing Hub Bus SHRTP which was a construct of planning and does not exist; and also by renaming Hub Bus FPPYD, which was actually two substations that were amalgamated for planning reasons, to FPPYD1 and FPPYD2.

Procedural History:  NPRR175 was posted on 4/30/09.  On 5/21/09, PRS unanimously voted to recommend approval of NPRR175 as submitted.  On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR175 to TAC.  There was one opposing vote from the Independent Generator Market Segment.

- NPRR176, Resource Status Input to RUC and Ancillary Service Awards from RUC [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date. ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR provides clarity in the Nodal Protocol language.  Resources committed by Day-Ahead Market (DAM) are not considered as On-Line by Reliability Unit Commitment (RUC) unless a QSE has changed the Resource Status to On-Line in the Current Operating Plan (COP) for that hour.

Procedural History:  NPRR176 was posted on 5/6/09.  On 5/21/09, PRS unanimously voted to approve NPRR176 as amended by Luminant comments.  On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR176 to TAC.  There was one opposing vote from the Independent Generator Market Segment.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the July 23, 2009 PRS Meeting

- NPRR165, Synchronizing Section 1 with PRR697 [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis: No incremental cost to ERCOT; no impact to ERCOT staffing; no impact to computer systems; existing business processes can accommodate this NPRR; no impact to grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR697, Posting Requirement Changes, which incorporated disclosure requirement changes resulting from P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under P.U.C. Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas.

Procedural History:  NPRR165 was posted on 11/18/08.  On 12/18/08, PRS unanimously voted to refer NPRR165 to the TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to table NPRR165.  On 4/23/09, PRS unanimously voted to table NPRR165 until NPRR156, Transparency for PSS and Full Interconnection Studies, is approved by the ERCOT Board.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR165 as amended by ERCOT comments and as revised by PRS.  Credit review is pending.

- NPRR174, FIP Modifications in Verifiable Startup and Minimum Energy Cost and Recovery of Exceptional Fuel Costs During RUC Intervals [WMS].

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not NPRR174 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR modifies the verifiable Startup Cost and verifiable minimum energy cost calculation to include a ten percent adder for the Fuel Index Price (FIP).  This NPRR also allows through the dispute process for the recovery of the difference between the RUC Guarantee based on the actual price paid for delivered natural gas and a fuel price of FIP*1.Y.

Procedural History:  NPRR174 was posted on 4/14/09.  On 4/23/09, PRS voted to refer NPRR174 to the WMS for further discussion on how to settle the disputed charges with one abstention from the IREP Market Segment.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR174 as submitted.  Credit review is pending.

- NPRR177, Synchronization of Nodal Protocols with PRR808, Clean-up and Alignment of RECs Trading Program Language with PUCT Rules [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR808.

Procedural History:  NPRR177 was posted on 5/15/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR177 as amended by J Aron comments.  Credit review is pending.

- NPRR178, Regulation Reduction (GS-FR3) and Reg-Up/Reg-Down Allocation to QSEs [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR brings the Nodal Protocols in line with the Nodal Program implementation by changing the regulation reduction calculation to account for movements in generation due to units getting updated Base Points from Load Frequency Control (LFC) and by taking out the constraint for each four-second interval in regards to the Regulation Up (Reg-Up)/Regulation Down (Reg-Down) allocation to QSEs, since the full amount of Reg-Up/Reg-Down responsibility is realizable in five minutes and compliance is also on a five-minute basis.

Procedural History:  NPRR178 was posted on 5/26/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR178 as submitted.  Credit review is pending.

- NPRR180, Reconciliation of CRR Related Protocol Language [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR makes the following Nodal Protocol changes: (1) removes the Section 3.10.3 requirement to hold Congestion Revenue Right (CRR) models static for two months prior to the auction, thus enabling CRR group to perform updates to CRR model until publication of said model; (2) revises Section 7.1(2)(d) to state that the facilitation of bilateral trades will occur on the MIS Certified Area, not the Secured Area; (3) removes the wording in Section 7.1(2)(d) to clarify that bilateral trades of Point-to-Point (PTP) Options with Refund and PTP Obligations with Refund will not occur in DAM; and (4) amends Section 7.3(1)(c) to clarify that all available Flowgate Right (FGR) capacity (that is consistent with the simultaneous feasibility test described in Section 7.5.5.4, Simultaneous Feasibility Study) is available in CRR Auctions, not just that offered by CRR Account Holders.

Procedural History:  NPRR180 was posted on 6/10/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR180 as submitted.  Credit review is pending.

- NPRR182, Non-Protocol Postings on the Market Information System [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows ERCOT to put information, not specifically required in the Nodal Protocols but required by market guides, on the MIS under one of the three classifications, i.e., Public, Secure or Certified.  This NPRR also adds the State Estimator Standards to the list of Other Binding Documents named in the Protocols.

Procedural History:  NPRR182 was posted on 6/11/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR182 as revised by PRS.  Credit review is pending.

Revision Requests Deferred or Tabled

  - PRR811, Real Time Production Potential [Wind Coalition].

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR establishes a requirement for WGRs to telemeter a Real Time signal indicating the Real Time Production Potential which will be a function of wind and turbine availability at the time.

Procedural History:  PRR811 was posted on 4/17/09.   On 5/21/09, PRS unanimously voted to table PRR811 until the 6/18/09 PRS meeting.  On 6/18/09, PRS voted to table PRR811.  There was one opposing vote from the IREP Market Segment.  Credit review is pending.

- PRR814, NOx Emissions Allowance Index Price (NOxEAIP) [Luminant] – URGENT.

Proposed Effective Date:  To be determined.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR establishes a definition for Nitrogen Oxide (NOx) Emissions Allowance Index Price (NOxEAIP) that relies on a published cost index for NOx emissions allowances.  The PRR provides Qualified Scheduling Entities (QSEs) with an option to either provide detailed documentation of the actual cost of NOx emissions allowances as part of the verifiable cost process or to rely on the NOxEAIP.  Specifically, this PRR allows QSEs to recover the cost of emissions allowances when providing Replacement Reserve, Out of Merit Capacity (OOMC) or Out of Merit Energy (OOME) Service as directed by ERCOT if the costs of those emissions allowances are less than 110% of the NOxEAIP.  This is the same concept that is applied to the documentation requirements of natural gas prices and fuel oil prices for verifiable cost purposes.  This PRR also adds language to clarify how QSEs can recover any emissions-related costs for both startup and operations when providing Replacement Reserve, OOMC or OOME Service.

Procedural History:  PRR814 was posted on 6/1/09.  On 6/3/09, the motion to grant Urgent status passed via email vote.  On 6/18/09, PRS unanimously voted to table PRR814.  Credit review is pending.

- NPRR169, Clarify the Calculation and Posting of LMPs the Load Zone and LMPs for each Hub [TPTF].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies language that specifies the calculation and posting of Locational Marginal Prices (LMPs) for the Load Zone and “LMPs for each Hub”.

Procedural History:  NPRR169 was posted on 12/16/08.  On 12/18/08, PRS unanimously voted to recommend approval of NPRR169 as amended by CPS Energy comments and as revised by PRS.  The Independent Generator Market Segment was not present for the vote.  On 1/8/09, TAC unanimously voted to remand NPRR169 to PRS.  On 1/22/09, PRS unanimously voted to table NPRR169. Credit review is pending.

Revision Requests Designated for Post Go-Live

- NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].

- NPRR153, Generation Resource Fixed Quantity Block [TPTF].

- NPRR164, Resubmitting Ancillary Service Offers in SASM [TPTF].

- NPRR156, Transparency for PSS and Full Interconnection Studies [PSEG Texas].

- NPRR181, FIP Definition Revision [Luminant].

Revision Requests Pending Input from Another Subcommittee/Task Force

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the CRR Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to TPTF for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the Independent Power Marketer (IPM) Market Segment.  On 10/23/08, PRS unanimously voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

- NPRR168, Verifiable Costs General Corrections [VCWG].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows QSEs to file Resource fuel consumption from breaker close to Low Sustained Limit (LSL) and breaker open to shutdown.

Procedural History:  NPRR168 was posted on 11/24/08.  On 12/18/08, PRS unanimously voted to refer NPRR168 to TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to refer NPRR168 to the WMS for review.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the July 23, 2009 PRS Meeting

- PRR813, FIP Definition Revision [Luminant].

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR revises the definition of FIP to correctly account for the timing difference between ERCOT’s application of the FIP in its systems (midnight to midnight) and the timing of natural gas prices reflected by the index (i.e., 10 AM to 9 AM).  The fuel price index published in Gas Daily, in the Daily Price Survey, under the heading “East-Houston-Katy, Houston Ship Channel” for any particular day reflects natural gas prices available to users from hour ending 10 AM of the particular day to hour ending 9 AM of the next day (i.e., the normal “gas day”).  This PRR also adds a new definition for the term “Gas Day.”

Procedural History:  PRR813 was posted on 5/29/09.  Credit review is pending.

- PRR816, CRE Determination Criteria [CMWG] – URGENT.

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR establishes a set of four criteria for determining if a candidate contingency/limiting element pair qualifis as a Closely Related Element (CRE).

Procedural History:  PRR816 was posted on 6/22/09.  Credit review is pending.

- PRR817, Cease Late Payment Charges for Defaulted Entities [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not PRR817 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This Protocol Revision Request (PRR) modifies language to enable ERCOT to cease charging late fees to defaulting Entities prior to the initiation of the Uplift process, provided that ERCOT has determined that the recovery of late fees from the defaulting Entity is unlikely; and clarify how much security may be held back to be used to pay minor Final, True Up and other Invoices as they come due to reduce the administrative burden to the ERCOT market of processing short payments.  Credit review is pending.

- PRR818, OOMC for Quick Start Units [Topaz].

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This Protocol Revision Request (PRR) changes the settlement for Quick Start Units only during OOMC Dispatch Instructions such that the compensation is the higher of the Resource Category Generic Minimum Energy Cost (RCGMEC) or the MCPE.  Credit review is pending.

- NPRR183, Synchronization of PRR790, Load Profile ID Annual Validation Change Request [PWG].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices..

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR790, Load Profile ID Annual Validation Change Request, which allows for changes in the Annual Validation process timeline due to extreme events.

Procedural History:  NPRR183 was posted on 6/22/09. Credit review is pending.

  - NPRR184, Section 2, Addition of Definitions and Acronyms from Zonal Protocols and Clarifications

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR incorporates certain definitions and acronyms from the zonal Protocols for terms that are used in the Nodal Protocols but are not defined in Section 2, Definitions and Acronyms.  Some of these definitions have been slightly modified for use in the Nodal Protocols.  This NPRR also makes clarifying revisions to Section 2.

Procedural History:  NPRR184 was posted on 6/24/09.  Credit review is pending.