## Slide 1: Generation Re-Interconnection Issues
Dan Woodfin
Director, System Planning

## Slide 2: Background
First – this discussion is intended to get input on general procedure; no discussion of any current requests
Hypothetical: A generator that is currently interconnected to ERCOT grid wants to change its interconnection to a different point
  May be as “minor” as changing connection from 138kV to 345Kv bus at same substation; or
  May be through building a new interconnection line to a different substation
    New line might be private or TCOS

## Slide 3: What is the Issue?
Should these re-interconnections be processed through the Generation Interconnection Procedure or RPG Review Procedure?
Without any change in procedures, if a generator requests this type of project as a Generation Interconnection Request, then that is how it would be processed
  Is this the right approach?

## Slide 4: Other Considerations
There may be differences in the indirect transmission projects that are warranted due to the changed interconnection
  Might reduce or increase the number of other upgrades that would be warranted under planning criteria
A re-interconnection might be suggested as an RPG project to resolve congestion, either by ERCOT or another party, if it is more economic than the line upgrades that would be warranted given the current interconnection

## Slide 5
Additional Discussion?