TAC Action Report


	NOGRR Number
	025
	NOGRR Title
	Monitoring Programs for QSEs, TSPs, and ERCOT

	Timeline
	Urgent
	Action
	 Tabled

	Date of Decision
	July 9, 2009

	Nodal Operating Guide Sections Requiring Revision
	9, Monitoring Programs (new)

	Proposed Effective Date
	To be determined.

	Priority and Rank Assigned
	To be determined.

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) adds Section 9 to incorporate metrics to be monitored and reported on for Qualified Scheduling Entities (QSEs), Resources, Transmission Service Providers (TSPs), and ERCOT by ERCOT. 

	Overall Market Benefit
	Information transparency.

	Overall Market Impact
	Unknown

	Consumer Impact
	Unknown

	Procedural History
	· On 2/06/09, NOGRR025 and its preliminary Impact Analysis were posted.

· On 2/25/09, Operations Working Group (OWG) comments were posted.

· On 3/10/09, CenterPoint comments were posted.

· On 3/17/09, ROS comments were posted.

· On 3/20/09, WMS comments were posted.

· On 3/24/09, Luminant comments were posted.

· On 3/27/09, OWG considered NOGRR025.

· On 4/9/09, Network Data Support Working Group (NDSWG) comments were posted.

· On 4/14/09, OWG/QSE Managers Working Group (QMWG)/Black Start Task Force (BSTF) comments were posted.

· On 4/23/09, a second set of ROS comments were posted.

· On 4/23/09, the OWG again considered NOGRR025.

· On 5/1/09, the CEO Revision Request Review was posted.

· On 5/14/09, ROS considered NOGRR025.

· On 5/29/09, a second set of NDSWG comments were posted.

· On 6/4/09, NOGRR025 Workshop comments were posted.

· On 6/8/09, a second set of Luminant comments were posted.

· On 6/11/09, ROS again considered NOGRR025.

· On 6/22/09, a third set of NDSWG comments were posted.

· On 6/25/09, PSEG TX comments were posted.

· On 6/25/09, Eagle Energy Partners comments were posted.

· On 6/26/09, a third set of Luminant comments were posted.

· On 6/26/09, STEC comments were posted.

· On 6/29/09, ERCOT comments were posted.

· On 6/30/09, a second set of WMS comments were posted.

· On 6/30/09, ROS again considered NOGRR025.

· On 7/2/09, a second set of ERCOT comments were posted.

· On 7/6/09, Calpine comments were posted.

· On 7/6/09, Performance Disturbance Compliance Working Group (PDCWG) comments were posted.

· On 7/8/09, a second set of PDCWG comments were posted.

· On 7/8/09, City of Garland comments were posted.

· On 7/9/09, a third set of ERCOT comments were posted.

· On 7/9/09, TAC considered NOGRR025.

	OWG Decision 
	On 3/27/09, OWG was in consensus to table NOGRR025.

On 4/23/09, OWG was in consensus to table NOGRR025 for one month.

	Summary of OWG Discussion
	On 3/27/09, there was discussion regarding the 04/02/09 NOGRR025 Workshop where questions regarding the NOGRR and expectations from Market Participants would be discussed.

On 4/23/09, it was noted that a second NOGRR025 Workshop was scheduled for May 1, 2009 where working group leaders and ERCOT would work to complete the NOGRR025 spreadsheet and to also discuss next steps. 

	ROS Decision
	On 5/14/09, ROS unanimously voted to grant Urgent status to NOGRR025.  ROS also unanimously voted to table NOGRR025 until June.  All Market Segments were present for the votes.
On 6/11/09, ROS unanimously voted to table NOGRR025 for one month.  All Market Segments were present for the vote.
On 6/30/09, ROS, via roll call vote, unanimously voted to recommend approval of NOGRR025 as amended by the 06/30/09 WMS comments.  All Market Segments were present for the vote.

	Summary of ROS Discussion
	On 5/14/09, there was discussion regarding the need to develop the metrics defined in the Nodal Protocols and in NOGRR025 quickly as they are needed for development prior to market trials so that testing and analysis can be performed prior to Nodal go-live.  The Texas Regional Entity (TRE) and Public Utility Commission of Texas (PUCT) discussed a parallel effort which involves a gap analysis to ensure that all metrics and reports are defined prior to Nodal go-live.  ERCOT added that a list of metrics and reports was provided to the PUCT and TRE to assist them with the gap analysis.  Groups were instructed to proceed with the current assignment and were encouraged to review and define metrics and to clarify any Protocol or NOGRR language where needed.
On 6/11/09, there was concern that the 06/08/09 Luminant comments conflicted with the Nodal Protocols. There was also concern regarding the need to revise NOGRR025 if the parallel effort by the TRE and the PUCT produces additional or conflicting metrics.  PUCT Staff clarified that although there is a parallel effort, Market Participants should continue their work on NOGRR025, and that additional metrics could be filed in future NOGRRs or Nodal Protocol Revision Requests (NPRRs).  There was some debate regarding the 7/31/09 approval deadline for NOGRR025.  It was noted that a special joint ROS and WMS meeting or email vote on NOGRR025 may take place prior to the 7/9/09 TAC meeting.  
On 6/30/09, ROS and WMS held a special joint meeting to discuss NOGRR025.  ERCOT Staff stated that an estimate of ERCOT impacts based on the 06/22/09 NDSWG comments is approximately 1,000 man-hours with 600 hours being tied to the Telemetry Standards and State Estimator (SE) Standards and that any additional changes to the NOGRR025 could have incremental impacts.  Market Participants expressed concern regarding the conflicting language between NOGRR025 and the Nodal Protocols (i.e., Section 8.2).

	TAC Decision
	On 7/9/09, TAC unanimously voted to table NOGRR025 for one month.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 7/9/09, the schedule for completion of the revised ERCOT CEO determination and a revised Impact Analysis was discussed.  It was requested that NOGRR025 be tabled to await the revised CEO determination and the revised Impact Analysis, which should consider the 07/06/09 Calpine comments, the 07/08/09 City of Garland comments, and the 07/09/09 ERCOT comments.  


	Quantitative Impacts and Benefits


	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	Impact Area
	Monetary Impact

	
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Impact Area
	Monetary Impact

	
	1
	Transparency of information.
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	

	
	2
	

	
	3
	

	
	4
	


	Comments Received

	Comment Author
	Comment Summary

	OWG 022509
	Provided a spreadsheet addressing the directive from ROS.  

	CenterPoint 031009
	Proposed changes to the spreadsheet.

	ROS 031709
	Directed ROS Working Groups to proceed according to the spreadsheet provided by OWG and requested that the assigned working groups to return to ROS in April with preliminary recommendations and timeline for implementation

	WMS 032009
	Directed the WMS working groups to consider the OWG comments spreadsheet and to return to WMS in April with preliminary recommendations and timeline for implementation.

	Luminant 032409
	Proposed language changes to bring the Nodal Operating Guide into conformance with the Nodal Protocols.

	NDSWG 040909
	Proposed changes to the NOGRR025 spreadsheet and proposed that some items be reassigned to other working groups.

	OWG/QMWG/BSTF 041409
	Proposed changes to the NOGRR025 spreadsheet and proposed that some items be reassigned to other working groups.

	ROS 042309
	Reassigned item six of the NOGRR025 spreadsheet.     

	NDSWG 052909
	Proposed language changes to clarify reporting requirements and metrics.

	NOGRR025 Workshop 060409
	Proposed language changes suggested by NDSWG, Performance, Disturbance, Compliance Working Group (PDCWG), OWG, QMWG, and Congestion Management Working Group (CMWG).

	Luminant 060809
	Withdrew its 3/24/09 comments and proposed language changes to clarify reporting requirements and metrics.  

	NDSWG 062209
	Proposed language changes which provide clarification and consistency based on discussions at the 6/11/09 ROS meeting.

	PSEG TX 062509
	Proposed language changes to clarify the language in NOGRR025.

	Eagle Energy Partners 062509
	Proposed language changes to clarify the 06/25/09 PSEG TX comments regarding Real-Time data.

	Luminant 062609
	Proposed language changes based on discussions at the 06/12/09 PUCT workshop and withdrew the 06/08/09 Luminant comments.

	STEC 062609
	Proposed language changes to further clarify the language regarding Real-Time data.

	ERCOT 062909
	Proposed language changes to add a reporting requirement.

	WMS 063009
	Endorsed NOGRR025 as amended by the 06/22/09 NDSWG comments and as revised by WMS.  

	ERCOT 070209
	Stated that due to the complexity of NOGRR025, additional time is needed to complete the revised Impact Analysis.

	Calpine 070609
	Proposed language changes to clarify sections of the NOGRR.

	PDCWG 070609
	Proposed language changes to align the requirements in the NOGRR with the Nodal Protocols.

	PDCWG 070809
	Withdrew its 070609 comments.

	City of Garland 070809
	Proposed language changes to align the requirements in the NOGRR with the Nodal Protocols.

	ERCOT 070909
	Proposed language changes to remove the performance criteria in the NOGRR, requested clarity on yearly report requirement in Section 9.1.4, and included administrative edits.


	Original Sponsor

	Name
	Isabel Flores

	Company
	ERCOT

	Market Segment
	Not applicable


	Proposed Guide Language Revision


ERCOT Nodal Operating Guides
Section 9: Monitoring Program 

<date approved> 

(Effective Upon Texas Nodal Market Implementation) 
29
Monitoring Programs


29.1
QSE and Resource Monitoring Program


29.1.2
QSE Unannounced Testing


29.1.3
Reactive Testing


29.1.4
Real-Time Data


29.1.5
Compliance with Valid Dispatch Instructions


29.1.6
Resource Facilities Network Operations Model Update Implementation Monitor 


29.1.7
Resource Outage Scheduling and Reporting


29.1.8
Backup Control for Resource Energy Deployment


29.1.9
Qualified Staffing Requirement


29.1.10
Automatic Voltage Regulator (AVR)


29.1.11
Current Operating Plan Metrics for QSEs


29.2
TSP Monitoring Program


29.2.1
Rating Methodology Reporting Program


29..2
Real-Time Data Monitor


29.2.1
Outage Scheduling and Reporting


29.2.3
Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor


29.2.4
Compliance with Valid Dispatch Instructions Monitoring


29.3
ERCOT Monitoring Program


29.3.1
Transmission Control


29.3.2
Resource Control


29.3.3
Load Forecasting


29.3.4
System Operating Constraints


29.3.5
Network Operations Model Update Implementation Statistics


29.3.6
Back-up Control Plan


29.3.6
ERCOT Black Start Plan


29.3.7
Computer and Communication Systems Real-Time Availability and Systems Security


29.3.8
Voltage and Reactive Control Performance Monitoring


29.4
Ancillary Services Monitoring Program


29.4.1
Regulation Control Performance


29.4.2
Hydro Responsive Testing


29.4.3
Black Start Service Requirements for TSPs, QSEs, and Generation Resources


29.4.4
Resource-Specific Responsive Reserve Performance


29.4.5
 Constant Frequency Control


29.4.6
Resource-specific Non-Spinning Reserve






































1 Monitoring Programs
9.1
QSE and Resource Monitoring Program
This Section sets forth formats and data needed for reporting to comply with Protocol Section 8, Performance Monitoring and Compliance.   These performance monitoring and compliance requirements apply as set forth below to Qualified Scheduling Entities (QSEs), Resources, Transmission Service Providers (TSPs) and ERCOT.  Reports defined in this Section will be posted on the Market Information System (MIS) Secure Area unless otherwise stated.
9.1.1
Testing
ERCOT shall produce reports annually which summarize:

(1)
Capability test results for the applicable Resources.  These results must be provided to ERCOT by the Qualified Scheduling Entity (QSE) for the Resource.  The QSE shall provide these results to ERCOT upon completion of capability testing of the Resource.  
(2)
Resource specific Non-Spinning Reserve performance results for QSEs and Resources; 
(3)
Test results of EILS Loads by Resource and QSE; and

(4)
Test results for Load Resources.
9.1.2
Reactive Testing for Generation Resources
(1)
The Qualified Scheduling Entity (QSE) shall provide the following information:

(a)
Unit name;

(b)
QSE;

(c)
Date; 
(d)
Time; 
(e)
Tested generation capability;

(f)
Reported time; and 
(g)
Corrected Unit Reactive Limit (CURL) and Unit Reactive Limit (URL).  
(2)
ERCOT shall produce reports annually which describe when the last reactive capability test took place, what the MW and MVAr outputs were during the test period, how long the output was held, and a minimum of four MW/MVAr pairs describing the CURL of the unit.  This data shall be provided by the QSE to ERCOT when reactive testing indicates a change in unit capability and at a minimum of once every two years.   

9.1.3
Real-Time Data 

ERCOT shall produce reports describing Real-Time data performance of Qualified Scheduling Entities (QSEs) in the following areas.  ERCOT shall post the summary report on the MIS Secure Area.  Individual point performance shall be posted to the MIS Certified Area.   

(a)
Telemetry Performance: 

(i)
ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Technical Advisory Committee (TAC) approved Telemetry Standards.  
 (b)
Communication System Performance: 

(i)
ERCOT shall produce monthly reports describing the  reliability of each participants Inter-Control Center Communications Protocol (ICCP) data link to ERCOT as defined in the Protocols and the TAC approved Telemetry Standards. 
(ii)
ERCOT shall produce monthly reports describing ICCP link up/down statistics.
 


9.1.4
Compliance with Valid Dispatch Instructions 

(1)
ERCOT shall produce monthly reports on applicable Resources in which in X% or less of all intervals in a month, which Generation Resource Energy Deployment Performance (GREDP) is calculated, and the Resource or DSR portfolio is released to SCED, their GREDP percentage was less than or equal to X% or less than or equal to X MW.  ERCOT shall produce yearly reports of Qualified Scheduling Entity (QSE) and Resource specific regulation performance metrics as required in the Protocols.
(2)
ERCOT shall produce a report for any system-wide deployment of Load Resources or Emergency Interruptible Load Service (EILS), on an event basis, within one month after the event occurs and shall post it to the MIS Secure Area.
9.1.5
Resource Facilities Network Operations Model Update Implementation Monitor
(1)
ERCOT shall prepare monthly reports summarizing the Network Operations Model updates  by Resource Facilities.  These reports shall include the 
number of Notices of interim updates submitted to the Public Utility Commission of Texas (PUCT) and the Independent Market Monitor (IMM) as accumulated by Qualified Scheduling Entity (QSE) due to the actions or inactions of the associated QSE for Network Operations Model Change Requests (NOMCRs) not meeting the time line pursuant to Protocol Section 3.10.1, Time Line for Network Operations Model Change Requests.  These reports shall be delineated by category and owner including reasons for the interim updates.   Interim updates caused by ERCOT (i.e. server unavailability, Network Model Management System (NMMS) component failure, site failover, loss of data, staff overload, weather, etc.) shall be reported and attributed to ERCOT.




(2)
ERCOT shall post reports on the Market Information System (MIS) Secure Area. 

9.1.6
Resource Outage Reporting
This Section describes the reporting of data for Resource Outage scheduling by individual Resource for informational purposes.  There are no performance metrics for this data.
(1)
ERCOT shall post a confidential report of total number of Outages reported through the Texas Market Link (TML) including Monthly Resource Outage reporting by Resource: 

(a)
Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance; 

(b)
Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date;
(c)
Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date;
(d)
Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date;
(e)
Number of Outage requests submitted less than three days in advance;
(f)
Number of Outages by Outage type; and
(g)
Total number of Outages that were requested, accepted, approved, cancelled, and withdrawn.


9.1.7
Backup Control for Resource Energy Deployment
ERCOT shall produce a report identifying the date of backup control plan testing and the success or failure of that test for ERCOT and Qualified Scheduling Entities (QSEs).  Backup control plan tests shall be conducted at least annually.  

9.1.8
Qualified Staffing Requirement
A Qualified Scheduling Entity (QSE) shall maintain a 24x7 scheduling center with qualified personnel with the authority to commit and bind the QSE.  ERCOT shall report to the Texas Regional Entity (TRE), instances of suspected non-performance following ERCOT’s investigation. 

9.1.9
Automatic Voltage Regulator (AVR) 
(1)
ERCOT shall record Qualified Scheduling Entity (QSE) provided Automatic Voltage Regulator (AVR) test reports for Resources which must include:

(a) 
The minimum and maximum excitation limiters settings and associated time limits; 

(b)
Volts/hertz settings;

(c)
Gain and time constants; 

(d)
Date tested; and
(e)
Voltage regulator control setting; 

(2)
ERCOT shall produce a monthly report that will identify Resources for which test reports have not been submitted within the last 60 months. 
(3)
ERCOT shall produce a monthly report listing the Generation Resources that are not meeting AVR availability for periods in which they are required to provide Voltage Support Service (VSS) as described in paragraph (4) of Protocol Section 3.15.3, QSE Responsibilities Related to Voltage Support.  The AVR criteria are described in paragraph (2) of Section 2.7.4.1, Maintaining System Voltage.
9.1.10
Current Operating Plan Metrics for QSEs 

 
(1)
ERCOT shall report when a seven day Current Operating Plan (COP) has not been provided by the representing QSE for a Resource by 1500 each day. An event occurs when a QSE has not provided at least 153 hours of a Resource’s Operating Plan to ERCOT by 1500.  This report will be prepared monthly and posted on the Market Information System (MIS) Secure Area.
(3) 
ERCOT shall report in the Day Ahead when the reserved capacity of a QSE’s Resources in the Operating Day COP at 1430 is not sufficient to supply Ancillary Service requirements for the upcoming Operating Day.  ERCOT shall provide a monthly summary of the total days failed and total hours analyzed when the Resource’s reserves are insufficient for any hours during an Operating Day pursuant to paragraph (2) of Protocol Section 8.1.2, Current Operating Plan (COP) Performance Requirements, and not excused due to exemptions contained in the Protocols. 


  
9.2
TSP Monitoring Program
9.2.1
Rating Methodology Reporting Program
Transmission Service Providers (TSPs) shall submit their equipment rating methodology to ERCOT in the first quarter of each year or provide notice to ERCOT that the rating methodology has not changed since the previous year.  ERCOT shall keep records describing the rating methodologies of each TSP in the ERCOT Region. ERCOT shall prepare an annual report summarizing these rating methodologies and submit this information to the Texas Regional Entity (TRE) and the appropriate TAC subcommittee.  

9.2.2
Real-Time Data Monitor 
ERCOT shall produce reports describing Real-Time data performance of TSPs in the following areas.  ERCOT shall post the summary report on the Market Information System (MIS) Secure Area.  Individual point performance shall be posted to the MIS Certified Area.  
(a)
Telemetry Performance: 

(i)
ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Technical Advisory Committee (TAC) approved Telemetry Standards.  

(b)
Communication System Performance: 

(i)
ERCOT shall produce monthly reports describing the reliability of each participants Inter-Control Center Communications Protocol (ICCP) data link to ERCOT as defined in the Protocols and the TAC approved Telemetry Standards. 
(ii)
ERCOT shall produce monthly reports describing ICCP link up/down statistics.
9.2.3
Transmission Outage Reporting 
This Section describes the reporting data for the transmission Outage scheduling and is provided for informational purposes.  There are no performance metrics for this data.
(1)
ERCOT shall post a monthly report of Outages considered on the MIS Secure Area including: 

(a)
Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance; 

(b)
Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date;
(c)
Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date;
(d)
Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date;
(e)
Number of Outage requests submitted less than three days in advance;
(f)
Number of Outages by Outage type; and
(g)
Total Number of Outages that were requested, accepted, approved, cancelled, and withdrawn.

(2)
ERCOT shall post reports for each transmission owner showing the percentage of the total number of Outages, by type, described in paragraph (1) above.

9.2.4
Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor 

(1)
ERCOT shall prepare monthly reports summarizing the Network Operations Model updates  by TSPs.  The report shall include the 
number of Notices of interim reports submitted to the Public Utility Commission of Texas (PUCT) and the Independent Market Monitor (IMM) as accumulated by TSP due to the actions or inactions of the associated TSP for Network Operations Model Change Requests (NOMCRs) not meeting the time line pursuant to Protocol Section 3.10.1, Time Line for Network Operations Model Change Requests.  These reports shall be delineated by category and owner including reasons for the interim updates.  Interim updates caused by ERCOT (i.e. server unavailability, Network Model Management System (NMMS) component failure, site failover, loss of data, staff overload, weather, etc.) shall be reported and attributed to ERCOT. 



(2)
ERCOT shall post reports on the MIS Secure Area. 

9.2.5
 Backup Control for TSPs
ERCOT shall produce a report identifying the date of backup control plan testing and the success or failure of that test for ERCOT and TSPs.  Backup control plan tests shall be conducted at least annually.
9.3
ERCOT Monitoring Program
9.3.1
Transmission Control
(1)
ERCOT shall prepare a report describing the operating violations on every transmission line and autotransformer operated at voltages greater than 60 kV.  These reports shall be provided to the TRE and the appropriate TAC subcommittee. 

(a)
ERCOT shall prepare monthly reports on the following:


 
(i)
Exceedance of system operating limits or power transfer limitations set by ERCOT to guard against post-contingency stability exceedance for over ten minutes;

 
(ii)
N-1 exceedance of the applicable equipment ratings provided by Transmission Service Providers (TSPs), QSEs, and Resources for over 30 minutes; and
(v)
N-0 exceedance detected during the month, the time duration of the loading above the applicable operating rating and the maximum exceedence level that occurred.
(2)
Other transmission monitoring and control metrics: 

(a)
ERCOT shall prepare reports describing the number of Forced Outages by transmission owner by month. 

(b)
ERCOT shall post on the Market Information System (MIS) Secure Area its performance in processing Outage requests in accordance with the following table including justification for rolling Outages from one timeline to another:

	Amount of time between the request for approval of the proposed Outage and the scheduled start date of the proposed Outage:
	ERCOT shall approve or reject no later than:

	Three days
	1800 hours, two days before the start of the proposed Outage

	Between three and eight days
	1800 hours, three days before the start of the proposed Outage

	Between nine days and 45 days
	Four days before the start of the proposed Outage

	Between 46 and 90 days
	40 days before the start of the proposed Outage 

	Greater than 90 days
	75 days before the start of the proposed Outage


(c)
ERCOT shall post on the MIS Secure Area, by transmission owner, the number of rejection Notices.  The report will include specific concerns that caused the rejection.
(d)
ERCOT shall post on the MIS Secure Area, by transmission owner, the number of withdrawals of approved Outages.
(e)
ERCOT shall post on the MIS Secure Area, by transmission owner, the number of approved Outages that were rescheduled by ERCOT.




 

(3)

State Estimator (SE) Performance:
(a)
ERCOT shall report State Estimator (SE) performance in accordance with the Protocols and the Technical Advisory Committee (TAC)-approved SE standard and post such report on the MIS Secure Area. 

(i)
ERCOT shall produce monthly reports describing SE convergence and valid SE solution rates as described in Protocol Section 3.10.9.2, Telemetry and State Estimator Performance Monitoring.
(ii)
ERCOT shall produce monthly reports describing the MW differences between SE results and power flow results for identified congested Transmission Elements as approved by TAC.

(iii)
ERCOT shall produce monthly reports describing the MW differences between the SE results and telemetry for identified congested Transmission Elements as approved by TAC. 

(iv)
ERCOT shall produce monthly reports describing the voltage differences between the SE results and telemetry for the voltage critical buses identified in accordance with the SE standard.

(v)
ERCOT shall produce monthly reports describing the MW differences as defined in the SE standard.  
(vi)
ERCOT shall produce monthly reports identifying the sum of MW flows around telemetered Electrical Buses as described in paragraph (5) of Protocol Section 3.10.7.5.2, Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows.
9.3.2
System and Resource Control 
The following reports shall be posted on the MIS Secure Area:

(1)
Resource Control Metrics:

 
(a)
Total Reg–Up and Reg-Down per interval - ERCOT shall develop a monthly report detailing the total amount of Reg-Up energy deployed in the Settlement Interval and by hour and the total amount of Reg-Down energy deployed for each Settlement Interval and by hour of the Operating Day.  

(2)
Reserve Monitoring:   

(a)
ERCOT shall prepare monthly reports describing the dates and associated duration that ERCOT operated without sufficient operating reserves as defined in the Protocols. 

(3)
RUC commitments and deployments:
(a)
For each month, ERCOT shall report, Generation Resources committed in each RUC process, including Resource name and intervals deployed.

(4)
Dynamically Scheduled Resource (DSR) Performance and Resource with Output Schedule:
(a)
ERCOT shall produce monthly reports for DSR Load signal failures of more than five minutes.
(b)
ERCOT shall produce monthly reports noting the number of Resources on Output Schedule, by QSE.
(5)
Conflicting Instructions to Generation Resources from interval to interval:
(a)
ERCOT shall record and report, on a monthly basis, instances of Dispatch Instructions to Resources not providing Regulation Service in which there is an inflection in the instruction for four consecutive Security-Constrained Economic Dispatch (SCED) intervals for validation and review.  Inflection is defined as a reversal in ramp direction between consecutive intervals.
(6)
ERCOT-wide governor response to Measurable Events: 

(a)
ERCOT shall develop monthly reports detailing ERCOT’s System-wide governor response to each Measureable Event that month.  ERCOT shall meet at all times the governor response criteria as described in Protocol Section 8.5.2, Primary Frequency Control Measurements.  

9.3.3
Forecasting
(1)
ERCOT shall report the Mean Absolute Percent Error (MAPE) each month for the following:

(a)
The accuracy of each day’s system Load forecast posted at 0600 in the Day Ahead of the Operating Day as compared with the actual average ERCOT Load for each hour of the Operating Day;

(b)
Accuracy of the system Load forecast used for Day-Ahead Reliability Unit Commitment (DRUC) compared to the actual average ERCOT Load for each hour of the Operating Day; and 

(c)
The accuracy of the Load forecast for the following items compared to the average of the State Estimated Load at each Electrical Bus with a modeled Load for each hour: 

(a)
Hourly Load forecast used in the DRUC by Weather Zone;

(b)
Hourly Load forecast used in the Hourly Reliability Unit Commitment (HRUC) by Weather Zone; and
(c)
The accuracy of the Load forecast used in the DRUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Weather Zone.
(2)
ERCOT shall prepare monthly reports detailing:

(a)
Day-Ahead forecast wind output, by Load Zone, by hour for the Operating Day, used in DRUC and at 0600 at the Day-Ahead.

(b)
Actual wind output, aggregated by Load Zone, by hour of the corresponding Operating Day by Load Zone.
9.3.4
System Operating Constraints
ERCOT shall report the following comparisons with respect to Real-Time operations as they occur:

(a)
Three consecutive days of a particular congestion constraint (constraints passed to SCED from Network Security Analysis (NSA)) in Real-Time not identified in the Day Ahead Market (DAM);

(b)
Two consecutive hours of a particular congestion constraint in Real-Time not identified in the HRUC process; and

(c)
Two consecutive days of a particular congestion constraint in Real-Time not identified in the DRUC process. 

9.3.5
Network Operations Model Update Implementation Statistics
ERCOT shall report monthly on the Network Operations Model update implementation statistics.  The report shall include the total number of Network Operations Model Change Requests (NOMCRs) submitted, approved, rejected, withdrawn and any other status contained in the Protocols or defined by ERCOT.
9.3.6
Back-up Control Plan
ERCOT shall report, by exception, the Entities that have not submitted back-up plans by the end of the first quarter of each year in accordance with the following:
(1)
ERCOT’s back-up plan as required by paragraph (h) of Protocol Section 8.2, ERCOT Performance Monitoring;


(2)
Qualified Scheduling Entity (QSE) back-up plans submitted to ERCOT pursuant to Section 3.2.1, Operating Obligations; and
(3)
TSPs back-up plans submitted to ERCOT and the date that the plan was last updated pursuant to Section 3.9, Transmission Operators.
9.3.7
ERCOT Black Start Plan
ERCOT shall develop an annual Black Start Plan and post it on the MIS Certified Area. 

9.3.8
Computer and Communication Systems Real-Time Availability and Systems Security 
(1)
ERCOT shall report monthly the availability of its computer and communications systems to the appropriate TAC Subcommittees.  This report shall include availability statistics for ERCOT’s ICCP data links.
(2)
ERCOT shall report each month the number of times a SCED run was requested but failed to provide a valid result in less time than normal SCED interval.

(3)
ERCOT shall also report each month the number of times the execution of SCED is terminated, by either manual action of the operator or program failure.  The number of times of each event will be posted on the Market Information System (MIS) Certified. 

9.3.9
Voltage and Reactive Control Performance Monitoring 

ERCOT in coordination with the TSPs shall conduct studies to determine the normally desired predetermined distribution of desired nominal voltage set points across the ERCOT System Voltage Profile for all Electrical Buses used for Voltage Support in the ERCOT System and shall post all Voltage Profiles annually on the MIS Secure Area.

Transmission owners shall provide switching plans for automatically controlled reactors, capacitors, and other reactive controlled sources to ERCOT.  For manually switched reactive devices, the transmission owner shall provide its guidelines for the operation of these devices.  These plans and guidelines shall be posted annually to the MIS Secure Area and must be provided in accordance with the NOMCR or other prescribed process.  




9.4
Ancillary Services Monitoring Program 

ERCOT shall monitor Ancillary Service energy deployment according to the criteria outlined in Protocol Section 8, Performance Monitoring.  Reports required by Protocol Section 8.1.1.4, QSE Ancillary Service Energy Deployment Monitoring Criteria, will be posted on the Market Information System (MIS) Certified Area.

 

9.4.1
Hydro Responsive Testing
ERCOT shall produce monthly reports of hydro responsive tests and verify results submitted.
9.4.2
Black Start Service Requirements for TSPs, QSEs, and Generation Resources
ERCOT shall produce annual reports containing record(s) of if and when a Black Start Plan was last received at ERCOT including Resources participating in Black Start Service and Transmission Service Provider (TSP) name and the date the plan was received.  The Resource participating in Black Start Service and TSPs shall provide an updated Black Start Plan to ERCOT by the end of the 1st quarter and when the plan has changed.

9.4.3
Resource-Specific Responsive Reserve Performance
ERCOT shall develop monthly reports detailing Resource-specific Responsive Reserve (RRS) performance deployments, including Load Resources.  If a Generation Resourced does not release capacity reserve for RRS within 60 seconds of the notification and is not excused due to exemptions contained in the Protocols, the Resource will have failed the performance criterion.  If a Load Resource does not respond as required by Protocols Section 6.x to the notification and is not excused due to exemptions contained in the Protocols, the Load Resource will have failed the performance criterion.
9.4.4
 Constant Frequency Control
ERCOT shall survey QSEs qualified to provide Regulation Services to attest that the QSEs have the capability to operate in constant frequency control mode.  ERCOT shall post to the MIS Secure Area annual summaries of QSEs surveyed. 

9.4.5
Resource-specific Non-Spinning Reserve 
ERCOT shall develop a monthly summary for Non-Spinning Reserve (Non-Spin) deployed on On-Line Resources, Load Resources, and DSR, and on Off-Line Resources.

If an On-Line Resource does not release its reserve Non-Spin capacity via telemetry within five minutes or an Off-Line Resource, Load Resource, or DSR does not come On-Line and release its reserved Non-Spin capacity within 20 minutes and is not excused due to exemptions contained in the Protocols, the Resource will have failed the performance criterion.








PRR_Template.doc
Page 2 of 15
PRR_Template.doc
Page 2 of 15
025NOGRR -38 TAC Action Report 070909
Page 3 of 24
PUBLIC

