## Slide 1
PWG Update Report
By
Kyle Miller
of CNP
ERCOT PWG Vice Chair
Ernie Podraza
of Direct Energy
ERCOT PWG Chair
for
COPS Meeting
July 14, 2009

## Slide 4
  UFE allocation factors in lieu of AMS meter installations;
  IDR/AMS on Transmission vs. IDR Distribution Voltage would seem to have similar meter accuracy.
  IDR/AMS on Transmission would likely have less theft so UFE for Distribution metered premised perhaps should be higher.
  NIDR is likely to have more theft than IDR/AMS.
  Quantification of UFE by cause is problematic if not impossible.
  Keeping the allocations the same at least allows the market to be consistent.
  Changes in the allocation would need significant analysis support for Stakeholder approval.
  Discussions shall continue at the next PWG meeting.
PWG discussions on June 24, 2009

## Slide 5
  The shift in proportion of UFE to NIDR metered premises as AMS matures;
  Sample spreadsheet calculations are posted to key documents at http://www.ercot.com/calendar/2009/06/20090624-PWG for agenda item 8.
  Sample calculations validated by ERCOT Staff.
  The shift in UFE is equally proportional to each group which implies no issue.
  Discussions shall continue at the next PWG meeting.
PWG discussions on June 24, 2009

## Slide 6
  Distribution loss factors in relation to UFE?
  Quantification of UFE by cause is problematic if not impossible.
  TDSPs are encouraged to refresh loss load studies that support the ERCOT loss coefficient methodology.
  Possible idea is to plot several key points in the latest loss load study and then regress to develop the coefficients.
  Requesting Discussions shall continue at the next PWG meeting.
PWG discussions on June 24, 2009

## Slide 7
  LPGRR033: Synchronization of Load Profiling Guide with PRR804
  a. First PWG review.
  b. The IA shall be at the next PWG meeting.
  LPGRR034: Profile Model Spreadsheets - Calendar Extension and Delete Unused Models
    Draft Filed
    b. Shall be reviewed at the next PWG meeting.
LPGRR Status

## Slide 8
Questions?
PWG 2009 meeting dates;
July 22 and the 4th Wednesday of the month thru Oct.
Meeting may change to be a conference call