## Slide 1: Settlement Discussion for NOIE DRG = or > 50kW and < 1 MW
Don Tucker

## Slide 2: NOIE DRG Discussion – TDSP Submittal of Data to ERCOT
DRG data submittal to ERCOT required
  DRG with a design capacity equal to or greater than 50 kW where energy is delivered into the distribution grid
DRG data submittal to ERCOT not required
  DRG with a design capacity less than 50 kW
  DRG with a design capacity equal to or greater than 50 kW where energy is not delivered into the distribution grid
Information on this slide is provided to facilitate discussions on the understanding ERCOT has of Section 10.2.2 requirements for the TDSP submittal of generation values associated with Distributed Renewable Generation located behind NOIE boundary metering points.
DRG data submittal to ERCOT not required
DRG data submittal to ERCOT required

## Slide 3
Questions / Discussions