NOIE DRG Settlements Task Force Discussion Notes

July 1, 2009

- Reviewed presentations provided for the meeting.

- Discussed use of meter data supplied by the TDSP in settlements.

- Discussed the permissive wording in zonal Protocols for registration of generation resources less than 1 MW.

- Discussed that nodal Protocols do not have the permissive wording for the registration of generation resources below 1 MW.  “An All-Inclusive Resource must register with the exclusion of those exempted by section 10”.   Some may want to explore changing this requirement in the Nodal Protocols.

- Discussed possibility of raising the exemption threshold above 50 kW for both the competitive and non-competitive areas.  Possibly requires change in PUCT rule 25.213.

- Discussed possibility of raising the exemption threshold above 50 kW for the non-competitive areas

- Discussed an option that these units would be registered as they were completing required registration for the nodal market.  Until they were registered as a Resource they would be treated as defined by option 2: “treat as NOIE load inflow”.  Eric will follow up on RARF submission time line for DG/DRG less than 1 MW.

- There is not necessarily an agreement between members of the Task Force between the pros and cons.  The pros and cons are listed as provided and do not represent a consensus of the Task Force.

- Option 1 to Register the DRG > 50 kW and < 1 MW in Zonal Market

  - Pros

    - Consistent with current Nodal Protocols

    - Will result in having registration completed for Nodal

    - Consistent treatment of competitive and non-competitive areas

    - Total uplift charges to the market are not reduced which would require non-NOIE loads to pay for those charges

    - No ERCOT system changes

  - Cons

    - NOIEs can be treated differently than competitive retailers and are in other areas of Protocols and Legislation

    - Requires additional infrastructure for metering support

      - Metering to capture energy delivered to the distribution grid

      - Data translation and reporting to ERCOT

      - NOIE shadow settlements – NOIE must include this generation in the calculations

    - Settlement implications for a NOIE

      - Generation Nodal surcharge

      - URC risk

      - Any and all uplift charges for the additional load based on load ratio shares including additional ancillary service charges

        - Treated as internal generation (same as distributed  generation over 1 MW that is located behind NOIE boundary metering points and entering the distribution grid that is registered with ERCOT)

      - etc…

    - Additional registration requirements

      - Requires agreement between NOIE, QSE and Resource

    - Complicates billing for Generation and Transmission Co-ops and River Authorities

- Option 2: Treat DRG generation > 50 kW and < 1 MW as “NOIE Load inflow” in the Zonal Market

  - Pros

    - Total uplift charges to the market are not reduced which would require non-NOIE loads to pay for those charges

    - This is the method ERCOT has used in lieu of other direction from the market.

    - No ERCOT system changes

  - Cons

    - NOIEs can be treated differently than competitive retailers and are in other areas of Protocols and Legislation

    - Requires additional infrastructure for metering support

      - Metering to capture energy delivered to the distribution grid

      - Data translation and reporting to ERCOT

      - NOIE shadow settlements – NOIE must include this generation in the calculations

    - Settlement implications for a NOIE

      - Any and all uplift charges for the additional load based on load ratio shares including additional ancillary service charges

        - Treated as NOIE load inflow

      - etc…

    - Must register as a NOIE metering point (update NOIE registration form)

    - Complicates billing for Generation and Transmission Co-ops and River Authorities

    - Increases UFE volatility

    - NOIE does not get credit for the generation

- Option 3: Exempt the DRG > 50 kW and < 1 MW from registration in Zonal Market

  - Pros

    - Consistent with section 16.5 of Zonal Protocols

    - NOIE’s can be treated differently than competitive retailers and are in other areas of Protocols and Legislation

    - Requires no additional infrastructure for metering support

    - No additional registration requirements

    - Settlement implications for a NOIE

      - All uplift charges for the additional load based on load ratio shares including additional ancillary service charges will be reduced

      - No payment for Nodal surcharge

      - etc…

    - Does not complicate billing for Generation and Transmission Co-ops and River Authorities

    - No ERCOT System changes

  - Cons

    - Inconsistent with current Nodal Protocols

    - Inconsistent with Zonal Protocol requirements for using this meter data in settlements

    - Total uplift charges to the market are not reduced which would require non-NOIE loads to pay for those charges

- Next Steps – Present the following options to COPs and request direction:

  - Possible PRR submission to:

    - Exempt registration of  DRG between 50 kW and 1 MW

      - Zonal

      - Nodal

    - Raise the exemption limit for reporting DRG to ERCOT

      - Zonal

      - Nodal

  - Proceed with the option to register these units as they complete registration required for the nodal market.  Until they are registered as a Resource they will be treated as defined by option 2: “treated as NOIE load inflow”.

  - Select one of the prior three options for settlements of the DRG

  - Absent any further direction from the Market, ERCOT should utilize option 2 for DRG meter data submitted by the TDSP for sites not registered as a Resource.

Meeting attendees:

| Name | Company | Name (on phone) | Company |
| --- | --- | --- | --- |
| Don Tucker | ERCOT | Conference Room | CPS Energy |
| Harika Basaran | Austin Energy | Lee Star | BTU |
| Calvin Opheim | ERCOT | Jack Brown | Garland |
| Jim Lee | Direct Energy | Harvey Scheffler | CPS |
| Sarah Bombick | LCRA | Ino Gonzalez | ERCOT |
| Brent Matson | LCRA | Michelle Trenary | Tenaska |
| Ken Riordon | LCRA |  |  |
| Eddie Johnson | Brazos |  |  |
| Martin Lozano | Austin Energy |  |  |
| Eric Goff | Reliant |  |  |
| Chad Seely | ERCOT |  |  |