2010 Five-Year Transmission Plan Study Scope and Process

- Five-Year Transmission Plan Goals

  - Identify projects to meet needs for ERCOT Operating Guide Section 5 and NERC TPL-001-2 reliability criteria in the years 2011 through 2015

  - Identify projects that meet the ERCOT economic criteria in the years 2011 through 2015

  - Projects identified will be based on a consensus between ERCOT Planning and the Transmission Owners (TO)

    - TOs convinces ERCOT or ERCOT convinces TO

  - Projects identified in the Five-Year Transmission Plan will normally be included in the 2011 SSWG Data Set B cases

  - Improve communication and understanding of transmission project additions among market participants

- Assumptions

  - Transmission Topology

    - The SSWG 2010 Data Set B 2011-2015 summer peak base cases with November TPIT updates applied will serve as the starting point for the study

    - All projects that require RPG review but have not received it will be removed from the cases

    - Dynamic ratings will be used for the economic portion of the analysis, but will not be used for the reliability portion

  - Generation

    - All existing generation plants and units with a signed generation interconnection agreement by the start of the economic portion of the analysis will be used in the study with the below exceptions

        - Dallas/ Fort Worth area natural gas units identified as not having SCRs will be turned off for the analysis

        - Mothballed units will be turned off for the analysis unless the reserve margin falls below 12.5%.  If the reserve margin falls below 12.5% the mothballed units will be treated as specified in Appendix F of the SSWG Procedure Manual

        - All hydro-electric units will be turned off for all studies

    - The following fuel price related assumptions will be used:

        - Wind production cost  = $0/ MWh

        - No carbon tax

  - Load

    - The load will be evaluated by weather zone.  The higher of  1. the aggregated weather zone load in the SSWG base cases or 2. the ERCOT weather zone load forecast will be used for the reliability portion of the analysis

    - The ERCOT load forecast will be used for the economic portion of the analysis

  - The latest ERCOT contingency list will be used

- Method of Study

  - Condition the SSWG base case topology

    - Identify topology changes by using case comparison tools and remove all projects that require RPG review but have not yet received it by using IDEV’s supplied by TO

  - Reliability Analysis

    - Import the conditioned cases into Uplan and run reliability analysis to identify unserved energy in the 2015 case.  Work with TOs to find projects to solve unserved energy

    - Run generation outage analysis on the 2015 case to screen for generator unit outages that may cause unserved energy.  Create Uplan case for each generator identified in the screening with that generator placed out of service.  Work with TOs to find projects to solve unserved energy

    - Once all reliability projects have been identified (no more unserved energy) perform one by one back out of projects to determine if each project is needed to solve unserved energy

    - Repeat the above process for each previous year

    - Export peak load hour of the year and create an AC case (with SCED).  Perform contingency analysis to verify case is secure with contingencies modeled in UPLAN and those ERCOT category B contingencies that can not be modeled in UPLAN

  - Stability Analysis

    - Dynamic transient and voltage stability analysis will be run to determine interface limits for use in the reliability and economic portion of the analysis if possible – after step 3.1

    - Once the reliability projects have been identified, stability analysis will be run on (1) the final peak hour AC case and (2) an AC case developed from the hour with the greatest differential between wind and load if possible

  - Economic Analysis

    - Create an economic case from the final reliability case for each year.  Start the analysis with the 2015 case.  Update the load to the ERCOT forecast.  Add dynamic ratings to transmission lines

    - Organize congestion in each case by rank and shadow price.  Work with TOs to develop projects to solve the highest congested elements

    - Once all economic projects have been identified perform one by one back out of projects to determine if each project is still economically justified Repeat the above process for each previous year

    - Export peak load hour of the year and create an AC case (with SCED).  Perform contingency analysis to verify case is secure

  - NERC Analysis

    - Compile data to adequately document Five-Year Transmission Plan for NERC standards.

    - The following Category C analysis may be performed

      - Contingency Analysis to check for cascading outages

      - Stability

    - The following Category D analysis may be performed

      - Stability runs ….

- Deliverables

  - A final report will be issued with documentation of reliability and economic projects added to be used for RPG review

    - The report will include an explanation of congestion causes and congestion solutions that were tested but determined to be not economic

  - Post intermediate cases and binding constraints as they become available

  - Steady-State AC base cases at yearly peak that include all reliability projects for each case (SCED) will be posted

  - Steady-State AC base cases at yearly peak that include all reliability and economic projects for each case (SCED) will be posted