2705 West Lake Drive

Taylor, Texas 76574

(512) 248-6800

HTTP://WWW.ERCOT.COM

COMS

Nodal Implementation Surcharge (“NIS”) Cost

V0.01

July 16, 2009

Revision History

| Revision | Comments | Date | Author |
| --- | --- | --- | --- |
| v0.01 | Initial version | 7-16-2009 | Ino Gonzalez for the VCWG |

Table of Contents

Section 1 – Introduction	3

Section 2 – Statement of Purpose	3

Section 3 – Proposal for Calculating the Startup Cost Nodal Implementation Surcharge	3

# Section 1 – Introduction

The objective of this White Paper is to provide guidelines to the QSE or Resource Entity for including the cost of the Nodal Implementation Surcharge (“NIS”) associated with the ramping period from breaker close (BC) to the LSL into the Startup Cost. These guidelines, once adopted by WMS, will be incorporated into an NPRR for additional stakeholder approval.  If the NPRR is approved by the Board of Directors ERCOT will update the Verifiable Cost Manual accordingly.

If any provision in this document is in conflict with the Nodal Protocols, then the Protocols prevail to the extent of the inconsistency.

# Section 2 – Statement of Purpose

The current Nodal Protocols allow Resources to include the Nodal Surcharges in the Minimum Energy costs as described in Section 5.6.1.2 Verifiable Minimum-Energy Costs of the Nodal Protocols.  However, Resources begin incurring NIS costs as soon as they close the breaker, while ramping to the LSL.  And since costs at Minimum Energy are charged while the Resource is operating at the LSL, for the ramping period from breaker close to LSL these Nodal Surcharge Costs are not being captured.   As a result, this white paper describes a proposal for including NIS Costs into the verifiable Startup cost.

# Section 3 – Proposal for Calculating the Startup Cost Nodal Implementation Surcharge

Nodal Implementation Surcharges are described in the Nodal Protocols in terms of $/MWh, which is a price value that is multiplied times the total generation produced to arrive at the total NIS charge.  In equation form, the NIS can be stated as:

Nodal Implementation Surcharge ($) = R ($/MWh) x RTMG (MWh)

Where

R = Nodal Implementation Surcharge Rate ($/MWh)

RTMG = Total MWh produced by the Resource

Operations at LSL (Current Nodal Protocols)

For operations at LSL the Nodal Implementation Surcharge is calculated as:

NIS (LSL) ($) = R ($/MWh) (LSL) x G (MWh) (LSL)

Where

G = Actual Generation at LSL

Since the Minimum Energy cost is in terms of $/MWh, the Nodal Implementation Surcharge Rate (LSL) can be added to the O&M cost which is also in terms of $/MWh and there is no need to multiply by the value of G prior to actual operations.

Recovering the Nodal Surcharge for Operations from breaker close to LSL (Not currently in the Nodal Protocols)

As described above, the Nodal Implementation Surcharge price rate is in terms of $/MWh and cannot be added to the startup costs without first converting to “$”.  To do so will require knowing the total generation provided by the Resource while ramping from breaker close to LSL.  However, actual generation is only known during Real Time operations and verifiable costs are approved prior to this event.  In addition, we must include this Nodal Implementation Surcharge cost into the Startup Cost without making system changes, therefore, the total generation provided by the Resource during this ramping period must be estimated.  That is,

Nodal Implementation Surcharge (BC-LSL) ($) = R ($/MWh) (BC-LSL) x EG (MWh) (BC-LSL)

Where

EG (MWh) (BC-LSL) = Estimated Average MWh produced by the Resource from BC to LSL

The value of EG (MWh) (BC-LSL) can be estimated by the QSE or Resource Entity by calculating the area under the curve of the MW versus Time curve provided with verifiable costs as shown below.

O&M Startup Cost

1.  Currently Allowed

O&M ($) = O&M ($) + Emissions cost ($)

2.  Proposed Changes

O&M ($/start) = O&M ($/start) + Emissions cost ($/start) + Nodal   Implementation Surcharge ($/start)