| NPRR Number | 186 | NPRR Title | Naming Convention Clarification |
| --- | --- | --- | --- |
| Date Posted |  | July 9, 2009 |  |
| Nodal Protocol Section Requiring Revision |  | 3.10.7.1, Modeling of Transmission Elements and Parameters |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the Nodal Protocols regarding the naming convention approved by TAC by removing the requirement for use of a prefix within the name of Transmission Elements. The naming convention does not and should not require inclusion of a prefix to identify Transmission Service Providers (TSPs). |  |
| Reason for Revision |  | Technically, the modeling software of ERCOT makes this a redundant requirement based on the modeling hierarchy of the system. As discussed and agreed upon at an April 2006 Transition Plan Task Force (TPTF) meeting, the maintenance aspect of modeling would prove to be extremely difficult and affect all Market Participants using the modeling data. It is much better to change one field than to change 10,000 data instances when a company changes name or a piece of equipment transfers between companies. Modeling information posted as required by Nodal Protocol Section 3.10, Network Operations Modeling and Telemetry, will identify equipment associated with a Market Participant. The TAC approved naming convention is possibly in conflict with the Protocol language and inclusion of a prefix would require custom system re-designs by ERCOT and Market Participants. |  |
| Overall Market Benefit |  | Removes Protocol language that if left or implemented would have detrimental affects. |  |
| Overall Market Impact |  | No delay in schedule or increase in costs associated with this NPRR. If not removed, the TAC approved naming convention is in conflict with the Nodal Protocol language |  |
| Consumer Impact |  | None. |  |
| Credit Implications (Yes or No, and summary of impact) |  | Unknown. |  |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date |  | This request has no impact on any system. If the Nodal Protocol language remains as is, the TAC approved naming convention, clearly in conflict with the Nodal Protocol language, would need to be revised. The revision of the naming convention could require ERCOT and Market Participant vendors to change their systems (Energy Management System (EMS), Energy and Market Management System (EMMS), and the Outage Scheduler, etc.) |  |
| CEO Determination (To be completed by ERCOT) |  | The ERCOT CEO has no opinion on whether or not NPRR186 is necessary prior to the Texas Nodal Market Implementation Date. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | No loss of transparency in identification of Market Participant associated equipment will occur based on the current designs of the ERCOT systems. |  |
|  | 2 | Implementation of the current language would require re-design of ERCOT and Market Participant systems and/or processes. |  |
|  | 3 | Current understanding of Market Participants and ERCOT is that the prefix is unnecessary. |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None unless language is not changed. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | No Market Participant system changes/delays required to implement prefix. | Moderately assume an average cost of $10,000 -$20,000 per Market Participant, for system changes only, if the existing language remains unchanged. |
|  | 2 | No ERCOT system changes/delays required to implement prefix. | Moderately assume a four to six month delay in ERCOT systems. ERCOT would have to determine what the burn rate would be if the language remains. |
|  | 3 | No required re-approval process for the TAC approved naming convention. | Moderately assume a three to four month delay to determine reverberating impacts to changing the naming convention. Assume an additional two to three months to change every Transmission Element name, every Inter-Control Center Communications Protocol (ICCP) name, and every display used by ERCOT. ERCOT would have to determine what the burn rate would be if the language remains. |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | This was discussed at a TPTF meeting and agreed upon (see http://www.ercot.com/content/meetings/tptf/keydocs/2006/0424/DRAFT_TPTF_Meeting_Minutes_4-1.doc. A draft NPRR was submitted in October 2007 to TPTF (see http://www.ercot.com/calendar/2007/10/20071008-TPTF Item 7) that contained additional language regarding Electrical Busses at Resource Nodes and the associated responsibilities/liabilities imposed by the Protocols. The Electrical Bus discussion resulted in the draft NPRR not moving forward. The language concerning the prefix was not separated out into a single NPRR until now. |  |
|  | 2 | The naming convention discussions and associated approval took several months to finalize and meets the needs of ERCOT and the Market Participants. Simply adding the prefix is not a solution and was thoroughly discussed during the naming convention meetings. |  |
|  | 3 | This should be considered similar to an administrative change. |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ebby John on behalf of the Network Data Support Working Group (NDSWG) |
| E-mail Address | ebby.john@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2136 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Protocol Language Revision

3.10.7.1	Modeling of Transmission Elements and Parameters

(1)	ERCOT, each TSP, and each Resource Entity shall coordinate to define each Transmission Element such that the TSP’s control center operational model and ERCOT’s Network Operations Model are consistent.

(2)	Each Transmission Element must have a unique identifier using a consistent naming convention used between ERCOT and TSPs.  ERCOT shall develop the naming convention with the assistance of the TSP and the approval of TAC.  In addition to the Network Operations Model releases described in Section 3.10.1, Time Line for Network Operations Model Change Requests, ERCOT shall provide all names and parameters of all Transmission Elements to Market Participants posted on MIS Secure Area by 0600 each day.

(3)	If the responsible TSP submits an Network Operations Model Change Request (NOMCR) for non-operational changes, such as name changes for Transmission Elements, ERCOT shall implement the request.