| NPRR Number | 188 | NPRR Title | MVA for SCED Input |
| --- | --- | --- | --- |
| Date Posted |  | July 10, 2009 |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the Transmission Service Provider (TSP) requirement to provide MVA to be used in Real-Time sequence and Security-Constrained Economic Dispatch (SCED). This NPRR also corrects the use of Common Information Model (CIM) and corrects the Dynamic Rating requirement. |  |
| Reason for Revision |  | MVA values from a TSP or any Market Participant are not used within State Estimator solutions except in the case of a Dynamic Rating. The ERCOT Energy Management System (EMS) is not designed to accept MVA values for equipment except as a Dynamic Rating. The ERCOT State Estimator, and subsequently contingency analysis, utilizes MW and Mega Volt-Amperes reactive (MVAr) Inter-Control Center Communications Protocol (ICCP) data to determine an MVA value which then may be passed to SCED if needed. The State Estimator/contingency analysis-determined MVA value is used to compare with the Market Participant provided ratings, including Dynamic Ratings, and is captured as a Real-Time sequence and SCED requirement pursuant to paragraph (1) (b) of Section 6.5.7.1.13. This NPRR also replaces CIM with Network Operations Model as Common Information Model (CIM) is a format. All MVA ratings are provided and are utilized by ERCOT in maintaining the reliability of the ERCOT Transmission Grid. |  |
| Overall Market Benefit |  | Removal of the requirement for MVA data that is not utilized benefits all Market Participants from a resource and continued maintenance perspective. Additionally, it is probably not in the best interest of the Market to re-open the EMS specifications to include MVA. The MVA requirements for Dynamic Ratings should be a requirement if, and only if, the Market Participant has chosen the delivery method described in Section 3.10.8, Dynamic Ratings. Additional edits clarify expectations regarding ratings to include 15-minute ratings. |  |
| Overall Market Impact |  | None expected. |  |
| Consumer Impact |  | None expected. |  |
| Credit Implications (Yes or No, and summary of impact) |  | None expected. |  |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date |  | To correct Nodal Protocol language to be consistent with current accepted EMS design and practice and to avoid redesign of ERCOT and Market Participant systems to accommodate data that is not necessary for market implementation. There is no cost to implement this correction. If the NPRR is not approved there will be additional cost to Market Participants and ERCOT as the ERCOT EMS will require a re-design. Additionally, if not corrected there will be approximately 14,500 ICCP points that will have to be created, tested, maintained, and delivered. |  |
| CEO Determination (To be completed by ERCOT) |  | The ERCOT CEO has no opinion on whether or not NPRR188 is necessary prior to the Texas Nodal Market Implementation Date. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | There is no cost to implement this correction. If the correction does not move forward there will be additional cost to Market Participants and ERCOT. The ERCOT EMS will require a re-design. If not corrected there will be an additional 14,500 (approx) ICCP points that will have to be created, tested, maintained, and delivered. | $0 for implementation of suggested corrections. If not corrected, the monetary impact will need evaluated by ERCOT and Market Participants. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Time and effort will be better spent on issues facing Nodal implementation. | Monetary impact is the savings realized from the time and effort required to re-design the ERCOT EMS and the efforts of the Market Participants to create 14,500 (approx) ICCP points. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | The ICCP Handbook will have to be re-visited to make MVA related ICCP requirements ONLY for Dynamic Ratings if a Market Participant has chosen the method described in Section 3.10.8. |  |
|  | 2 | The intent of the Protocol language within this section was and is to capture the correct inputs to the Real-Time Sequence and SCED. The implementation, as revealed in the ICCP Handbook, clearly indicates the ERCOT interpretation of the language from the reading of the Protocol passage. From a broader perspective, it is clear that the language does not match the intent which initiated this suggested corrective action. |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ebby John on behalf of the Network Data Support Working Group (NDSWG) |
| E-mail Address | ebby.john@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2136 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Protocol Language Revision

- 6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)	Inputs:  The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)	Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)	Transmission Electrical Bus voltages;

(ii)	MW and MVAr pairs for all transmission lines,  transformers, and reactors;

(iii)	Actual breaker and switch status for all modeled devices; and

(iv)	Tap position for auto-transformers;

(b)	State Estimator results (MW and MVAr pairs and calculated MVA) for all modeled Transmission Elements;

(c)	Logic equations to determine the in- or out-of-service state of a transmission line or transformer;

(d)	Transmission Element ratings from TSPs;

(i)	Data from the Network Operations Model:

- (A)	Transmission lines – Normal, Emergency, and 15-Minute Ratings (MVA); and

- (B)	Transformers and Auto-transformers – Normal, Emergency, and 15-Minute Ratings (MVA) and tap position limits;

(ii)	Data from QSEs:

- (A)	Generator step-up transformers tap position;

- (B)	Resource HSL (from telemetry); and

- (C)	Resource LSL (from telemetry); and

(e)	Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)	ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)	The calculated SURAMP and SDRAMP are each greater than or equal to zero; and

(b)	Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)	Outputs for ERCOT Operator information and possible action include:

(a)	Operator notification of any change in status of any breaker or switch;

(b)	Lists of all breakers and switches not in their normal position;

(c)	Result of logic equation calculation of the in and out status of transmission lines and transformers;

(d)	Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(e)	Operator notification of all Transmission Element security violations; and

(f)	Operator summary displays:

(i)	Transmission system status changes;

(ii)	Overloads;

(iii) 	System security violations; and

(iv)	Base Points.

(4)	Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Status of all breakers and switches used in the NSA except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)	Transmission flows and voltages from the State Estimator;

(c)	Individual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator;

(d)	Transformer flows, voltages and tap position from the State Estimator;

(e)  	All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint;

(f)	All Shadow Prices on binding transmission constraints; and

(g)	The 15-minute average of Loads on the Electrical Buses from State Estimator results.