ERCOT

SYSTEM PROTECTION WORKING GROUP

MEETING MINUTES

LCRA

6800 Burleson Road, Bldg. 310

Austin, TX 78744

February 19, 2009   1:00PM – 4:00PM

February 20, 2009   8:00AM – 12:00 PM

Attendees (Thursday):

| Belkin, Peter | AEP | Member |
| --- | --- | --- |
| Chronister, Mark | Oncor Electric Delivery | Member/Chair |
| Datta-Barua, Manjula | CenterPoint Energy | Member |
| DiSanto, Dotty | STEC | Member |
| Ee, Danny | Austin Energy | Member |
| Evans, Doug | ERCOT | Staff |
| Francis, Sam | Oncor Electric Delivery | Guest |
| Hargrave, Glenn | CPS Energy | Member/Vice-Chair |
| Kakarla, Raja Sekhar | ERCOT | Staff |
| Macia, Michael | AEP | Member |
| Mathew, Shirley | LCRA | Member |
| Nguyen, Dung | STEC | Member |
| Portillo, Levi | TNMP | Member |
| Blevins, Bill | ERCOT | Staff |

Attendees (Friday):

| Belkin, Peter | AEP | Member |
| --- | --- | --- |
| Chronister, Mark | Oncor Electric Delivery | Member/Chair |
| Datta-Barua, Manjula | CenterPoint Energy | Member |
| DiSanto, Dotty | STEC | Member |
| Ee, Danny | Austin Energy | Member |
| Francis, Sam | Oncor Electric Delivery | Guest |
| Hargrave, Glenn | CPS Energy | Member/Vice-Chair |
| Kakarla, Raja Sekhar | ERCOT | Staff |
| Macia, Michael | AEP | Member |
| Mathew, Shirley | LCRA | Member |
| Nguyen, Dung | STEC | Member |
| Portillo, Levi | TNMP | Member |
| Vatani, Mehrdad | Austin Energy | Member |

Thursday Business:

Anti-trust Admonition

Glenn Hargrave read the ERCOT Antitrust Admonition statement and noted the need to comply with it.

Roster Review/Update

The members and guests passed around the roster for review and update.  The roster was marked for corrections and accuracy by members present.

Previous Meeting Minutes

The previous meeting minutes were passed around the room and approved with no changes.

Raja Sekhar Kakarla requested to change the future year case building schedule.  He wished to move up the completion date.  After a discussion, it was agreed that the cases would be posted on June 10th, as opposed to June 15th.  Members will still have two (2) weeks between passes to review cases and submit changes, but Raja will return the cases faster after each pass.  The following is the new schedule for the future cases

- 2009 Future Year Cases

Pass #		Return From ERCOT		Submit TO ERCOT

0	  								4/17/2009

1				4/24/2009				5/8/2009

2				5/13/2009				5/27/2009

3(Final)			6/01/2009				6/08/2009

APPROVAL							6/10/2009

POSTED			6/10/2009

2009 Case Building Update

A discussion on the cases and the PSSE “Flat,CL” command was held.  The issue of which case should be use for generating the “Bus Fault Summary” was discussed.  It was agreed that the “Bus Fault Summary” report generated during the case passes should be generated using the case to which the “FLAT, CL” command has been applied to allow the results to be compared with previous year cases.

An update on wind modeling was held.  It was stated that ERCOT can provide the information that the DWG working group has received.  Doug Evans stated that FPL is giving all impedances down to the turbine to ERCOT.  Peter Belkin has wind model information and would readily share it with anyone who asked for it.  The WOTF’s goal is to make a typical format for the data for the RARF format.  Peter Belkin volunteered to represent the SPWG at the WOTF meeting.

SPWG Procedures Document Review

ROS had asked each working group to review it procedures document to insure compliance with NERC standards.  There was confusion on this issue.  Glenn Hargrave stated that we need someone from ERCOT to let us know which standards need to be looked at by the SPWG.  Doug Evans stated that he will get Chuck Manning, the new Chief Compliance Officer at ERCOT, to inform the SPWG which standards need to be reviewed by the SPWG.

Roster Update

The SPWG roster was last updated on the ERCOT website in 2006.  Glenn will provide Raja with an updated roster and he will post the ERCOT website.  Glenn will also ask if the meeting minutes can be posted to the ERCOT website.

DAWG Report Review

The group discussed the usefulness of the reviewing the DAWG report due to the limited information available.  A vote was taken and all agreed that the annual review will be removed from the SPWG procedures.

ERCOT Operations

Bill Blevins from ERCOT Operations discussed the confusion surrounding the market notices for the disturbance monitoring reporting last year.  He stated that the Texas RE will not collect the required report documents each year.  Bill stated that the client rep should send out a notice of when reporting data is due and instructions on whom to send it to.  Bill also stated that he would look into the Market Notice for reporting misoperations within 5 days to the ERCOT ISO Operations Shift Supervisor.  In addition to the complaints of the misapplication of the NERC standard, Bill also noticed that the notice referenced an out of date NERC standard.

Submittal Review

Glenn mentioned that the Misoperations Report and the PRS Performance Review documentation was due before the next meeting.

Friday Business

NERC Disturbance Monitoring Drafting Team Request

Raja discussed the request for ERCOT fault information from the NERC Disturbance Monitoring Drafting team.  The NERC team was requesting fault information for faults above 10,000 MVA.  The team wants to try to use the fault information to determine a DFR locations based on fault duty.  It was decided that Peter would supply fault information in ASPEN format and Raja would supply fault information in PSSE format.

NERC Standards Activity

Sam Francis gave a presentation on several NERC SPCTF topics.  Sam discussed work on several standards including the review of the misoperations standards, the relay maintenance standard, and the coordination standard.  His presentation was forwarded to the System Protection Working Group by Glenn Hargrave after the meeting.

Next Meeting

The site and date of the next meeting was discussed.  The date of the next meeting will be July 23rd and 24th at the AEP Corpus Christi office.