## Slide 1: Generation Re-Interconnection Issues
06/19/2009
RPG
Dan Woodfin
Director, System Planning
Notes: <number>

## Slide 2: Background
RPG
06/19/2009
First – this discussion is intended to get input on general procedure; no discussion of any current requests
Hypothetical: A generator that is currently interconnected to ERCOT grid wants to change its interconnection to a different point
  May be as “minor” as changing connection from 138kV to 345Kv bus at same substation; or
  May be through building a new interconnection line to a different substation
    New line might be private or TCOS

## Slide 3: What is the Issue?
RPG
06/19/2009
Should these re-interconnections be processed through the Generation Interconnection Procedure or RPG Review Procedure?
Without any change in procedures, if a generator requests this type of project as a Generation Interconnection Request, then that is how it would be processed
  Is this the right approach?

## Slide 4: Other Considerations
RPG
06/19/2009
There may be differences in the indirect transmission projects that are warranted due to the changed interconnection
  Might reduce or increase the number of other upgrades that would be warranted under planning criteria
A re-interconnection might be suggested as an RPG project to resolve congestion, either by ERCOT or another party, if it is more economic than the line upgrades that would be warranted given the current interconnection

## Slide 5: TAC Action July 9, 2009
Agreed Nodal-Market and Policy Issues Remain
Referred to ROS and WMS for
  Consideration
  Identification of Specific Issues
  Report back to TAC
RPG
06/19/2009

## Slide 6: RPG Discussion June 19, 2009
Concern about Market Impact such as TCR and CRR calculations
Ability to switch point of interconnection
  Could affect existing planned transmission projects
  Make justification of new transmission projects difficult
  Should each plant have only one point of interconnection
Does an existing plant requesting re-interconnection have the same level of confidentiality as new plants
Does plant changing point of interconnection have to submit Notice of Suspension of Operations
Re-interconnects involving CREZ lines would go through RPG process
RPG
06/19/2009

## Slide 7
Additional Discussion?
Notes: <number>