## Slide 1: QSE Managers Working Group
Meeting Notes
7 July, 2009
Report to WMS
22 July, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Topics
SCR754 WGRPP Forecast delivery
WGRPP Forecast accuracy analysis - update
PR-90020 OOME Reliability Tool
Nodal ICCP handbook draft NOGRR (vote)
Real Time Production Potential PRR811 & OGRR223. (vote)

## Slide 3: SCR754 WGRPP Forecast progress
Migration to production, completed on June 24, 2009
Delay of 10 minutes built in – data on web 10 minutes after emails
Aggregate forecasts not being posted
Projects would be required to address these issues

## Slide 4: WGRPP Forecast accuracy analysis
Calculations
Additional Analysis
Quality of input data
Methods for improvement

## Slide 5: Accuracy Calculations
Based on Day Ahead resource plans submitted by QSE’s not directly on AWS forecast.

## Slide 6: Additional Analysis
QMWG request more views of the data
  Histograms: distribution of the error by hour
  Calculate an adjusted STWF error based on the aggregate – compare 80% forecast to 50% forecast

## Slide 7: Quality of input data
Overview of WGR Data Issues from Wind Workshop June 26, 2009
Impact of Data Quality Issues
  Prevent forecast performance from reaching its potential
  Degrade forecast performance
Types of Issues
  Curtailment
  Turbine Availability
  Missing data
  Erroneous or locked data
  Unrepresentative met data
Met Data Status | # of WGRs
Useable Data | 35
Very high degree of scatter | 12
High degree of scatter | 11
Data appears not to be in mph | 8
No data or < 10 data points | 2
Less than 25% of data received | 2
Total | 70

## Slide 8: Steps to Improve Forecast Performance
Resolve WGR data issues
  Obtain maximum information about curtailments and turbine availability
  Obtain meteorological data from all WGRs
  Resolve issues with meteorological data for many sites
Implement full statistical ensemble system
  Dependent on quality of WGR power and meteorological data
  Ensembles will help most in situations with large uncertainty
Take advantage of regime-based and event-based techniques
  Regime-based MOS
  Event-based MOS

## Slide 9: Reporting Turbine Outages
AWS has a software tool that can be used for this – screenshots shown
ERCOT request that MP’s volunteer to use this tool
Several attendees showed interest
ERCOT to email details for consideration
After a trial period, may introduce a PRR

## Slide 10: PR-90020 OOME Reliability Tool
Discussed with Robert Staples
Robert will email an updated example
QMWG request a Market Notice be issued in early August.

## Slide 11: Nodal ICCP handbook
Draft NOGRR
This Nodal Operating Guide Revision Request (NOGRR) incorporates the ERCOT Nodal ICCP Communication Handbook into the Nodal Operating Guides as new Attachment 8I
Most recent version of the Handbook that was discussed by NIT on 6/22
Vote

## Slide 12: Real Time Production Potential
PRR811 & OGRR223 – QMWG comments ready for vote
QMWG recommends that real time data be telemetered, then EROCT can average or smooth the data.
Metrics may not be developed until a significant amount of data is collected.

## Slide 13: Next meeting
Next Meeting: August, 2009
Topics
  Wind Generation Nodal Issues
  WGR ramp rate limit in Nodal
  Update on PRR800 implementation
Topics for September
  Ancillary methodology; questions submitted by Market Participants